Copyright 2005 AIA
MASTERSPEC Full Length
11/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 11132 - PROJECTION SCREENS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Manually operated projection screens.

2. Electrically operated projection screens and controls.

3. Rigid rear-projection screens.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 5 Section "Metal Fabrications" for metal support framing for projection screens.

2. Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for wood backing for screen installation.

3. Division 6 Section "Interior Architectural Woodwork" for [wood trim for recessed screen installation] [wood trim and wood ceiling closure panel for recessed screen installation] [and] [wood frames for field-installed, rear-projection screens].

Last subparagraph above and first subparagraph below are examples of Sections where frames for field-installed, rear-projection screens might be specified.  Revise to suit Project.

4. Division 8 Section "[Steel Doors and Frames] [Interior Aluminum Frames]" for metal frames for field-installed, rear-projection screens.

Retain subparagraph below for electrically operated screens; select option if low-voltage controls are specified.

5. Division 16 Sections for electrical service and connections including device boxes for switches[ and conduit, where required, for low-voltage control wiring].

1.3 DEFINITIONS

Retain definition(s) remaining after this Section has been edited.

A. Gain of Front-Projection Screens:  Ratio of light reflected from screen material to that reflected perpendicularly from a magnesium carbonate surface as determined per SMPTE RP 94.

B. Gain of Rear-Projection Screens:  Ratio of light refracted by screen material to that reflected perpendicularly from a magnesium carbonate surface as determined per SMPTE RP 94, except that for measuring luminance of test screen, projection lamp shall be placed behind screen same distance as it was placed in front of magnesium carbonate surface for measuring luminance of reference standard.

Retain paragraph below for all screens other than matte-white, front-projection screens.

C. Half-Gain Angle:  The angle, measured from the axis of the screen surface to the most central position on a perpendicular plane through the horizontal centerline of the screen where the gain is half of the peak gain.

1.4 SUBMITTALS

First three paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  For projection screens.  Show layouts and types of projection screens.  Include the following:

1. For manually operated projection screens:

a. Drop lengths.

b. Anchorage details.

c. Accessories.

2. For electrically operated projection screens and controls:

Retain first subparagraph below for electrically operated front-projection screens with end-mounted motors.

a. Location of screen centerline relative to ends of screen case.

b. Location of wiring connections for electrically operated units.

c. Location of seams in viewing surfaces.

d. Drop lengths.

e. Anchorage details, including connection to supporting structure for suspended units.

f. Details of juncture of exposed surfaces with adjacent finishes.

g. Accessories.

h. Wiring diagrams.

3. For rigid rear-projection screens:

a. Frame details.

b. Anchorage details.

c. Details of juncture of exposed surfaces with adjacent finishes.

d. Accessories.

C. Samples for Initial Selection:  For finishes of surface-mounted screen cases.

Paragraph below is defined in Division 1 Section "Submittal Procedures" as an "Informational Submittal."

D. Maintenance Data:  For projection screens to include in maintenance manuals.

1.5 QUALITY ASSURANCE

A. Source Limitations for Projection Screens:  Obtain [projection screens] [each type of projection screen] from single manufacturer.  Obtain accessories, including necessary mounting hardware, from screen manufacturer.

Retain paragraph below if using electrically operated projection screens.

B. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Environmental Limitations:  Do not deliver or install projection screens until spaces are enclosed and weathertight, wet work in spaces is complete and dry, and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the remainder of the construction period.

B. Store rear-projection screens in manufacturer's protective packaging and according to manufacturer's written instructions.

1.7 COORDINATION

A. Coordinate layout and installation of projection screens with adjacent construction, including ceiling suspension systems, light fixtures, HVAC equipment,[ fire-suppression system,] and partitions.

PART 2 -  PRODUCTS

2.1 MANUALLY OPERATED PROJECTION SCREENS

A. General:  Manufacturer's standard spring-roller-operated units, consisting of case, screen, mounting accessories, and other components necessary for a complete installation.

1. Screen Mounting:  Top edge securely anchored to a 3-inch- (75-mm-) diameter, rigid steel roller; bottom edge formed into a pocket holding a tubular metal slat, with ends of slat protected by plastic caps, and with a saddle and pull attached to slat by screws.

Retain subparagraph below if tab-tensioned screens are required.  Tab tensioning is standard with Stewart Filmscreen Corporation, optional with Draper, and not available from Bretford and Da-Lite Screen Company.

2. Tab Tensioning:  Provide units that have a durable low-stretch cord, such as braided polyester, on each side of screen connected to edge of screen by tabs to pull screen flat horizontally.[  In lieu of tab tensioning, screens may be constructed from vinyl-coated screen cloth that contains horizontal stiffening monofilaments to resist edge curling.]

Three paragraphs below describe three types of manually operated screens available.  Listed manufacturers also offer ceiling-recessed units.

B. Bracket-Mounted or Ceiling-Suspended, Metal-Encased, Manually Operated Screens:  Units designed and fabricated for suspending from wall brackets or ceiling, fabricated from formed-steel sheet not less than 0.027 inch (0.7 mm) thick or from aluminum extrusions; with vinyl covering or baked-enamel finish and matching end caps.  Provide mounting brackets unless otherwise indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Screens in three subparagraphs below do not have tab tensioning.

a. Bretford, Inc.; [Articulating Projection Screen] [Series 65].

b. Da-Lite Screen Company; Model B.

c. Draper Inc.; [Luma] [Salara/Series M] [Star].

C. Surface-Mounted, Metal-Encased, Manually Operated Screens:  Units designed and fabricated for surface mounting on wall or ceiling, fabricated from formed-steel sheet not less than 0.027 inch (0.7 mm) thick or from aluminum extrusions; with flat back design and vinyl covering or baked-enamel finish.  Provide units with matching end caps and concealed mounting.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bretford, Inc.; Series 500.

b. Da-Lite Screen Company; Model C.

c. Draper Inc.; [Luma 2] [Silhouette/Series M].

Screens in last three subparagraphs above do not have tab tensioning; those in two subparagraphs below do.  Screens in first subparagraph below are crank operated.

d. Draper Inc.; [Premier/Series C] [Silhouette/Series C].

e. Stewart Filmscreen Corporation; Luxus Communicator.

Screens in paragraph below provide finished units suitable for areas such as conference rooms.  For a similar effect, screens in paragraph above can be used with a wood valence, specified as architectural woodwork.

D. Surface-Mounted, Wood-Finished, Manually Operated Screens:  Units designed and fabricated for surface mounting on wall or ceiling; with flat back design, hardwood finish, and concealed mounting brackets.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; [Designer Manual] [Designer Contour Manual].

b. Draper Inc.; Artisan/Series M.

2. Hardwood:  [Oak] [Walnut] [Mahogany] [Cherry] [As selected by Architect from manufacturer's full range of species] <Insert species>.

3. Finish:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert description>.

2.2 ELECTRICALLY OPERATED PROJECTION SCREENS

Select option in first paragraph below if required.  Not all electrically operated screens are UL listed as an assembly, although they all use UL-listed electrical components.

A. General:  Manufacturer's standard units consisting of case, screen, motor, controls, mounting accessories, and other components necessary for a complete installation.[  Provide units that are listed and labeled as an assembly by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.]

1. Controls:  Remote,[ key-operated,] three-position control switch installed in recessed device box with flush cover plate[ matching other electrical device cover plates in room where switch is installed].

Retain one of first two subparagraphs below if more than one switch is required; manufacturer normally provides one switch unless more are indicated.  Show the switch locations on Drawings.

a. Provide [two] [three] <Insert number> control switches[ for each screen].

b. Provide number of control switches indicated[ for each screen].

c. Provide power supply for low-voltage systems if required.

Provisions in first two subparagraphs below help control tampering; item in second subparagraph inactivates remote control and switches.

d. Provide locking cover plates for switches.

e. Provide key-operated, power-supply switch.

f. Provide [infrared] [radio-frequency] remote control consisting of battery-powered transmitter and receiver.

g. Provide video interface control for connecting to projector.  Projector provides signal to raise or lower screen.

Retain one of first two subparagraphs below, depending on motor configuration required; retain both to allow either.  If more than one configuration is required, indicate in the schedule.

2. Motor in Roller:  Instant-reversing motor of size and capacity recommended by screen manufacturer; with permanently lubricated ball bearings, automatic thermal-overload protection, preset limit switches to automatically stop screen in up and down positions, and positive-stop action to prevent coasting.  Mount motor inside roller with vibration isolators to reduce noise transmission.

Select one of three options in first subparagraph below; delete all three if unimportant.

3. End-Mounted Motor:  Instant-reversing, gear-drive motor of size and capacity recommended by screen manufacturer; with permanently lubricated ball bearings, automatic thermal-overload protection, preset limit switches to automatically stop screen in up and down positions, and positive-stop action to prevent coasting.  Locate motor in its own compartment [on right end of screen unless otherwise indicated] [on left end of screen unless otherwise indicated] [on end of screen indicated].

4. Screen Mounting:  Top edge securely anchored to rigid metal roller and bottom edge formed into a pocket holding a 3/8-inch- (9.5-mm-) diameter metal rod with ends of rod protected by plastic caps.

a. Roller for end-mounted motor supported by self-aligning bearings in brackets.

Retain last subparagraph above or first subparagraph below if required.

b. Roller for motor in roller supported by vibration- and noise-absorbing supports.

Retain subparagraph below if tab-tensioned screens are required.  Tab tensioning is standard with Stewart, optional with Da-Lite (electrically operated screens only) and Draper, and not available from both BEI and Bretford.

5. Tab Tensioning:  Provide units that have a durable low-stretch cord, such as braided polyester, on each side of screen connected to edge of screen by tabs to pull screen flat horizontally.[  In lieu of tab tensioning, screens may be constructed from vinyl-coated screen cloth that contains horizontal stiffening monofilaments to resist edge curling.]

First paragraph below describes one type of surface-mounted, electrically operated screen available.  Listed manufacturers also offer octagonal screen cases (not flat back design).  Some recessed, electrically operated screens can also be surface mounted.

B. Surface-Mounted, Metal-Encased, Electrically Operated Screens:  [Motor-in-roller] [or] [end-mounted motor] units designed and fabricated for surface mounting on wall or ceiling, fabricated from formed-steel sheet not less than 0.027 inch (0.7 mm) thick or from aluminum extrusions; with flat back design and vinyl covering or baked-enamel finish.  Provide with matching end caps and concealed mounting.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Motor in Roller:

1) BEI Audio-Visual Products; Laminar XL.

2) Da-Lite Screen Company; Cosmopolitan Electrol.

3) Draper Inc.; [Premier] [Silhouette/Series E] [Silhouette/Series V] [Targa].

4) Stewart Filmscreen Corporation; Model A ElectriScreen.

b. End-Mounted Motor.

1) Bretford, Inc.; Series 700.

Screens in first paragraph below provide finished units suitable for areas such as conference rooms.  For a similar effect, screens in paragraph above can be used with a wood valence, specified as architectural woodwork.

C. Surface-Mounted, Wood-Finished, Electrically Operated Screens:  Motor in roller units designed and fabricated for surface mounting on wall or ceiling; with flat back design, hardwood finish, and concealed mounting brackets.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. BEI Audio-Visual Products; Laminar with Decorative Inserts.

b. Da-Lite Screen Company; Designer Electrol.

c. Draper Inc.; [Artisan/Series E] [Artisan/Series V].

2. Hardwood:  [Oak] [Walnut] [Mahogany] [Cherry] [As selected by Architect from manufacturer's full range of species] <Insert species>.

3. Finish:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert description>.

Products in first paragraph below can be suspended over stages where no ceiling is provided or can be recess mounted in ceiling.  Products in "Surface-Mounted, Metal-Encased, Electrically Operated Screens" Paragraph can also be used for recessed applications by installing screen case in a trough built into the ceiling.

D. Suspended, Electrically Operated Screens without Ceiling Closure:  [Motor-in-roller] [or] [end-mounted motor] units designed and fabricated for suspended mounting, with bottom of case entirely or partially open under screen compartment.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Motor in Roller:

1) BEI Audio-Visual Products; Alpine XL.

2) Da-Lite Screen Company; [Advantage Electrol] [Professional Electrol].

3) Draper Inc.; Paragon.

4) Stewart Filmscreen Corporation; Model A-B.

b. End-Mounted Motor:

1) Da-Lite Screen Company; Senior Electrol.

2) Draper Inc.; [Access/Series E] [Access/Series V] [Rolleramic].

3) Stewart Filmscreen Corporation; [Model B] [Model C] [Model D].

2. Provide metal or metal-lined motor enclosure on units with end-mounted motor.

3. Provide metal or metal-lined wiring compartment on units with motor in roller.

Select one of three options in first subparagraph below.  BEI's "Alpine XL," Da-Lite's "Advantage Electrol," and Draper's "Access/Series" are all metal.  Draper's "Paragon" and Stewart's products use fire-retardant plastic.  Da-Lite's "Professional Electrol" and "Senior Electrol," and Draper's "Rolleramic" use wood and wood products.

4. Screen Case:  Made from [metal] [metal and fire-retardant materials] [metal, wood, wood products, and fire-retardant materials].

Retain two subparagraphs below for units that are recess mounted in ceiling.

5. Provide screen case [with trim flange to receive ceiling finish] [constructed to be installed with underside flush with ceiling] [constructed to be installed with ceiling finish applied to underside].

6. Finish on Exposed Surfaces:  [Prime painted] [Vinyl covering or baked enamel].

E. Suspended, Electrically Operated Screens with Automatic Ceiling Closure:  [Motor-in-roller] [or] [end-mounted motor] units designed and fabricated for suspended mounting; with bottom of case composed of two panels, fully enclosing screen, motor, and wiring; one panel hinged and designed to open and close automatically when screen is lowered and fully raised, the other removable or openable for access to interior of case.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Motor in Roller:

1) Da-Lite Screen Company; [Boardroom Electrol] [Director Electrol].

2) Draper Inc.; [Envoy] [Signature/Series E] [Signature/Series V] [Ultimate Access/Series E] [Ultimate Access/Series V].

3) Stewart Filmscreen Corporation; [Model ABT-4] [Model ABT-6] [ABT Trap Door ElectriScreen] [Stealth Trap Door ElectriScreen].

b. End-Mounted Motor:

1) Da-Lite Screen Company; Executive Electrol.

2) Draper Inc.; Ambassador.

2. Provide metal or metal-lined motor enclosure on units with end-mounted motor.

3. Provide metal or metal-lined wiring compartment on units with motor in roller.

Select one of three options in first subparagraph below.  Da-Lite's "Director Electrol," Draper's "Ultimate Access/Series," and Stewart's "Stealth Trap Door ElectriScreen" are all metal.  Draper's "Signature/Series" and Stewart's "Model ABT-4" and "Model ABT-6" use fire-retardant plastic.  Da-Lite's "Executive Electrol" and "Boardroom Electrol," and Draper's "Ambassador" and "Envoy" use wood and wood products.

4. Screen Case:  Made from [metal] [metal and fire-retardant materials] [metal, wood, wood products, and fire-retardant materials].

Retain two subparagraphs below for units that are recess mounted in ceiling.

5. Provide screen case [with trim flange to receive ceiling finish] [constructed to be installed with underside flush with ceiling] [constructed to be installed with ceiling finish applied to underside].

6. Finish on Exposed Surfaces:  [Prime painted] [Vinyl covering or baked enamel].

Insert other types and options to suit Project.

2.3 FRONT-PROJECTION SCREEN MATERIAL

Surface in first paragraph below gives sharp image and wide viewing angle but low brightness.  Matte-white viewing surface is often preferred for projecting data because wide viewing angle helps eliminate light fall-off at corners.  White surface provides higher-contrast black and white images than gray surface.

A. Matte-White Viewing Surface:  Peak gain not less than 0.9, and gain not less than 0.8 at an angle of 50 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. BEI Audio-Visual Products; Matte White.

b. Bretford, Inc.; Matte White.

c. Da-Lite Screen Company; [Da-Mat] [Matte White].

d. Draper Inc.; [Fiberglass Matte White] [Panamax] [AT1200] [M1300].

Surface in first paragraph below gives sharp image and wide viewing angle but low brightness; it is for use with high output LCD and DLP projectors.  Gray color improves perceived contrast of full-color presentations by lowering black levels.

B. Matte-Gray Viewing Surface:  Peak gain not less than 0.8, and half-gain angle of not less than 50 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; High Contrast Da-Mat.

b. Draper Inc.; HiDefGrey.

c. Stewart Filmscreen Corporation; GrayHawk.

Surface in first paragraph below gives bright image over narrow viewing angle.  Reflective viewing surfaces are available with higher gain at wider viewing angles.

C. Glass-Beaded Viewing Surface:  Peak gain not less than 2.0, and half-gain angle of at least 15 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; Glass Beaded.

b. Draper Inc.; Glass Beaded.

Reflective viewing surfaces in first four paragraphs below give bright images over moderate-to-wide viewing angles.  Higher gain usually relates to narrower viewing angle.  Surfaces in first two paragraphs are for wide-angle use, third is best for multipurpose screens, and fourth is for low-projector light output.

D. Matte Reflective Viewing Surface:  Peak gain not less than 1.3, and half-gain angle of at least 40 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; Cinema Vision.

b. Stewart Filmscreen Corporation; [Studiotek 130] [Firehawk].

E. Wide-Angle Reflective Viewing Surface:  Peak gain not less than 1.5, and half-gain angle of at least 35 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; Video Spectra 1.5.

b. Stewart Filmscreen Corporation; Ultramatte 150.

F. Multipurpose Reflective Viewing Surface:  Peak gain not less than 1.8, and half-gain angle of at least 25 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; Pearlescent.

b. Draper Inc.; M2500.

c. Stewart Filmscreen Corporation; [Ultramatte 200] [Videomatte 200].

G. High-Gain Reflective Viewing Surface:  Peak gain not less than 2.5, and half-gain angle of at least 20 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; [High Power] [Polarized Screen].

b. Stewart Filmscreen Corporation; Silver 3D.

Select one or more options in first paragraph below.  Vinyl-coated, glass-fiber fabric is typically used with screens that are not tensioned; vinyl sheet is typically used with tensioned screens.  Verify type of material with manufacturers of products selected.

H. Material:  [Vinyl-coated, glass-fiber fabric] [or] [vinyl sheet].

Most screen materials are mildew resistant.  Before retaining first paragraph below, verify that products selected comply with requirements.

I. Mildew-Resistance Rating:  0 or 1 when tested according to ASTM G 21.

Retain one of first two paragraphs below to suit local code, if required for occupancy classification of space where screen is installed.  Screen manufacturers usually test products according to NFPA 701 rather than ASTM E 84.  Before retaining either paragraph, verify that products selected comply with requirements.

J. Flame Resistance:  Passes NFPA 701.

K. Flame-Spread Index:  Not greater than 75 when tested according to ASTM E 84.

Delete first paragraph below if seamless construction is available, in sizes indicated, from manufacturers selected and is required throughout Project, or if seam location is left to manufacturer's discretion.

L. Seams:  Where length of screen indicated exceeds maximum length produced without seams in material specified, provide screen with horizontal seam placed as follows:

Retain one of two subparagraphs below.  Verify available sizes with manufacturers selected.  If retaining second subparagraph, indicate location on Drawings or insert below.

1. At [top] [bottom] of screen at juncture between extra drop length and viewing surface.

2. In location indicated.

Retain first paragraph below after verifying availability, in sizes indicated and type of viewing surface specified, with manufacturers selected.

M. Seamless Construction:  Provide screens, in sizes indicated, without seams.

Select one of two options in first paragraph below.  Some manufacturers automatically provide black masking borders on rectangular viewing surfaces unless otherwise indicated.

N. Edge Treatment:  [Black] [Without black] masking borders.

Select one option in first paragraph below or insert another if only one size is required; if more than one size is required, delete paragraph and indicate size in the schedule.

O. Size of Viewing Surface:  [50 by 50 inches (1270 by 1270 mm)] [60 by 60 inches (1524 by 1524 mm)] [70 by 70 inches (1778 by 1778 mm)] [84 by 84 inches (2133 by 2133 mm)] [48 by 65 inches (1219 by 1651 mm)] [54 by 72 inches (1371 by 1828 mm)] [58 by 79 inches (1473 by 2006 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

Retain paragraph below if required.  Indicate extent of drop length on Drawings or in the schedule.

P. Provide extra drop length of dimensions and at locations indicated.

1. Color:  [Same as viewing surface] [Black].

2.4 FLEXIBLE REAR-PROJECTION SCREEN MATERIAL

Note that flexible rear-projection screens require tab tensioning.

A. Wide-Angle Screens:  Peak gain not less than 1.0, and half-gain angle of at least 35 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; Dual Vision.

b. Stewart Filmscreen Corporation; [Aeroview 100] [Filmscreen 100].

B. Moderate-Gain Screens:  Peak gain not less than 1.3, and half-gain angle of at least 30 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Stewart Filmscreen Corporation; [Lumiflex 130] [Filmscreen 150].

C. High-Gain Screens:  Peak gain not less than 1.8, and half-gain angle of at least 15 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Da-Lite Screen Company; Da-Tex.

b. Draper Inc.; Cineflex.

D. Material:  Coated vinyl sheet.

Most screen materials are mildew resistant.  Before retaining first paragraph below, verify that products selected comply with requirements.

E. Mildew-Resistance Rating:  0 or 1 when tested according to ASTM G 21.

Retain one of first two paragraphs below to suit local code if required for occupancy classification of space where screen is installed.  Screen manufacturers usually test products according to NFPA 701 rather than ASTM E 84.  Before retaining either paragraph, verify that products selected comply with requirements.

F. Flame Resistance:  Passes NFPA 701.

G. Flame-Spread Index:  Not greater than 75 when tested according to ASTM E 84.

H. Seamless Construction:  Provide screens, in sizes indicated, without seams.

Select one option in first paragraph below or insert another if only one size is required; if more than one size is required, delete paragraph and indicate size in the schedule.

I. Size of Viewing Surface:  [50 by 50 inches (1270 by 1270 mm)] [60 by 60 inches (1524 by 1524 mm)] [70 by 70 inches (1778 by 1778 mm)] [84 by 84 inches (2133 by 2133 mm)] [48 by 65 inches (1219 by 1651 mm)] [54 by 72 inches (1371 by 1828 mm)] [58 by 79 inches (1473 by 2006 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

Retain paragraph below if required.  Indicate extent of drop length on Drawings or in the schedule.

J. Provide extra drop length of dimensions and at locations indicated.

1. Color:  [Same as viewing surface] [Black].

2.5 OPTICALLY COATED RIGID REAR-PROJECTION SCREENS

A. Screen Substrate:  Optically clear substrate complying with the following requirements:

Retain one of three subparagraphs below for substrates.  If safety glazing is required, retain one of two acrylic substrates.  The International Building Code does not generally require safety glazing if bottom edge of the screen is more than 18 inches (457 mm) above the floor and the screen is more than 24 inches (610 mm) from a door.

1. Clear float glass complying with ASTM C 1036 for Type I (transparent glass, flat), Class 1 (clear), and Quality q3 (glazing select), [6.0 mm thick] [10.0 mm thick] [12.0 mm thick] [thickness as indicated].

2. Colorless, transparent, cast-acrylic sheet with a luminous transmittance of 92 percent per ASTM D 1003 and complying with ASTM D 4802, Category A-1 (cell cast), Finish 1 (smooth or polished), [1/4 inch (6.4 mm) thick] [3/8 inch (9.5 mm) thick] [1/2 inch (12.7 mm) thick] [thickness as indicated].

3. Fresnel lens cast from colorless, transparent, acrylic with a luminous transmittance of 92 percent per ASTM D 1003 and complying with ASTM D 4802, Category A-1 (cell cast), Finish 1 (smooth or polished) on one side and Finish 2 (patterned) on other side, [1/4 inch (6.4 mm) thick] [3/8 inch (9.5 mm) thick] [1/2 inch (12.7 mm) thick] [thickness as indicated].

B. Optical Coating:  Durable, washable coating bonded to one side of substrate.

Retain one of first four paragraphs below or revise to suit Project.  First and second paragraphs are for wide seating angles where room light is controlled.  Third paragraph is for moderate viewing angle, which requires some control of ambient light.  Fourth paragraph is for high ambient light, restricted viewing angle, and LCD projection.

C. Wide-Angle Screens:  Peak gain not less than 1.0, and half-gain angle of at least 35 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Da-Lite's "Polacoat Ultra" screens have a Fresnel lens substrate.

a. Da-Lite Screen Company; [Polacoat DA-100] [Polacoat Video Vision] [Polacoat Ultra DA-100] [Polacoat Ultra Video Vision].

b. Draper Inc.; [Cine 10] [IRUS].

c. Stewart Filmscreen Corporation; [Aeroview 100] [Filmscreen 100] [Graphite 100] [Blackhawk Xtreme] [Blackhawk Xtreme with Fresnel lens].

D. Moderate-Gain Screens:  Peak gain not less than 1.3, and half-gain angle of at least 30 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Da-Lite's "Polacoat Ultra" screens have a Fresnel lens substrate.

a. Da-Lite Screen Company; [Polacoat DA-150] [Polacoat Ultra DA-150].

b. Draper Inc.; [Cine 13] [Cine 15].

c. Stewart Filmscreen Corporation; [Lumiflex 130] [Filmscreen 150].

E. General-Purpose Screens:  Peak gain of not less than 1.8, and half-gain angle of at least 28 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Da-Lite's "Polacoat Ultra" screens have a Fresnel lens substrate.

a. Da-Lite Screen Company; [Polacoat DA-180] [Polacoat Ultra DA-180].

b. Draper Inc.; Cine 18.

F. High-Gain Screens:  Peak gain not less than 2.0, and half-gain angle of at least 20 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

Da-Lite's "Polacoat Ultra" screens and Draper's "Vortex" screens have a Fresnel lens substrate.

a. Da-Lite Screen Company; [Polacoat DA-230] [Polacoat Ultra DA-230].

b. Draper Inc.; [Cine 20] [Cine 25] [Vortex].

Usually select "Medium neutral gray" or "Manufacturer's standard" option in first paragraph below.  Not all manufacturers listed offer the other options; before retaining one, verify its availability for products selected.

G. Optical Tint:  [High-contrast dark gray] [Medium neutral gray] [Neutral white] [Manufacturer's standard].

Retain first paragraph below if required.

H. Protective Coating:  Provide formulation designed by screen manufacturer as a permanent topcoat over optical coatings to protect against normal abrasion before, during, and after installation.

Retain first paragraph below if required.

I. Writing-Surface Coating:  Provide screen manufacturer's protective coating, designed as a writing surface for dry-erase markers, on front of screen.

Select one option in paragraph below or insert another if only one size is required; if more than one size is required, delete paragraph and indicate size on Drawings or in the schedule.

J. Size of Viewing Surface:  [40 by 54 inches (1016 by 1371 mm)] [43 by 57 inches (1092 by 1447 mm)] [50 by 67 inches (1270 by 1701 mm)] [54 by 72 inches (1371 by 1828 mm)] [60 by 80 inches (1524 by 2032 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

2.6 HIGH-PERFORMANCE RIGID REAR-PROJECTION SCREENS

For best results, if budget and Project conditions allow, specify product in this article and delete "Optically Coated Rigid Rear-Projection Screens" Article.  Delete this article if using conventional rear-projection screens.  See Evaluations.

A. High-Performance Screens, General:  Acrylic screen with Fresnel lens on rear surface and linear lenses on front surface.

1. Screen Substrate:  Optically clear acrylic with a luminous transmittance of 92 percent per ASTM D 1003 and complying with ASTM D 4802, Category A-1 (cell cast), Finish 2 (patterned), [1/4 inch (6.4 mm) thick] [3/8 inch (9.5 mm) thick] [1/2 inch (12.7 mm) thick] [thickness as indicated].

Retain one of first four paragraphs below or revise to suit Project.  If retaining first paragraph, select one of two options.

B. Performance:  Peak gain not less than [3.0] [4.0], and horizontal half-gain angle of at least 50 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available product that may be incorporated into the Work include, but are not limited to, the following]:

According to manufacturer's data, first option in subparagraph below has a peak gain of 3.0; second option has a peak gain of 4.0.

a. Stewart Filmscreen Corporation; [MicroWave] [OptaWave].

If retaining first paragraph below, retain one of two options.

C. Performance:  Peak gain of [3.5] [4.0], and horizontal half-gain angle of at least 30 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

In subparagraphs below, according to manufacturers' data, first Da-Lite product has a peak gain of 3.5 and second has a peak gain of 4.0; Draper's product has a peak gain of 3.5; and Stewart's product has a peak gain of 4.0.

a. Da-Lite Screen Company; [Da-View] [Wide Angle Screen].

b. Draper Inc.; DiamondScreen.

c. Stewart Filmscreen Corporation; OptaWave.

D. Performance:  Peak gain of 5.0, and horizontal half-gain angle of at least 25 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Stewart Filmscreen Corporation; PowerView.

If retaining first paragraph below, retain one of two options.

E. Performance:  Peak gain not less than [1.5] [3.0], and horizontal half-gain angle of at least 20 degrees from the axis of the screen surface.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

According to manufacturers' data, first option in subparagraph below has a peak gain of 1.5; second option has a peak gain of 3.0.

a. Da-Lite Screen Company; [Data Pro] [Giant Screen].

Select one option in paragraph below or insert another if only one size is required; if more than one size is required, delete paragraph and indicate size on Drawings or in the schedule.

F. Size of Viewing Surface:  [40 by 54 inches (1016 by 1371 mm)] [43 by 57 inches (1092 by 1447 mm)] [50 by 67 inches (1270 by 1701 mm)] [54 by 72 inches (1371 by 1828 mm)] [60 by 80 inches (1524 by 2032 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

2.7 RIGID REAR-PROJECTION SCREEN ACCESSORIES

Delete first paragraph below if screens are field installed in frames specified in other Sections.  Manufacturers listed offer several frame profiles and sizes; insert description or show details on Drawings.

A. Factory Frames:  Screen manufacturer's standard frames of profile indicated, fabricated to sizes required to fit screens from aluminum extrusions complying with ASTM B 221 (ASTM B 221M) for 6063-T5 alloy and temper.

1. Class II, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

2. Class II, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

All manufacturers listed do not have same standard finishes.

a. Color:  [Black] [Dark bronze] [Either black or dark bronze, as standard with manufacturer].

B. Glazing Accessories for Factory Frames:  Provide gaskets and setting blocks with proven record of compatibility with screen and frame surfaces, of sizes and shapes to accommodate thickness of screen indicated and to fit glazing channel provided.

Delete paragraph above or below.

C. Glazing Accessories for Field-Framed Screens:  Provide materials compatible with screen and frame surfaces while complying with applicable requirements in Division 8 Section "Glazing."

PART 3 -  EXECUTION

3.1 FRONT-PROJECTION SCREEN INSTALLATION

Retitle this article "Flexible-Projection Screen Installation" if appropriate.

A. Install front-projection screens at locations indicated to comply with screen manufacturer's written instructions.

B. Install front-projection screens with screen cases in position and in relation to adjoining construction indicated.  Securely anchor to supporting substrate in a manner that produces a smoothly operating screen with vertical edges plumb and viewing surface flat when screen is lowered.

1. Install low-voltage controls according to NFPA 70 and complying with manufacturer's written instructions.

a. Wiring Method:  Install wiring in raceway except in accessible ceiling spaces and in gypsum board partitions where unenclosed wiring method may be used.  Use UL-listed plenum cable in environmental air spaces, including plenum ceilings.  Conceal raceway and cables except in unfinished spaces.

2. Test electrically operated units to verify that screen controls, limit switches, closures, and other operating components are in optimum functioning condition.

3. Test manually operated units to verify that screen-operating components are in optimum functioning condition.

3.2 RIGID REAR-PROJECTION SCREEN INSTALLATION

A. Install rear-projection screens at locations indicated to comply with screen manufacturer's written instructions.  Handle screens carefully during installation using procedures and tools recommended by screen manufacturer; do not abrade screen surfaces.

B. Install optically coated rear-projection screens with optical coating toward [projector] [audience].

C. Install high-performance, rear-projection screens with orientation as indicated in manufacturer's written instructions.

D. Install factory-framed, rear-projection screens in prepared wall openings.  Securely anchor frames to surrounding construction so frames are plumb and level and screen surfaces are flat.

E. Install rear-projection screens with glass substrates, in frames specified in other Sections, to comply with applicable requirements in Division 8 Section "Glazing" and with screen manufacturer's written instructions.  Set projection screen with surfaces flat and edges plumb and level.

F. Install rear-projection screens with plastic substrates, in frames specified in other Sections, to comply with screen manufacturer's written instructions.  Clamp units only at top edge and allow for expansion and contraction of plastic glazing material by providing frame with adequate bite and edge clearances.

3.3 PROTECTING AND CLEANING RIGID REAR-PROJECTION SCREENS

A. Provide temporary covering of rear-projection screens until time of Substantial Completion.  Use type of covering approved by screen manufacturer that will effectively protect screen from abrasion, breakage, or other damage.

B. Clean rear-projection screens on both faces immediately before date scheduled for inspection intended to establish date of Substantial Completion.  Use methods and cleaning materials recommended by screen manufacturer, taking care not to scratch or damage optical coatings or screen substrates.

3.4 PROJECTION SCREEN SCHEDULE

A. Manually Operated, Front-Projection Screen Type[ PS-<#>]:  [Surface mounted, metal encased] [Surface mounted, wood finished].

1. Screen Surface:  [Matte white] [Matte gray] [Glass beaded] [Matte reflective] [Wide-angle reflective] [Multipurpose reflective] [High-gain reflective].

Delete first subparagraph below if sizes are indicated on Drawings.

2. Viewing Surface Size:  [50 by 50 inches (1270 by 1270 mm)] [60 by 60 inches (1524 by 1524 mm)] [70 by 70 inches (1778 by 1778 mm)] [84 by 84 inches (2133 by 2133 mm)] [48 by 65 inches (1219 by 1651 mm)] [54 by 72 inches (1371 by 1828 mm)] [58 by 79 inches (1473 by 2006 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

3. Extra Drop Length:  [As needed at top of screen for bottom of screen to be 36 inches (900 mm) above floor] [and] [36 inches (900 mm) at bottom of screen] <Insert description>.

B. Electrically Operated, Front-Projection Screen Type[ PS-<#>]:  [Surface mounted, metal encased] [Surface mounted, wood finished] [Suspended, without ceiling closure] [Suspended, with automatic ceiling closure].

1. Motor Configuration:  [Motor in roller] [End-mounted motor on right end of screen] [End-mounted motor on left end of screen] [End-mounted motor on end of screen indicated].

2. Screen Surface:  [Matte white] [Matte gray] [Glass beaded] [Matte reflective] [Wide-angle reflective] [Multipurpose reflective] [High-gain reflective].

Delete first subparagraph below if sizes are indicated on Drawings.

3. Viewing Surface Size:  [50 by 50 inches (1270 by 1270 mm)] [60 by 60 inches (1524 by 1524 mm)] [70 by 70 inches (1778 by 1778 mm)] [84 by 84 inches (2133 by 2133 mm)] [48 by 65 inches (1219 by 1651 mm)] [54 by 72 inches (1371 by 1828 mm)] [58 by 79 inches (1473 by 2006 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

4. Extra Drop Length:  [As needed at top of screen for bottom of screen to be 36 inches (900 mm) above floor] [and] [36 inches (900 mm) at bottom of screen] <Insert description>.

C. Manually Operated, Rear-Projection Screen Type[ PS-<#>]:  [Surface mounted, metal encased] [Surface mounted, wood finished].

1. Screen Type:  [Wide angle] [Moderate gain] [High gain].

Delete first subparagraph below if sizes are indicated on Drawings.

2. Viewing Surface Size:  [50 by 50 inches (1270 by 1270 mm)] [60 by 60 inches (1524 by 1524 mm)] [70 by 70 inches (1778 by 1778 mm)] [84 by 84 inches (2133 by 2133 mm)] [48 by 65 inches (1219 by 1651 mm)] [54 by 72 inches (1371 by 1828 mm)] [58 by 79 inches (1473 by 2006 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

3. Extra Drop Length:  [As needed at top of screen for bottom of screen to be 36 inches (900 mm) above floor] [and] [36 inches (900 mm) at bottom of screen] <Insert description>.

D. Electrically Operated, Rear-Projection Screen Type[ PS-<#>]:  [Surface mounted, metal encased] [Surface mounted, wood finished] [Suspended, without ceiling closure] [Suspended, with automatic ceiling closure].

1. Motor Configuration:  [Motor in roller] [End-mounted motor on right end of screen] [End-mounted motor on left end of screen] [End-mounted motor on end of screen indicated].

2. Screen Type:  [Wide angle] [Moderate gain] [High gain].

Delete first subparagraph below if sizes are indicated on Drawings.

3. Viewing Surface Size:  [50 by 50 inches (1270 by 1270 mm)] [60 by 60 inches (1524 by 1524 mm)] [70 by 70 inches (1778 by 1778 mm)] [84 by 84 inches (2133 by 2133 mm)] [48 by 65 inches (1219 by 1651 mm)] [54 by 72 inches (1371 by 1828 mm)] [58 by 79 inches (1473 by 2006 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

4. Extra Drop Length:  [As needed at top of screen for bottom of screen to be 36 inches (900 mm) above floor] [and] [36 inches (900 mm) at bottom of screen] <Insert description>.

E. Rigid Rear-Projection Screen Type[ PS-<#>]:  Optically coated screen.

1. Screen Substrate:  [Glass] [Acrylic].

2. Screen Type:  [Wide angle] [Moderate gain] [General purpose] [High gain].

3. Optical Tint:  [High-contrast dark gray] [Medium neutral gray] [Neutral white].

Delete first subparagraph below if sizes are indicated on Drawings.

4. Size of Viewing Surface:  [40 by 54 inches (1016 by 1371 mm)] [43 by 57 inches (1092 by 1447 mm)] [50 by 67 inches (1270 by 1701 mm)] [54 by 72 inches (1371 by 1828 mm)] [60 by 80 inches (1524 by 2032 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

5. Additional Features:  [Protective coating] [Writing surface coating] [Factory frame] <Insert requirement>.

F. Rigid Rear-Projection Screen Type[ PS-<#>]:  High-performance screen.

1. Gain:  Not less than [1.5] [3] [3.5] [4] [5].

2. Horizontal Half-Gain Angle:  At least [20] [25] [30] [50] degrees from screen axis.

Delete first subparagraph below if sizes are indicated on Drawings.

3. Size of Viewing Surface:  [40 by 54 inches (1016 by 1371 mm)] [43 by 57 inches (1092 by 1447 mm)] [50 by 67 inches (1270 by 1701 mm)] [54 by 72 inches (1371 by 1828 mm)] [60 by 80 inches (1524 by 2032 mm)] [72 by 96 inches (1828 by 2438 mm)] <Insert size>.

4. Additional Features:  [Factory frame] <Insert requirement>.

END OF SECTION 11132

PROJECTION SCREENS
11132 - 1

