Copyright 2005 AIA
MASTERSPEC
05/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 11492 - GYMNASIUM DIVIDERS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes gymnasium divider curtains.

B. Related Sections include the following:

List below only products and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 16 Sections for electrical service for motor operators, controls, and other powered devices for motorized gymnasium dividers.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

1. If applicable, include assembly, disassembly, and storage instructions for removable equipment.

Retain subparagraph below for electric operation.

2. Motors:  Show nameplate data, ratings, characteristics, and mounting arrangements.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

C. Structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation including loads, point reactions, and locations for attachment of gymnasium dividers to structure.

D. Samples for Initial Selection:  For each type of gymnasium divider curtain fabric indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For divider curtain fabric, not less than 12 inches (305 mm) square [of open mesh] [, and] [of opaque fabric].

F. Product Certificates:  For each type of gymnasium divider, signed by product manufacturer.

Retain first option in first paragraph below if retaining "Installer Qualifications" Paragraph in "Quality Assurance" Article.  Retain second option if retaining paragraph, in "Submittals" Article above, for a qualified professional engineer to submit structural analysis data.

Coordinate below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [Installer] [professional engineer].

H. Operation and Maintenance Data:  For gymnasium dividers to include in emergency, operation, and maintenance manuals.

I. Warranty:  Special warranty specified in this Section.

1.4 QUALITY ASSURANCE

Consider retaining first paragraph below for extensive, complex installations; for custom-engineered equipment; and for automatic operation of equipment.  If retaining either option, verify availability with manufacturers.

A. Installer Qualifications:  [Fabricator of products] [An employer of workers trained and approved by manufacturer].

B. Source Limitations:  Obtain each type of gymnasium divider from a single manufacturer.

C. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

1.5 PROJECT CONDITIONS

A. Environmental Limitations:  Do not install gymnasium dividers until spaces are enclosed and weatherproof, wet work in spaces is complete and dry, and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

B. Field Measurements:  Verify position for gymnasium dividers.

1.6 COORDINATION

A. Coordinate installation of overhead-supported gymnasium dividers and suspension system components with other construction including light fixtures, HVAC equipment, fire-suppression-system components, and partition assemblies.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of gymnasium dividers that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, faulty operation of gymnasium dividers.

Verify available warranties for units and components and insert number below.

2. Warranty Period:  [Five] [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS

Retain applicable paragraphs and subparagraphs in this Article to suit Project and products.

A. Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated.

1. Extruded Bars, Profiles, and Tubes:  ASTM B 221 (ASTM B 221M).

2. Cast Aluminum:  ASTM B 179.

3. Flat Sheet:  ASTM B 209 (ASTM B 209M).

B. Steel:  Comply with the following:

1. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

2. Steel Tubing:  ASTM A 500 or ASTM A 513, cold formed.

3. Steel Sheet:  ASTM A 1011/A 1011M.

Retain one or both of first two paragraphs below for cable or chain to support suspended gymnasium dividers.

C. Support Cable:  [1/4-inch- (6-mm-) diameter, 7x19] [Manufacturer's standard] galvanized steel aircraft cable[ with a breaking strength of 7000 lb (3175 kg)].  Provide fittings complying with cable manufacturer's written instructions for size, number, and method of installation.

Revise first paragraph below if another type of support chain is required for Project.

D. Support Chain and Fittings:  Grade 80 hardened alloy steel chain rated for overhead lifting, ASTM A 391/A 391M, with commercial-quality, [hot-dip galvanized] [zinc-plated] steel connectors and hangars.

E. Castings and Hangers:  Malleable iron, ASTM A 47/A 47M, grade required for structural loading.

F. Anchors, Fasteners, Fittings and Hardware:  Manufacturer's standard corrosion-resistant or noncorrodible units; concealed[; tamperproof, vandal- and theft-resistant design].

2.2 DIVIDER CURTAINS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. AALCO Manufacturing.

2. ADP Lemco Inc.

3. American Athletic, Inc.

4. Arizona Courtlines, Inc.

5. Basketball Products International; a division of American Athletic, Inc.

6. Douglas Industries, Inc.

7. Draper Inc.

8. Institutional Products Inc.

9. Jaypro Sports, LLC.

10. Performance Sports Systems.

11. P. W. Athletic Mfg. Co.

12. Revere Plastics, Inc.

13. <Insert manufacturer's name.>

D. Divider Curtains:  [Electrically] [Manually] operated, [fold up] [roll up] [walk draw], and as follows:

1. [Upper ]Curtain, Mesh:  Woven fabric of 100 percent polyester yarn coated with PVC weighing not less than 6.5 oz./sq. yd (220 g/sq. m).

a. Mesh Color:  [White] [Yellow] <Insert color>.

Delete first subparagraph below if mesh extends to floor and solid lower curtain is not used.

2. [Lower ]Curtain, Solid:  Woven polyester coated with PVC, 18 oz./sq. yd (610 g/sq. m), embossed, [8-foot (2.4-m)] [10-foot (3.0-m)] <Insert dimension> height above floor.

a. Fabric Color(s):  [Match school colors] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] for [one] [two] <Insert number> color(s).

Retain subparagraph and associated subparagraph below if divider curtains are considered by authorities having jurisdiction to be subject to fire tests.  See Evaluations for explanation of tests per NFPA 701.  Revise if required by authorities having jurisdiction.

3. Divider Curtain Flame-Resistance Ratings:  Passes NFPA 701, inherently and permanently flame resistant.

a. Permanently attach label to each fabric of curtain assembly indicating whether fabric is inherently and permanently flame resistant or treated with flame-retardant chemicals, and whether it will require retreatment after designated time period or cleaning.

E. Curtain Fabrication:  Fused seams and the following:

1. Top Hem:  Reinforce with double thickness mesh for [grommets] [continuous pipe batten].

Retain one of three subparagraphs below.

2. Bottom Hem for Fold-up Curtains:  Floor-length curtains with hems 2 inches (50 mm) above finished floor and with manufacturer's standard pipe batten with felt padding in pocket.

3. Bottom Hem for Roll-up Curtains:  Floor-length curtains with hems 2 inches (50 mm) above finished floor and with manufacturer's standard 3-1/2- to 4-inch- (89- to 102-mm) roll-up tube and lifting tape.

4. Bottom Hem for Draw Curtains:  Floor-length curtains with hems 2 inches (50 mm) above finished floor with proof coil chain in pocket.

F. Accessories:

Retain one or more of three subparagraphs and associated subparagraph below; coordinate with curtain fabrication.

1. Grommets:  Manufacturer's standard size and spacing, for snaps or S-hooks.

2. Proof Coil Chain:  Grade 30, No. 8, zinc plated, 3/16 inch (4.7 mm), ASTM A 413/A 413M.

3. Curtain Battens:  Fabricate battens from steel pipe with a minimum number of joints.  As necessary for required lengths, connect pipe with drive-fit pipe sleeve not less than 18 inches (450 mm) long, and secure with 4 flush rivets, plug welds, threaded couplings, or another equally secure method.  Shop-paint completed pipe battens with black paint.

a. Steel Pipe:  ASTM A 53/ A 53M, Grade A, standard weight (Schedule 40), black, 1-1/2-inch (40-mm) nominal diameter, unless otherwise indicated.

G. Divider Curtain Operator:  [Roll-up drive tube] [Upward folding, cable suspended] [Walk-draw cable with pulleys] [Walk-draw track].

If automatic operation is required for roll-up or upward-folding divider curtains, retain paragraph and applicable subparagraphs below for electric operator.

H. Divider Curtain Electric Operator:  Provide operating machine of size and capacity recommended by manufacturer for equipment specified, with electric motor and factory-prewired motor controls, starter, gear-reduction unit, and remote controls.  Coordinate wiring requirements and electrical characteristics with building electrical system.

1. Operator Type:  Electric motor, [belt-reduction] [enclosed gear-head-reduction] [worm-gear running-in-oil] drive, with chain and sprocket secondary drive.

Motor characteristics such as NEMA designation, temperature rating, service factor, enclosure type, and efficiency are specified in Division 15 Section "Motors."  If different characteristics are required, add subparagraphs below to suit Project.  Verify electrical characteristics with electrical engineer.

2. Motor Characteristics:  Sufficient to start, accelerate, reverse, and operate connected loads at designated speeds within installed environment and with indicated operating sequence, and without exceeding nameplate rating or considering service factor.  Comply with NEMA MG 1, and the following:

3. Voltage:  [120 V] [208-220 V] [NEMA standard voltage selected to operate on nominal circuit voltage to which motor is connected.] <Insert voltage>.

4. Horsepower:  [3/4] [1] <Insert horsepower> hp.

5. Enclosure:  [Open dripproof] [Totally enclosed] [Manufacturer's standard].

6. Duty:  Continuous duty at ambient temperature of 105 deg F (40 deg C) and at altitude of 3300 feet (1005 m) above sea level.

7. Service Factor:  1.15 for open dripproof motors; 1.0 for totally enclosed motors.

8. Phase:  One.

Revise subparagraph and associated subparagraph below if machine selected has toggle-type switch.  Insert requirements for multiple control stations, if any.

9. Remote-Control Station(s):  NEMA ICS 6, Type 1 enclosure for [surface] [recessed or flush] <Insert mounting> mounting, momentary-contact, three-position switch-operated control.

a. Keys:  Provide [one] [two] key(s) per station.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for alignment of mounting substrates, installation tolerances, operational clearances,[ accurate locations of connections to building electrical system,] and other conditions affecting performance.

1. Verify critical dimensions.

2. Examine supporting structure.

3. Examine wall assemblies, where reinforced to receive anchors and fasteners, to verify that locations of concealed reinforcements have been clearly marked.  Locate reinforcements and mark locations.

4. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION, GENERAL

A. General:  Comply with manufacturer's written installation instructions.  Complete field assembly, where required.

B. Unless otherwise indicated, install gymnasium dividers after other finishing operations, including painting, have been completed.

C. Gymnasium Dividers and Components:  Rigid, level, plumb, square, and true; anchored securely to supporting structure; positioned at locations and elevations indicated on Shop Drawings; in proper relation to adjacent construction; and aligned with court layout.

1. Verify clearances for movable components of gymnasium dividers throughout entire range of operation and for access to operating components.

If required by authorities having jurisdiction to comply with NFPA 101, verify relationship of mounting height and presence or absence of fire-suppression sprinklers.

D. Anchoring to In-Place Construction:  Use anchors and fasteners where necessary for securing gymnasium dividers to structural support and for properly transferring load to in-place construction.

Delete paragraph below if no hardwired, electrically operated gymnasium dividers.

E. Connections:  Connect automatic operators to building electrical system.

3.3 ADJUSTING

A. Adjust movable components of gymnasium dividers to operate safely, smoothly, easily, and quietly, free from binding, warp, distortion, nonalignment, misplacement, disruption, or malfunction, throughout entire operational range.  Lubricate hardware and moving parts.

3.4 CLEANING

A. After completing gymnasium divider installation, inspect components.  Remove spots, dirt, and debris and touch up damaged shop-applied finishes according to manufacturer's written instructions.

B. Replace gymnasium divider components and finishes that cannot be cleaned and repaired, in a manner approved by Architect, before time of Substantial Completion.

3.5 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain gymnasium dividers.  Refer to Division 1 Section "Demonstration and Training."

END OF SECTION 11492

GYMNASIUM DIVIDERS
11492 - 1

