Copyright 2004 AIA
MASTERSPEC Full Length
05/04 (R 05/06)

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 12484 - FLOOR MATS AND FRAMES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.  Note that LEED-NC Credit EQ 5 requires permanent entryway systems at least 6 feet (1829 mm) long and only allows roll-out mats when maintained weekly by a contracted service organization.  LEED-CI Credit EQ 5 and LEED-EB Credit IEQ 10.1 do not have the same restrictions but require permanent entryway systems, such as grilles or grates.  (LEED-EB also mentions mats; LEED-CI does not mention mats.)

1. Roll-up mats in [recessed] [surface-mounted] frames.

2. Entrance mats in [recessed] [surface-mounted] frames.

3. Entrance tiles in [recessed] [surface-mounted] frames.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for slab depression [grouting] [and] [filling] for recessed mats[ and frames].

2. Division 12 Section "Foot Grilles" for rigid foot grilles and frames.

1.3 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes.

B. Shop Drawings:  Show the following:

Edit four subparagraphs and associated subparagraphs below to suit Project.

1. Items penetrating floor mats and frames, including the following:

a. Door control devices.

b. <Insert item.>

2. Divisions between mat sections.

3. Perimeter floor moldings.

4. Custom Graphics:  Scale drawing indicating colors.

C. Samples for Initial Selection:  For each type of product indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of product indicated.

1. Floor Mat:  12-inch- (300-mm-) square, assembled sections of floor mat.

2. Tread Rail:  12-inch- (300-mm-) long Sample of each type and color.

3. Frame Members:  12-inch- (300-mm-) long Sample of each type and color.

E. Maintenance Data:  For floor mats[ and frames] to include in maintenance manuals.

1.4 QUALITY ASSURANCE

A. Source Limitations:  Obtain floor mats[ and frames] through one source from a single manufacturer.

Usually retain one of two options in paragraph below to comply with requirements of authorities having jurisdiction and with applicable laws and regulations.

B. Accessibility Requirements:  Provide installed floor mats that comply with [Section 4.5 in the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)."] [Sections 302 and 303 in ICC A117.1.]

1.5 PROJECT CONDITIONS

A. Field Measurements:  Indicate measurements on Shop Drawings.

1.6 COORDINATION

A. Coordinate size and location of recesses in concrete with installation of finish floors to receive floor mats[ and frames].

1.7 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Entrance Tiles:  Full-size units equal to [2] <Insert number> percent of amount installed for each size, color, and pattern indicated, but no fewer than [10] <Insert number> units.

PART 2 -  PRODUCTS

2.1 ROLL-UP MATS

Note that LEED-NC Credit EQ 5 requires permanent entryway systems at least 6 feet (1829 mm) long and only allows roll-out mats when maintained weekly by a contracted service organization.  LEED-CI Credit EQ 5 and LEED-EB Credit IEQ 10.1 do not have the same restrictions but require permanent entryway systems, such as grilles or grates.  (LEED-EB also mentions mats; LEED-CI does not mention mats.)

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of three paragraphs and list of manufacturers below.  See Division 1Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. American Floor Products Company, Inc.

2. ARDEN Architectural Specialties, Inc.

3. Balco, Inc.

4. Cactus Mat Mfg. Co.

5. K. N. Crowder Manufacturing, Inc.

6. C/S Group.

7. Durable Corporation.

8. J. L. Industries, Inc.

9. Kadee Industries, Inc.

10. Matco International.

11. Musson, R. C. Rubber Co.

12. Pawling Corporation; Architectural Products Division.

13. Reese Enterprises, Inc.

14. <Insert manufacturer's name.>

Delete remaining paragraphs and subparagraphs not required.  Edit those retained to suit Project.

D. Roll-up, Vinyl-Rail Hinged Mats:  Vinyl-acrylic tread rails [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert size> wide by 3/8 inch (9.5 mm) thick, with slotted or perforated [vinyl] [aluminum] hinges.

1. Tread Inserts:  [Textured-surface, resilient vinyl] [Ribbed-design-surface, resilient vinyl] [Mineral abrasive particles bonded to or embedded in vinyl] [Aluminum-oxide or silicon-carbide grit in epoxy matrix] [1/4-inch- (6-mm-) high, 28-oz./sq. yd. (950-g/sq. m) weight, level-cut, nylon-pile, fusion-bonded carpet].

2. Colors, Textures, and Patterns of Inserts:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

3. Rail Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

4. Mat Size:  [As indicated] <Insert size>.

E. Roll-up, Aluminum-Rail Hinged Mats:  Extruded-aluminum tread rails [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert size> wide by 3/8 inch (9.5 mm) thick, sitting on continuous vinyl cushions.

1. Tread Inserts:  [Plain serrated aluminum treads] [Textured-surface, resilient vinyl] [Ribbed-design-surface, resilient vinyl] [Mineral abrasive particles bonded to or embedded in vinyl] [Aluminum-oxide or silicon-carbide grit in epoxy matrix] [1/4-inch- (6-mm-) high, 28-oz./sq. yd. (950-g/sq. m) weight, level-cut, nylon-pile, fusion-bonded carpet].

2. Colors, Textures, and Patterns of Inserts:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

3. Rail Color:  [Mill-finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

4. Hinges:  [Plastic] [Aluminum].

5. Mat Size:  [As indicated] <Insert size>.

Retain one of two paragraphs and associated subparagraphs below for frames.

F. Surface-Mounted Frames:

1. Tapered Frames:  Tapered [flexible vinyl edge-] [aluminum ]frame members, not less than 1-1/2 inches (38 mm) wide, attached to mat at all 4 edges, with welded mitered corners.

First two options in subparagraph below are for aluminum frames.

2. Color:  [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

G. Recessed Frames:

Retain first two subparagraphs below for aluminum frames for recessed mats.

1. Extruded Aluminum:  ASTM B 221 (ASTM B 221M), Alloy 6061-T6 or Alloy 6063-T5, T6, or T52.

2. Color:  [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

3. Architectural Bronze:  ASTM B 455, Alloy UNS No. C38500.

Retain paragraph below if floor mats must withstand heavy wheeled-cart loads.

H. Structural Performance:  Provide roll-up mats and frames capable of withstanding the following loads and stresses within limits and under conditions indicated:

Requirements in two subparagraphs below are examples only.  Revise to suit Project.

1. Uniform floor load of [300 lbf/sq. ft. (14.36 kN/sq. m)] <Insert load>.

2. Wheel load of [350 lb (159 kg)] <Insert load> per wheel.

2.2 ENTRANCE MATS

Note that LEED-NC Credit EQ 5 requires permanent entryway systems at least 6 feet (1829 mm) long.  It indicates that acceptable systems include grates, grilles, or slotted systems and does not mention mats except to say that roll-out mats are only acceptable when maintained weekly by a contracted service organization.  LEED-CI Credit EQ 5 and LEED-EB Credit IEQ 10.1 require permanent entryway systems, such as grilles or grates.  LEED-EB Credit IEQ 10.1 also mentions mats.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 1Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. American Floor Products Company, Inc.

2. ARDEN Architectural Specialties, Inc.

3. Balco, Inc.

4. Cactus Mat Mfg. Co.

5. Consolidated Plastics Company, Inc.

6. C/S Group.

7. Durable Corporation.

8. Flexco.

9. Matco International.

10. Mats, Inc.

11. Musson, R. C. Rubber Co.

12. Pawling Corporation; Architectural Products Division.

13. Sbemco International Inc.

14. Tennessee Mat Company, Inc.

15. Tepromark International, Inc.

16. U.S. Mat & Rubber Corporation.

17. <Insert manufacturer's name.>

D. Resilient Link Mats:  [3/8-inch- (9.5-mm-)] [or] [7/16-inch- (11-mm-)] thick, reversible [vinyl] [rubber] [rubber-tire] link mats with [galvanized spring] [stainless]-steel wire link rods, vulcanized edge-nosing trim, steel-reinforced end trim, and links consisting of rectangular units or continuous strips in a [heel-proof, solid-weave pattern with no openings between links] [heel-proof, close-weave pattern with openings between links not exceeding 1/8 inch (3 mm) wide by 1 inch (25.4 mm) long] [open-weave pattern with openings between links about 1/2 inch (13 mm) wide by 1 inch (25.4 mm) long].

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Mat Size:  [As indicated] <Insert size>.

E. [Rubber] [or] [Vinyl] Mats:  [1/4-inch- (6-mm-)] [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] [1/2-inch- (13-mm-)] <Insert thickness> thick mats; with [square edges for recessed installations] [beveled edges for surface applications] and with [solid sheet (no perforations) style] [perforated style, 1/4-inch (6-mm) diameter on standard spacing] [perforated style, 3/16 by 3/4 inch (5 by 19 mm) on standard spacing], [standard pyramid design] [standard wide-wale corrugated] [hi-rib, narrow-wale corrugated] top profile, and [low-rib, narrow-wale corrugated] [standard knob-base] [flat-base] bottom surface.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Mat Size:  [As indicated] <Insert size>.

Cocoa mats are usually thicker than other types, which increases tripping potential when surface applied.  Select mat thickness and weight from options in first paragraph below; pile should project 1/4 inch (6 mm) above floor or frame.  Coordinate with mat frames.

F. Cocoa Mats:  Constructed from cocoa fiber yarn permanently bonded to PVC backing for dimensional stability and resistance to shedding; [5/8- to 3/4-inch (16- to 19-mm) overall thickness; 1.5-lb/sq. ft (7.3-kg/sq. m)] [1-inch (25.4-mm) overall thickness; 2.0-lb/sq. ft (10-kg/sq. m)] [1-1/4-inch (32-mm) overall thickness; 2.5-lb/sq. ft (12-kg/sq. m)] weight.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Mat Size:  [As indicated] <Insert size>.

G. Rubber-Tire Mats:  Units of edge-grain-laminated and chenille-buffed, rubber-tire wall cuts; bonded to sheet rubber or other durable flexible backing sheet to form 3/8- to 7/16-inch- (9.5- to 11-mm-) thick, 12-inch- (300-mm-) [square tile] [wide, continuous linear strip up to 25 feet (7.6 m) long].

1. Mat Size:  [As indicated] <Insert size>.

Materials in first paragraph below are examples only.  Specify pile height and weight or a proprietary carpet selection.

H. Carpet-Type Mats:  [Nylon] [Polypropylene] [Olefin] [Polyester] carpet bonded to 1/8- to 1/4-inch- (3- to 6-mm-) thick, flexible vinyl backing to form mats 3/8 or 7/16 inch (9.5 or 11 mm) thick with nonraveling edges.

1. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Mat Size:  [As indicated] <Insert size>.

I. Loop Filament Mats:  3M's "Nomad" loop filament vinyl material [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] thick, with [solid vinyl sheet] [foam sheet] backing and with built-in chemical agents to reduce fungus and mildew.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Mat Size:  [As indicated] <Insert size>.

J. Nuway Mats:  Nylon-reinforced, 1/2-inch- (13-mm-) wide by [7/16-inch- (11-mm-)] [11/16-inch- (17.4-mm-)] thick, vulcanized laminated rubber strips alternating with 9/16-inch- (14-mm-) wide, profile shapes assembled on 0.1055-inch- (2.7-mm-) diameter, galvanized steel wire, 1-1/2 inches (38 mm) o.c.  Fibered surface [buffed on rubber strips for interior] [unbuffed on rubber strips for exterior] installations.

Delete first subparagraph below if closed construction is desired.

1. Semiopen construction incorporating a 1/8-inch- (3-mm-) thick, PVC spacer on each wire between each profile shape and rubber strip to allow dirt, grit, and water to drop through.

2. Profile Shape Finish:  [Extruded-aluminum, mill finish] [Solid architectural-quality brass] [High-impact, solid PVC in color selected].

3. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

4. Mat Size:  [As indicated] <Insert size>.

Delete first paragraph and subparagraphs below if mat is recessed.

K. Surface-Mounted Frames:

1. Tapered Frames:  Tapered [flexible vinyl edge-] [aluminum ]frame members, not less than [2 inches (50 mm)] [1-1/2 inches (38 mm)] wide[, attached to mat at all 4 edges,] with welded mitered corners.

First two options in subparagraph below are for aluminum frames.

2. Color:  [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

L. Recessed Frames:

Retain first two subparagraphs below for aluminum frames for recessed mats.

1. Extruded Aluminum:  ASTM B 221 (ASTM B 221M), Alloy 6061-T6 or Alloy 6063-T5, T6, or T52.

2. Color:  [Mill-finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

3. Architectural Bronze:  ASTM B 455, Alloy UNS No. C38500.

Delete paragraph below if not required.

M. Graphics:  Custom inlaid or woven-in graphic [design,] [logo,] [emblem,] [characters,] as indicated.

2.3 ENTRANCE TILES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first three paragraphs and list of manufacturers below.  See Division 1Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. American Floor Products Company, Inc.

2. Cactus Mat Mfg. Co.

3. Consolidated Plastics Company, Inc.

4. Durable Corporation.

5. Flexco.

6. Matco International.

7. Mats, Inc.

8. Turtle Plastics.

9. <Insert manufacturer's name.>

D. Rubber-Tire Tiles:  Units of edge-grain-laminated and chenille-buffed, rubber-tire wall cuts; bonded to sheet rubber or other durable flexible backing sheet to form 3/8- to 7/16-inch- (9.5- to 11-mm-) thick, [square tile] [continuous linear strip].

1. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Tile Size:  [12 inches (300 mm)] [As indicated] <Insert size>.

Raised-cube face design is also available with shallow 1/8-inch (3-mm) profile.

E. [Rubber] [or] [Vinyl] Tiles:  [5/8-inch- (16-mm-)] [7/16-inch- (11-mm-)] thick, [solid] [open-grid] [rubber] [or] [vinyl] compound molded tiles with [concealed interlocking joint tabs] [1/4-inch- (6-mm-) deep, serpentine-grooved top face and knob-base back face on solid tile].

1. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Tile Size:  [As indicated] <Insert size>.

Materials in paragraph below are examples only.  Specify pile height and weight or a proprietary carpet selection.

F. Carpet-Type Tiles:  [Nylon] [Polypropylene] [Olefin] [Polyester] carpet bonded to 1/8- to 1/4-inch- (3- to 6-mm-) thick, flexible vinyl backing to form mats 3/8 or 7/16 inch (9.5 or 11 mm) thick with nonraveling edges.

1. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2. Tile Size:  [As indicated] <Insert size>.

Delete first paragraph and subparagraphs below if tiles are recessed.

G. Surface-Mounted Frames:

1. Tapered Frames:  Tapered [flexible vinyl edge-] [aluminum ]frame members, not less than [2 inches (50 mm)] [1-1/2 inches (38 mm)]wide[, attached to mat at all 4 edges,] with welded mitered corners.

First two options in subparagraph below are for aluminum frames.

2. Color:  [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

H. Recessed Frames:  Manufacturer's standard extrusion.

1. Extruded Aluminum:  ASTM B 221 (ASTM B 221M), Alloy 6061-T6 or Alloy 6063-T5, T6, or T52.

2. Color:  [Mill-finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2.4 CONCRETE FILL AND GROUT MATERIALS

Delete this Article if no recessed floor mats and frames.

A. Provide concrete grout and fill equivalent in strength to cast-in-place concrete slabs for recessed mats and frames.  Use aggregate no larger than one-third fill thickness.

2.5 FABRICATION

A. Floor Mats:  Shop fabricate units to greatest extent possible in sizes indicated.  Unless otherwise indicated, provide single unit for each mat installation; do not exceed manufacturer's recommended maximum sizes for units that are removed for maintenance and cleaning.  Where joints in mats are necessary, space symmetrically and away from normal traffic lanes.  Miter corner joints in framing elements with hairline joints or provide prefabricated corner units without joints.

B. Surface-Mounted Frames:  As indicated for permanent surface-mounted installation, complete with corner connectors, splice plates or connecting pins, and postinstalled expansion anchors.

Delete paragraph above if no surface-mounted mat frames.  Delete first paragraph and subparagraph below if no recessed frames.

C. Recessed Frames:  As indicated, for permanent recessed installation, complete with corner pins or reinforcement and anchorage devices.

1. Fabricate edge-frame members in single lengths or, where frame dimensions exceed maximum available lengths, provide minimum number of pieces possible, with hairline joints equally spaced and pieces spliced together by straight connecting pins.

D. Coat surfaces of aluminum frames that will contact cementitious material with manufacturer's standard protective coating.

2.6 ALUMINUM FINISHES

A. General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes in paragraphs below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.

C. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Paragraph above is standard finish with many manufacturers; first paragraph below is heavy-anodized finish.  Verify availability with manufacturers selected.

D. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

E. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Delete paragraph above or below.  Verify availability with manufacturers selected.

F. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

2.7 COPPER-ALLOY (BRONZE) FINISHES

A. Finish designations prefixed by CDA comply with the system established by the Copper Development Association for designating copper-alloy finishes, as defined in NAAMM's "Metal Finishes Manual for Architectural and Metal Products."

1. Remove tool and die marks and stretch lines or blend into finish.

2. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

Select one of two options in paragraph below.  If retaining first option, delete two subparagraphs above.

B. CDA Mechanical Finish Designation:  [M11, specular, as fabricated] [M32, directionally textured, medium satin].

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and floor conditions for compliance with requirements for location, sizes, [minimum recess depth, ]and other conditions affecting installation of floor mats and frames.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

Delete first paragraph and subparagraphs below if only surface-applied mats are required.

A. Install recessed mat frames to comply with manufacturer's written instructions.  Set mat tops at height recommended by manufacturer for most effective cleaning action; coordinate top of mat surfaces with bottom of doors that swing across mats to provide clearance between door and mat.

Delete subparagraph below if no terrazzo.  If retaining, add special requirements.  Delete if terrazzo divider strips are used as frames for mat recesses.

1. For installation in terrazzo flooring areas, provide allowance for grinding and polishing of terrazzo without grinding surface of recessed frames.  Coordinate with other trades as required.

Retain first subparagraph below if frame is indicated to be set after concrete slab is placed.  See Evaluations.

2. Install necessary shims, spacers, and anchorages for proper location and secure attachment of frames.

3. Install grout and fill around frames and, if required to set mat tops at proper elevations, in recesses under mats.  Finish grout and fill smooth and level.

B. Install surface-type units to comply with manufacturer's written instructions at locations indicated; coordinate with entrance locations and traffic patterns.

Delete paragraph above if no surface-type units.  Delete subparagraph below if mats do not have permanently anchored, surface-type frames.

1. Anchor fixed surface-type frame members to floor with devices spaced as recommended by manufacturer.

3.3 PROTECTION

A. After completing frame installation and concrete work, provide temporary filler of plywood or fiberboard in recesses and cover frames with plywood protective flooring.  Maintain protection until construction traffic has ended and Project is near Substantial Completion.

END OF SECTION 12484END OF SECTION 12484

FLOOR MATS AND FRAMES
12484 - 1

