GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if alternates are included in the project bid pricing.

SECTION 01230 - ALTERNATES
PART 1 -  GENERAL

1.1 SUMMARY

A. An alternate provides an amount proposed by the Contractor and stated on the Bid Form for certain work that will adjust the Base Bid amount if the Government decides to accept the corresponding change in the products, materials, equipment, systems or installation methods described in the Contract Documents.

B. The amount for an alternate is the total net adjustment from the Base Bid to incorporate the alternate work into the project Work.

C. Alternate work shall include miscellaneous devices, accessory objects and similar items incidental to or required for a complete installation, whether or not mentioned as part of the alternate description.

1.2 PROCEDURES

A. Selection:  Acceptance or rejection of each alternate will be made by the Government prior to award of the Contract, and the Base Bid amount will be adjusted accordingly for accepted alternates to establish the contract price.

B. Notification:  Immediately following award of the Contract, the Contractor shall notify each party involved, in writing, whether each alternate has been accepted or rejected.

C. Coordination:  The Contractor shall modify or adjust affected adjacent work as necessary to completely and fully integrate the accepted alternate work into the project Work.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION

3.1 SCHEDULE OF ALTERNATES

List alternates in order of priority of bid acceptance, matching the order, numbers and descriptions on the Bid Form.  For each alternate, describe the work to be substituted for the work not included, indicate locations, and reference specification sections and drawings necessary for clarity.  The following sample paragraph illustrates a typical format for an alternate.

A. Alternate No. 1:  Substitute <Describe substitute work>, specified in Division <Insert Division no.> Section <Insert Section no.>, for <Describe substitute work>, specified in Division <Insert Division no.> Section <Insert Section no.>, located in <Insert location>, as indicated on the Drawings, labeled "Alternate No.1".

END OF SECTION 01230

ALTERNATES
01230 - 1

