GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if bid options are included in the project pricing.

SECTION 01260 - OPTIONS
PART 1 -  GENERAL

1.1 SUMMARY

A. An option provides an amount proposed by the Contractor and stated on the Bid Form for certain work that may be added by the Government to the project Work within a specific time after award of the Contract.

B. The amount for an option shall be the net total addition to the Contract price to incorporate the option work into the project Work.

C. Option work shall include miscellaneous devices, accessory objects and similar items incidental to or required for a complete installation, whether or not mentioned as part of the option description.

1.2 PROCEDURES

Retain one of the two following paragraphs.  Insert the number of calendar days in the first paragraph.

A. Selection:  An option must be accepted by the Government within <Insert calendar days> calendar days after award of the Contract in order to be included in the project Work.

B. Selection:  Each option must be accepted by the Government within the time stated following the option description in order to be included in the project Work.

C. Notification:  If an option is accepted, the Contractor shall immediately notify each party involved, in writing.

D. Coordination:  The Contractor shall adjust affected adjacent work as necessary to completely and fully integrate the accepted option work into the project Work.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION

3.1 SCHEDULE OF OPTIONS

Include a description of each option, referencing the specifications or drawings as applicable.  The following paragraph illustrates a format for a simple option.

A. Option No. 1:  Provide all work required to <Insert option description> , as indicated on the Drawings, labeled Option No. 1", and as specified.

Add the following subparagraph if the time for selection has not been previously stated.  Insert the number of calendar days.

1. Option No. 1 must be accepted by the Government within <Insert calendar days> calendar days after award of the Contract, or not at all.

END OF SECTION 01260

OPTIONS
01260 - 1

