GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if unit prices are included in the project pricing.

SECTION 01270 - UNIT PRICES
PART 1 -  GENERAL

1.1 SUMMARY

A. A unit price provides an amount proposed by the Contractor and stated on the Bid Form as a price per unit of measurement for materials or services, that will be added to or deducted from the Contract price by change order if the estimated quantity of the corresponding work required by the Contract Documents is increased or decreased.

B. Unit prices include all necessary material and labor costs, overhead, profit, taxes, shipping and other related expenses for the added or deducted work.

1.2 PROCEDURES

A. Measurement:  Method of measurement for each unit price is specified in the specification section applicable to the work.

B. Verification:  The Government reserves the right to reject the Contractor's measurement of work in place that involves use of a established unit price, and to have this work measured, at the Government's expense, by an independent surveyor acceptable to the Contractor.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION

3.1 UNIT PRICE SCHEDULE

Insert unit price list, using the following or similar format for each item, as appropriate.

Insert a short title specific to the particular unit price in the following paragraph.

A. Unit Price No. 1: <Insert unit price item> .

Insert a concise description of the unit price work in the following subparagraph, starting with Additive cost for" or Deductive cost for" or Additive and deductive cost for", as applicable.  After according to", insert the specification section that describes the work and method of measurement.

1. Description: <Insert unit price item description> according to Division <Insert Division number> Section <Insert Section title> .

Insert unit of measurement in the following subparagraph.  After of", insert the materials or service to be measured.

2. Measurement: <Insert unit of measurement> of <Insert materials or service to be measured> .

Insert the estimated base bid quantity stated in the unit of measurement, or Indicated on the Drawings", or None", as applicable, in the following subparagraph.

3. Base Bid Quantity included in the Contract Documents: <Insert Base Bid Quantity>.

Delete the following subparagraph if the unit price applies to all quantity variations (this may be difficult to enforce if the change is great).  Retain the following subparagraph if the unit price applies to specific limits of variation from the base bid quantity.  Such limits might be Not exceeding 25 percent greater or less", More than 25 percent greater", and More than 25 percent less"; or a range such as 5000 square meters to 8000 square meters", etc. for an item with no estimated base bid quantity in the Contract Documents.

4. Limits of Variation from the Base Bid Quantity Applicable to the Unit Price: <Insert specific limits of variation> .

If subparagraph above is used for possible variations in quantity that might be so excessive to warrant different unit prices, include a series of unit prices for the full range of increments of variation.  In this case, add separate identifications to the similar titles, such as (Not exceeding 25 percent greater or less variation)", (More than 25 percent greater variation)", and (More than 25 percent less variation)".

END OF SECTION 01270

UNIT PRICES
01270 - 1

