GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01420 - REFERENCES
PART 1 -  GENERAL

1.1 DEFINITIONS

A. General Explanation:  Specification language often includes terms that are defined elsewhere in the Contract Documents, including the Construction Contract Clauses.  Certain terms are defined in this section.  These definitions or explanations are not necessarily complete or exclusive, but are general for the Work and may be explained more explicitly in other Sections.

B. "General Conditions" refer collectively to the Construction Contract Clauses, Labor Standards and the U.S. Department of Labor Wage Decision bound into the specifications.

C. "Special Conditions" refer collectively to Section 00800 "Supplementary Conditions" and any other sections with numbers starting with 00 bound into the specifications.

D. "Indicated" refers to graphic representations, notes or schedules on the Drawings, or to requirements elsewhere in the Specifications or other Contract Documents.  Terms such as "shown", "noted", "scheduled" and "specified" have the same meaning as "indicated" and are used to further help locate the reference, but no limitation on location is intended except as specifically stated.

E. Where "directed", "authorized", "selected", "approved", or a similar term is used in conjunction with the Contractor's submittals, applications, requests and other activities, and the specifications state that an individual other than the Contracting Officer, such as the Architect or Construction Engineer, shall provide this action, it is understood that only the Contracting Officer has this authority unless the individual stated is so authorized in writing by the Contracting Officer.

1. When the individual is so authorized by the Contracting Officer, the Contractor may still appeal the action to the Contracting Officer.

2. The Contracting Officer's decision will be final.

3. In no case shall the Contracting Officer's action be interpreted as releasing the Contractor from responsibility to fulfill the requirements of the Contract Documents.

F. "Regulations" include laws, ordinances, statutes and lawful orders issued by authorities having jurisdiction, as well as rules, conventions and agreements within the construction industry that control performance of the Work.

G. "Project site" refers to the space available to the Contractor for performance of the Work, either exclusively or in conjunction with others performing other work.

H. "Furnish" means to supply and deliver to the Project site, ready for unloading, unpacking, assembling, installation and similar operations.

I. "Install" describes operations at the Project site, including unloading, temporary storage, unpacking, assembling, erecting, placing, anchoring, applying, working to dimension, finishing, curing, protecting, cleaning and similar operations.

J. "Provide" means to furnish and install, complete in place and ready for full use.

K. "Cutting" refers to removal of material by cutting, sawing, drilling, breaking, chipping, grinding, excavating and similar operations.

L. "Patching" refers to restoration of a surface to its original completed condition by filling, repairing, refinishing, closing and similar operations.

M. "Installer" is the Contractor or another entity engaged by the Contractor, either directly or indirectly through subcontracting, to perform a particular construction operation at the Project site, including installation, erection, application and similar operations.  Installers shall be skilled in the operations they perform.  Where indicated, installers shall also be Specialists as defined in the Construction Contract Clauses.

N. "Testing agency" or "testing laboratory" is an independent entity engaged to perform specific inspections or tests, either at the Project site or elsewhere, and to report the results of those inspections and tests.

O. "Owner" refers to the Government.

Retain one of the two following paragraphs.

P. "Government" refers to the General Service Administration (GSA).

Q. "Government" refers to the Public Buildings Service (PBS).

Retain one or both of the following two paragraphs only if the terms are used elsewhere in the specifications.  Revise as required to suit the project.

R. "Building Manager" is the Government employee responsible for the administration, operation and maintenance of the building.

S. "Construction Manager" is the individual or entity, under Contract to the Government, responsible for performing the day-to-day coordination and administration of the construction Contract, including performing field inspections, recommending approval or rejection of material and workmanship, monitoring labor and safety provisions, maintaining inspection logs and records of defects, and similar activities.

T. "Notice to Proceed" is the Contracting Officer's notification by letter to the Contractor to proceed with the Contract, activating the time period for construction and establishing the completion date.

1.2 DRAWING SYMBOLS

A. Except as otherwise indicated, symbols used on the Drawings are those symbols recognized in the construction industry for the purposes.

1. These include graphic symbols defined by "Architectural Graphic Standards", published by John Wiley & Sons, Inc., ninth edition, as well as graphic symbols recommended by ASHRAE, ASME, ASPE, CSI, IEEE and similar technical organizations for the mechanical and electrical Drawings.

2. Refer uncertainties as to meaning of symbols to the Contracting Officer for clarification before proceeding.

1.3 INDUSTRY STANDARDS

A. Applicability of Standards:  Unless the Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect, to the extent referenced, as if bound or copied directly into the Contract Documents.  Such standards are made a part of the Contract Documents by reference.

B. Conflicting Requirements.  Where compliance with two or more standards is specified and the standards establish different or conflicting requirements for minimum quantity or quality, comply with the most stringent requirement.  Immediately refer uncertainties, and requirements that are different but apparently equal, to the Contracting Officer in writing for a decision before proceeding.

C. Minimum Quantity and Quality:  The quantity or quality indicated shall be the minimum provided.  The actual installation may comply exactly with the minimum quantity or quality indicated, or it may exceed the minimum levels within reasonable limits.

1. Indicated numeric values are minimum or maximum as appropriate for the context of the requirements.

2. Refer uncertainties to the Contracting Officer for a decision before proceeding.

Retain one of the two following paragraphs, including the subparagraphs with the first paragraph and the list with the second paragraph.  Both options have risks.  The first paragraph relies on the Contractor, subcontractors, manufacturers and others doing work knowing or finding the correct names for each abbreviation when the names are not also included in the sections where referenced.  The second paragraph requires careful editing of the list to include the correct abbreviations and associated names referenced elsewhere in the specifications, to avoid misunderstandings.

D. Abbreviations:  Names and titles of standards are frequently abbreviated.  Abbreviations and acronyms used in the Specifications and other Contract Documents mean the recognized name of a trade association, standards-producing organization, authority having jurisdiction or other entity applicable to the context of the particular provision.  Except as otherwise indicated, refer to the current editions of the following publications for abbreviations:

1. "Encyclopedia of Associations:  National Organizations of the U.S.", published by Gale Research.

2. "National Trade and Professional Associations of the United States", published by Columbia Books.

3. "Means Illustrated Construction Dictionary - New Unabridged Edition" published by R.S. Means Company, Inc.

E. Abbreviations:  Names and titles of standards are frequently abbreviated.  Abbreviations and acronyms used in the Specifications and other Contract Documents mean the associated names.  The following names are subject to change and are believed, but are not assured, to be accurate and up-to-date as of the date of the Contract Documents.

Retain the following abbreviations that are used elsewhere in the specifications.  For each abbreviation that corresponds to two different names (such as AIA, APA, CTI, HI, MFMA, MIA, NAAMM, NFPA, SDI and TPI), delete the name that is not referenced elsewhere in the specifications, if applicable; or change one of the abbreviations here and in the sections where used; or include the correct associated name in parenthesis after the first use of the abbreviation in each section where referenced; or add "(when referenced in Division _____ Section "____________________.")" after each duplicate abbreviation and its associated name in the list to clarify where it applies.  Add any other abbreviations with associated names, referenced elsewhere in the specifications, to the list.

1. AA - Aluminum Association

2. AABC - Associated Air Balance Council

3. AAMA - American Architectural Manufacturers Association

4. AAN - American Association of Nurserymen (See ANLA)

5. AASHTO - American Association of State Highway and Transportation

6. AATCC - American Association of Textile Chemists and Colorists

7. ABMA - American Bearing Manufacturers Association

8. ABMA - American Boiler Manufacturers Association

9. ACI - American Concrete Institute

10. ACIL - American Council of Independent Laboratories -

11. The Association of Independent Scientific, Engineering, and Testing Firms

12. ACPA - American Concrete Pipe Association

13. ADC - Air Diffusion Council

14. AEIC - Association of Edison Illuminating Companies

15. AFBMA - Anti-Friction Bearing Manufacturers Association (See ABMA)

16. AFPA - American Forest and Paper Association

17. AGA - American Gas Association

18. AHA - American Hardboard Association

19. AHAM - Association of Home Appliance Manufacturers

20. AI - Asphalt Institute

21. AIA - The American Institute of Architects

22. AIA - American Insurance Association

23. AIHA - American Industrial Hygiene Association

24. AISC - American Institute of Steel Construction

25. AISI - American Iron and Steel Institute

26. AITC - American Institute of Timber Construction

27. ALA - American Laminators Association (See LMA)

28. ALCA - Associated Landscape Contractors of America

29. ALI - Associated Laboratories, Inc.

30. ALSC - American Lumber Standards Committee

31. AMCA - Air Movement and Control Association International, Inc.

32. ANLA - American Nursery and Landscape Association

33. ANSI - American National Standards Institute

34. AOAC - Association of Official Analytical Chemists International

35. AOSA - Association of Official Seed Analysts

36. APA - American Plywood Association (see EWA)

37. APA - Architectural Precast Association

38. API - American Petroleum Institute

39. ARI - Air-Conditioning and Refrigeration Institute

40. ARMA - Asphalt Roofing Manufacturers Association

41. ASA - Acoustical Society of America

42. ASC - Adhesive and Sealant Council

43. ASCA - Architectural Spray Coaters Association

44. ASCE - American Society of Civil Engineers

45. ASHES - American Society for Healthcare Environmental Services - Division of the American Hospital Association

46. ASHRAE - American Society of Heating, Refrigerating and Air Conditioning Engineers.

47. ASLA - American Society of Landscape Architects

48. ASME - American Society of Mechanical Engineers

49. ASPA - American Sod Producers Association (See TPI)

50. ASPE - American Society of Plumbing Engineers

51. ASQ - American Society for Quality

52. ASSE - American Society of Sanitary Engineering

53. ASTM - American Society for Testing and Materials

54. ATIS - Alliance for Telecommunications Industry Solutions

55. AWCI - Association of the Wall and Ceiling Industries International

56. AWCMA - American Window Covering Manufacturers Association (See WCMA)

57. AWI - Architectural Woodwork Institute

58. AWPA - American Wood-Preservers' Association

59. AWS - American Welding Society

60. AWWA - American Water Works Association

61. BAC - Brick Association of the Carolinas

62. BHMA - Builders Hardware Manufacturers Association

63. BIA - Brick Industry Association

64. BIFMA - The Business and Institutional Furniture Manufacturer's Association International

65. CABO - Council of American Building Officials

66. CAGI - Compressed Air and Gas Institute

67. CAUS - Color Association of the United States

68. CBHF - State of California, Department of Consumer Affairs, Bureau of Home Furnishings and Thermal Insulation Technical Information

69. CBMA - Certified Ballast Manufacturers Association

70. CCC - Carpet Cushion Council

71. CDA - Copper Development Association Inc.

72. CE - Corps of Engineers (U.S. Department of the Army)

73. CFFA - Chemical Fabrics & Film Association, Inc.

74. CFR - Code of Federal Regulations (Publications available from the Government Printing Office)

75. CGA - Compressed Gas Association

76. CGSB - Canadian General Standards Board

77. CISCA - Ceilings and Interior Systems Construction Association

78. CISPI - Cast Iron Soil Pipe Institute

79. CLFMI - Chain Link Fence Manufacturers Institute

80. CPA - Composite Panel Association

81. CPPA - Corrugated Polyethylene Pipe Association

82. CPSC - Consumer Product Safety Commission

83. CRI - Carpet and Rug Institute

84. CRSI - Concrete Reinforcing Steel Institute

85. CS - Commercial Standard (U.S. Department of Commerce)

86. CSI - Construction Specifications Institute

87. CSSB - Cedar Shake and Shingle Bureau

88. CTI - Ceramic Tile Institute of America

89. CTI - Cooling Tower Institute

90. DASMA - Door and Access Systems Manufacturers Association, International

91. DHI - Door and Hardware Institute

92. DIPRA - Ductile Iron Pipe Research Association

93. DOC - Department of Commerce (Publications available from the Government Printing Office)

94. DOT - Department of Transportation

95. ECSA - Exchange Carriers Standards Association (See ATIS)

96. EIA - Electronic Industries Association

97. EIMA - EIFS Industry Members Association

98. EJMA - Expansion Joint Manufacturers Association

99. EPA - Environmental Protection Agency

100. ETL - ETL Testing Laboratories Inc. (see ITS)

101. EWA - Engineered Wood Association

102. FAA - Federal Aviation Administration

103. FCC - Federal Communications Commission

104. FCI - Fluid Controls Institute

105. FCICA - Floor Covering Installation Contractors Association

106. FDA - Federal Drug Administration

107. FGMA - Flat Glass Marketing Association (See GANA)

108. FHA - Federal Housing Administration (U.S. Department of Housing and Urban Development)

109. FM - Factory Mutual System

110. FS - Federal Specification (Publications available from GSA)

111. GA - Gypsum Association

112. GANA - Glass Association of North America

113. GRI - Geosynthetic Research Institute

114. GSA - General Services Administration

115. HEI - Heat Exchange Institute

116. HFES - Human Factors and Ergonomics Society

117. HI - Hydraulic Institute

118. HI - Hydronics Institute - Division of Gas Appliance Manufacturers Association

119. HMA - Hardwood Manufacturers Association

120. HPVA - Hardwood Plywood and Veneer Association

121. IAS - International Approval Services - Division of Canadian Standards Association

122. IBD - Institute of Business Designers (See IIDA)

123. ICEA - Insulated Cable Engineers Association

124. IEC - International Electrotechnical Commission (Publications available from ANSI)

125. IEEE - Institute of Electrical and Electronics Engineers

126. IESNA - Illuminating Engineering Society of North America

127. IGCC - Insulating Glass Certification Council

128. IIDA - International Interior Design Association

129. ILI - Indiana Limestone Institute of America

130. IMSA - International Municipal Signal Association

131. INCE - Institute of Noise Control Engineering

132. IRI - HSB Industrial Risk Insurers

133. ISA - International Society for Measurement and Control

134. ISEA - Industrial Safety Equipment Association

135. ISS - Iron and Steel Society

136. ITS - Intertek Testing Services

137. KCMA - Kitchen Cabinet Manufacturers Association

138. LGSI - Light Gage Structural Institute

139. LIA - Lead Industries Association, Inc.

140. LMA - Laminating Materials Association

141. LPI - Lightning Protection Institute

142. MBMA - Metal Building Manufacturers Association

143. MCAA - Mechanical Contractors Association of America

144. MFMA - Maple Flooring Manufacturers Association

145. MFMA - Metal Framing Manufacturers Association

146. MHIA - Material Handling Industry Association

147. MIA - Marble Institute of America

148. MIA - Masonry Institute of America

149. MIL - Military Standardization Documents (U.S. Department of Defense)

150. ML/SFA - Metal Lath/Steel Framing Association

151. MRCA - Midwest Roofing Contractors Association

152. MSS - Manufacturers Standardization Society of the Valve and Fittings Industry

153. NAA - National Arborist Association

154. NAAMM - National Association of Architectural Metal Manufacturers

155. NAAMM - North American Association of Mirror Manufacturers (See GANA)

156. NACE - National Association of Corrosion Engineers International

157. NAGDM - National Association of Garage Door Manufacturers (See DASMA)

158. NAIMA - North American Insulation Manufacturers Association

159. NAMI - National Accreditation & Management Institute, Inc.

160. NAPA - National Asphalt Pavement Association

161. NBHA - National Builders Hardware Association (See DHI)

162. NBGQA - National Building Granite Quarries Association, Inc.

163. NCAC - National Council of Acoustical Consultants

164. NCCA - National Coil Coaters Association

165. NCMA - National Concrete Masonry Association

166. NCPI - National Clay Pipe Institute

167. NCRPM - National Council on Radiation Protection and Measurements

168. NCSPA - National Corrugated Steel Pipe Association

169. NEBB - Natural Environmental Balancing Bureau

170. NECA - National Electrical Contractors Association

171. NEI - National Elevator Industry

172. NELMA - Northeastern Lumber Manufacturers Association

173. NEMA - National Electrical Manufacturers Association

174. NETA - InterNational Electrical Testing Association

175. NFPA - National Fire Protection Association

176. NFPA - National Forest Products Association (See AFPA)

177. NFRC - National Fenestration Rating Council Incorporated

178. NGA - National Glass Association

179. NHLA - National Hardwood Lumber Association

180. NIA - National Insulation Association

181. NIAC - National Insulation and Abatement Contractors Association (See NIA)

182. NIST - National Institute of Standards and Technology (U.S. Department of Commerce)

183. NKCA - National Kitchen Cabinet Association (See KCMA)

184. NLGA - National Lumber Grades Authority

185. NOFMA - National Oak Flooring Manufacturers Association

186. NPA - National Parking Association

187. NPCA - National Paint and Coatings Association

188. NRCA - National Roofing Contractors Association

189. NRMCA - National Ready Mixed Concrete Association

190. NSA - National Stone Association

191. NSF - National Sanitation Foundation International

192. NSSEA - National School Supply and Equipment Association

193. NTMA - National Terrazzo and Mosaic Association

194. NUSIG - National Uniform Seismic Installation Guidelines

195. NWMA - National Woodwork Manufacturers Association (See NWWDA)

196. NWWDA - National Wood Window and Door Association

197. OSHA - Occupational Safety and Health Administration (U.S. Department of Labor)

198. PATMI - Powder Actuated Tool Manufacturers' Institute

199. PCA - Portland Cement Association

200. PCI - Precast/Prestressed Concrete Institute

201. PDCA - Painting and Decorating Contractors of America

202. PDI - Plumbing and Drainage Institute

203. PEI - Porcelain Enamel Institute

204. PGI - Polyvinylchloride Geomembrane Institute - Technology Program, University of Illinois-Urbana Champaign

205. PIMA - Photographic and Imaging Manufacturers Association

206. PPFA - Plastic Pipe and Fittings Association

207. PPI - Plastics Pipe Institute (The Society of the Plastics Industry, Inc.)

208. PS - Product Standards of the National Bureau of Standards (U.S. Department of Commerce)

209. RCMA - Roof Coatings Manufacturers Association Center Park

210. RCSC - Research Council on Structural Connections

211. Sargent & Lundy

212. RFCI - Resilient Floor Covering Institute

213. RMA - Rubber Manufacturers Association

214. RUS - Rural Utilities Service

215. SAE - Society of Automotive Engineers International

216. SDI - Steel Deck Institute

217. SDI - Steel Door Institute

218. SEFA - Scientific Equipment and Furniture Association

219. SEGD - Society for Environmental Graphic Design

220. SGCC - Safety Glazing Certification Council

221. SHLMA - Southern Hardwood Lumber Manufacturers Association (See HMA)

222. SIGMA - Sealed Insulating Glass Manufacturers Association

223. SJI - Steel Joist Institute

224. SMA - Screen Manufacturers Association

225. SMACNA - Sheet Metal and Air Conditioning Contractors' National Association

226. SPI - The Society of the Plastics Industry, Inc.

227. SPIB - Southern Pine Inspection Bureau

228. SPRI - Single Ply Roofing Institute

229. SSINA - Specialty Steel Industry of North America

230. SSPC - Steel Structures Painting Council - The Society for Protective Coatings

231. SSPMA - Sump and Sewage Pump Manufacturers Association

232. STI - Steel Tank Institute

233. SWI - Steel Window Institute

234. SWPA - Submersible Wastewater Pump Association

235. SWRI - Sealant, Waterproofing and Restoration Institute

236. TCA - Tile Council of America

237. TFS - Texas Forest Service

238. TIMA - Thermal Insulation Manufacturers Association (See NAIMA)

239. TPI - Truss Plate Institute

240. TPI - Turfgrass Producers International

241. TRB - Transportation Research Board - National Research Council

242. UFAC - Upholstered Furniture Action Council

243. UL - Underwriters Laboratories Inc.

244. UNI - Uni-Bell PVC Pipe Association

245. USDA - U.S. Department of Agriculture

246. USITT - U.S. Institute of Theater Technology - The American Association of Design and Production Professionals in the Performing Arts

247. USP - U.S. Pharmacopeia

248. USPS - U.S. Postal Service

249. WA - Wallcoverings Association

250. WASTEC - Waste Equipment Technology Association

251. WCLIB - West Coast Lumber Inspection Bureau

252. WCMA - Window Covering Manufacturers Association

253. WEF - Water Environment Federation

254. WIC - Woodwork Institute of California

255. WMMPA - Wood Moulding & Millwork Producers Association

256. WPCF - Water Pollution Control Federation (See WEF)

257. WRI - Wire Reinforcement Institute

258. WSC - Water Systems Council

259. WSFI - Wood and Synthetic Flooring Institute (See MFMA)

260. WWPA - Western Wood Products Association

PART 2 -  PRODUCTS (Not applicable)

PART 3 -  EXECUTION (Not applicable)

END OF SECTION 01420

REFERENCES
01420 - 1

