GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if project involves modifications to existing facilities that will remain.

SECTION 01731 - CUTTING AND PATCHING
PART 1 -  GENERAL

1.1 SUMMARY

A. This section includes procedural requirements for cutting and patching.

B. Definition:  Cutting and patching includes cutting into existing construction to provide for the installation or performance of other work and subsequent fitting and repair required to restore surfaces to their original condition.

C. Refer to other sections for other requirements and limitations applicable to cutting and patching individual parts of the Work.

Retain the following paragraph for projects with demolition work.  Substitute Division 2 Section "Building Demolition" or Division 1 Section "Selective Interior Demolition" or other appropriate section if applicable instead of Division 1 Section "Selective Demolition".

D. Coordinate cutting and patching with demolition requirements specified in Division 1 Section "Selective Demolition".

1.2 SUBMITTALS

Revise time in the following paragraph to suit project.

A. Cutting and Patching Plan:  Submit a proposal to the Contracting Officer's representative, describing procedures at least 14 calendar days in advance of the time cutting and patching will initially be performed.

1. Include the following information, as applicable:

a. Description of the extent of cutting and patching required.  Show how it will be performed and indicate why it cannot be avoided.

b. Description of the anticipated results in terms of changes to existing construction.  Include changes to structural elements and operating components as well as changes in appearance and other significant visual elements.

c. List of products to be used and entities that will perform work.

d. Dates and hours of operation when cutting and patching will be performed.

Retain the following sub-subparagraph if utilities are affected by cutting and patching. e.List of utilities that cutting and patching procedures will disturb or affect.  List utilities that will be relocated and those that will be temporarily out-of-service.  Indicate how long service will be disrupted.

e. Compatibility and cohesion characteristics of patching compounds with adjacent materials.

Retain the following sub-subparagraph if structure requires reinforcement as a result of cutting and patching.

f. Details and engineering calculations showing integration of reinforcement with the original structure, where cutting and patching involves adding reinforcement to structural elements.

2. Approval by the Contracting Officer or Contracting Officer's Representative to proceed with cutting and patching does not waive the right to later require complete removal and replacement of unsatisfactory work.

Retain the following paragraph if cutting and patching samples are required for historically significant or other special items.  Revise time to suit project.

B. Samples:  Provide cutting and patching samples for the following items within 14 calendar days after notice to proceed in order that special reviews and coordination can be arranged with approval authorities:

Add subparagraphs to list special cutting and patching samples

1.3 QUALITY ASSURANCE

A. Requirements for Structural Work:  Do not cut and patch structural elements in a manner that would change their load-carrying capacity or load-deflection ratio.

Retain the following paragraph if structural modifications are extensive.

1. The cutting and patching plan shall include but not be necessarily limited to work required at the following structural elements:

Edit, delete or add to the following sub-subparagraphs to list the project's structural elements to be cut and patched.

a. Foundation construction.

b. Bearing and retaining walls.

c. Structural concrete.

d. Structural steel.

e. Lintels.

f. Timber and primary wood framing.

g. Structural decking.

h. Stair systems.

i. Miscellaneous structural metals.

j. Exterior curtain-wall construction.

k. Equipment supports.

l. Piping, ductwork, vessels, and equipment.

m. Structural systems of other construction.

B. Operational Limitations:  Do not cut and patch operating elements, safety related systems, or related components in a manner that would result in reducing their capacity to perform as intended.  Do not cut and patch operating elements, safety related systems or related components in a manner that would result in increased maintenance or decreased operational life or safety.

Retain the following paragraph if modifications to operational elements and safety systems are extensive.

1. The cutting and patching plan shall include but not be necessarily limited to work required at the following operating elements or safety related systems:

Edit, delete or add to the following sub-subparagraphs to list the project's operating elements and safety related systems to be cut and patched.

a. Primary operational systems and equipment.

b. Air or smoke barriers.

c. Water, moisture, or vapor barriers.

d. Membranes and flashings.

e. Fire protection systems.

f. Noise and vibration control elements and systems.

g. Control systems.

h. Communication systems.

i. Conveying systems.

j. Electrical wiring systems.

k. Operating systems of other construction.

C. Visual Requirements:  Do not cut and patch construction exposed on the exterior or in occupied spaces in a manner that would, in the Contracting Officer's Representatives opinion, reduce the building's aesthetic qualities.  Do not cut and patch construction in a manner that would result in visual evidence of cutting and patching.  Remove and replace construction that is cut and patched in a visually unsatisfactorily manner.

1. Retain the original installer or fabricator to cut and patch exposed work if the original installer or fabricator is identified in the Contract Documents or is known to the Contractor and is available for the work.

2. If it is not possible to engage the original installer or fabricator, engage a Specialist who is specifically experienced in the work.

Retain the following paragraph if modifications to visual elements is extensive.

3. The cutting and patching plan shall include but not be necessarily limited to work required at the following visual elements:

Edit, delete or add to the following sub-subparagraphs to list the project's affected visual elements to be cut and patched.

a. Processed concrete finishes.

b. Stonework and stone masonry.

c. Ornamental metal.

d. Matched-veneer woodwork.

e. Preformed metal panels.

f. Firestopping.

g. Window wall system.

h. Stucco and ornamental plaster.

i. Acoustical ceilings.

j. Terrazzo.

k. Finished wood flooring.

l. Fluid-applied flooring.

m. Carpeting.

n. Aggregate wall coating.

o. Wall covering.

p. Swimming pool finishes.

q. Mechanical system enclosures, cabinets, or covers.

1.4 EXISTING WARRANTIES

A. Replace, patch, and repair material and surfaces cut or damaged by methods and with materials in such a manner as not to avoid any existing warranties.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Use materials identical to existing materials to the maximum extent available.

B. For exposed surfaces, use materials that visually match existing adjacent surfaces to the fullest extent possible. C.Use materials whose installed performance will equal or surpass that of existing materials.

PART 3 -  EXECUTION

3.1 INSPECTION

A. Before cutting, examine surfaces to be cut and patched and conditions under which cutting and patching is to be performed.  If unsafe or unsatisfactory conditions are encountered, take corrective action before proceeding.

B. Before proceeding with cutting and patching involving two or more trades, meet at the Project site with the entities providing or affected by the cutting and patching.  Review areas of potential interference and conflict.  Coordinate procedures and resolve potential conflicts before proceeding.

3.2 PREPARATION

A. Provide temporary support of work to be cut.

B. Protect existing conditions during cutting and patching to prevent damage.  Provide protection from adverse weather conditions for portions of the Project that might be exposed during cutting and patching operations.

C. Avoid interference with use of adjoining areas or interruption of free passage to adjoining areas.

D. Bypass in-service existing pipe, conduit, or ductwork scheduled to be removed or relocated before cutting.

3.3 PERFORMANCE

A. Employ skilled workmen to perform cutting and patching.  Proceed with cutting and patching at the earliest feasible time and complete without delay.

B. Cutting:  Cut existing construction using methods least likely to damage elements retained and adjoining construction.  Where possible, review proposed procedures with the original installer and comply with the original installer's recommendations.

Edit, delete and add to any of the following subparagraphs to suit the project.

1. In general, use hand or small power tools designed for sawing or grinding, not for hammering and chopping.

2. Cut holes and slots as small as possible, neatly to size required, and with minimum disturbance of adjacent surfaces.  Temporarily cover openings when not in use.

3. To avoid marring existing finished surfaces, cut or drill from the exposed or finished side into concealed surfaces.

4. Cut through concrete and masonry using a cutting machine, such as a Carborundum saw or a diamond-core drill.

5. Comply with requirements of applicable Division 2 sections where cutting and patching requires excavating and backfilling.

6. After utility services are bypassed, cut-off pipe or conduit in walls or partitions to be removed. Cap, valve or plug and seal the remaining portion of pipe or conduit to prevent entrance of moisture or other foreign matter after by-passing and cutting.

C. Patching:  Patch with durable seams that are as invisible as possible.  Comply with specified tolerances.

Edit, delete and add to the following subparagraphs to suit the project.

1. Where feasible, inspect and test patched areas to demonstrate integrity of the installation.

2. Restore exposed finishes of patched areas and extend finish restoration into adjoining construction in a manner that will eliminate evidence of patching and refinishing.

3. Where removed walls or partitions extends one finished area into another finished area, patch and repair floor and wall surfaces to provide an even surface of uniform color and appearance.  Remove existing floor and wall coverings and replace with new materials, if necessary, to achieve uniform color and appearance.

4. Where patching occurs in a smooth painted surface, extend final paint coat over entire unbroken surface that contains the patch after the area has received primer and other undercoats.

5. Patch, repair or rehang existing ceilings as necessary to provide an even-plane surface of uniform appearance.

Retain the following paragraph when specific cutting and patching work is listed in Section 01140 to be performed during Government Unoccupied Hours.  This may include work that generates noise or other disruptive activity.

D. Perform cutting and patching work listed in Division 1 Section "Work Restrictions" during Government Unoccupied Hours.

3.4 CLEANING

A. Clean areas and spaces where cutting and patching are performed.  Completely remove paint, mortar, oils, putty, and similar items.

B. Thoroughly clean piping, conduit, and similar features before applying paint, restored pipe coverings, or other finishing materials.

END OF SECTION 01731

CUTTING AND PATCHING
01731 - 1

