GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01770 - CLOSEOUT PROCEDURES
PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes administrative and procedural requirements for Contract closeout including, but not limited to, the following:

1. Inspection procedures.

Delete the following subparagraph if Section 01781 is included.

2. Project record document submittal.

Delete the following subparagraph if Section 01782 is included.

3. Operation and maintenance manual submittal.

4. Final cleaning.

B. Closeout requirements for specific construction activities are included in the individual sections in Divisions 2 through 16.

C. Substantial Completion is defined as that state when the Contractor has complied with the Contract requirements, except for minor deviations, and the project is sufficiently complete and capable of being occupied and used by the Government for the intended purpose.

1.2 SUBSTANTIAL COMPLETION

A. Preliminary Procedures:  Before requesting inspection for Substantial Completion, complete the following.

1. Provide supporting documentation for completion as indicated elsewhere in the Contract Documents and a statement showing an accounting of changes to the Contract Sum.

2. Submit a list to the Contracting Officer, of incomplete items, the value of incomplete construction, and reasons the Work is not complete.

3. Obtain and submit releases enabling the Government unrestricted use of the Work and access to services and utilities.  Include occupancy permits, operating certificates, and similar releases.

Edit the following subparagraphs to add or delete items required for the project.

4. Submit operation and maintenance manuals, final project photographs, damage or settlement survey, and utility lines survey.

5. Make final changover of permanent locks and transmit keys to the Contracting Officer=s Representative.  Advise the Government user personnel of changeover in security provisions.

6. Complete startup testing of systems and instruction of the Government operation and maintenance personnel.  Discontinue and remove temporary facilities from the site, along with mockups, construction tools, and similar elements.

B. Inspection Procedures:  On receipt of a request for inspection, the Contracting Officer=s Representative will either proceed with inspection or advise the Contractor of unfilled requirements.  The Contracting Officer will notify the Contractor of Substantial Completion following the inspection or advise the Contractor of construction that must be completed or corrected before Substantial Completion.

1. The Contracting Officer=s Representative will repeat the inspection when requested and when assured that the Work is substantially complete.

2. Results of the completed inspection will form the basis of the requirements for Final Acceptance.

1.3 FINAL ACCEPTANCE

A. Preliminary Procedures:  Before requesting reinspection for Final Acceptance, complete the following:

1. Submit final payment request with releases and supporting documentation not previously submitted and accepted.

2. Submit an updated final statement, accounting for final additional changes to the Contract price.

3. Submit a certified copy of the previous Substantial Completion inspection list of items to be completed or corrected.  The certified copy of the list shall state that each item has been completed or otherwise resolved for acceptance, and shall be endorsed and dated by the Contractor.

Edit the following subparagraphs to add or delete items required for the project.

4. Submit specific warranties, workmanship bonds, maintenance agreements, final certifications and similar documents.

5. Submit record documents and similar final record information.

6. Deliver tools, spare parts, extra stock and similar items.

7. Complete final clean-up requirements including touch-up painting of marred surfaces.

8. Submit final meter readings for utilities, a measured record of stored fuel, and similar data as of the date when the Government took possesion of and assumed responsibility for corresponding elements of the work.

B. Reinspection Procedure:  The Contracting Officer=s Representative will reinspect the Work upon receipt of notice from the Contractor that the Work, including inspection list items from earlier inspections, has been completed, except for items whose completion is delayed under circumstances acceptable to the Contracting Officer.

1. Upon completion of reinspection, the Contracting officer will notify the Contractor of Final Acceptance or will advice the Contractor of Work that is incomplete or of obligations that have not been fulfilled and are required for Final Acceptance.

2. If necessary, reinspection will be repeated.

Retain the following article if Section 01781 is not included.  This article is usually sufficient except for large projects where detailed records are required.

1.4 RECORD DOCUMENT SUBMITTALS

A. Do not use record documents for construction purposes.  Protect record documents from deterioration and loss in a secure, fire-resistant location.  Provide access to record documents for the Contracting Officer's Representative's reference during normal working hours.

B. Record Drawings:  Maintain a clean, undamaged set of blue or black line white-prints of Contract Drawings and Shop Drawings.  Mark the set to show the actual installation where the installation varies substantially from the Work as originally shown.  Mark the drawing that is most capable of showing conditions fully and accurately.  Where Shop Drawings are used, record a cross-reference at the corresponding location on the Contract Drawings.  Give particular attention to concealed elements that would be difficult to measure and record at a later date.

1. Mark record sets with red erasable pencil.  Use other colors to distinguish between variations in separate categories of the Work.

2. Mark new information not shown on Contract Drawings or Shop Drawings.

3. Note related Change Order numbers where applicable.

4. Organize record drawing sheets into manageable sets.  Bind sets with durable-paper cover sheets. Print suitable titles, dates, and other identification on the cover of each set.

Retain the following paragraph with subparagraphs except for small projects.

C. Record Specifications: Maintain one complete copy of the Specifications with addenda.  Include one copy of other written construction documents, such as Change Orders and modifications issued in printed form during construction.

1. Mark these documents to show substantial variations in actual Work performed in comparison with the text of the Specifications and modifications.

2. Give particular attention to substitutions and selection of options, and information about concealed construction that cannot otherwise be readily determined later by direct observation.

3. Note related record drawing information and Product Data.

Retain the following paragraph with subparagraphs except for small projects or projects without products critical to future work.

D. Record Product Data:  Maintain one copy of each Product Data submittal.  Note related Change Orders and markup of Record Drawings and Specifications.

1. Mark these documents to show significant variations in actual Work performed in comparison with information submitted.  Include variations in products delivered to the site and from the manufacturer=s installation instructions and recommendations.

2. Give particular attention to concealed products and portions of the Work that cannot otherwise be readily determined later by direct observation.

Retain the following paragraph except for small projects or projects without samples critical to future work.

E. Record Samples:  Immediately prior to Substantial Completion, the Contractor shall meet with the Contracting Officer=s Representative at the Project site to determine which samples are to be transmitted to the Government for record purposes.  Comply with the Contracting Officer=s instructions regarding delivery to the Government=s Sample storage area.

F. Miscellaneous Record Submittals:  Refer to other Specification sections for requirements for miscellaneous record keeping and submittals in connection with actual performance of the Work.  Place miscellaneous records in good order.  Identify records properly and bind or otherwise organize to allow for use and reference. Retain the following article if Section 01782 is not included.  This article is usually sufficient except for large projects where detailed records are required.

1.5 OPERATION AND MAINTENANCE MANUALS

A. Organize operation and maintenance data in suitable sets of manageable size.  Bind properly indexed data in individual, heavy-duty, 2-inch (51 mm), 3-ring, vinyl-covered binders, with pocket folders for folded sheet information.  Mark appropriate identification on front and spine of each binder.  Include the following types of information.

Edit, add to or delete the following subparagraphs to suit project.

1. Emergency instructions.

2. Spare parts lists.

3. Copies of warranties.

4. Wiring diagrams.

5. Recommended Aturn-around@ cycles.

6. Inspection procedures.

7. Shop Drawings and Product Data.

8. Fixture lamping schedule.

Retain the following article if project involves extensive site utility work.

1.6 UTILITY LINES SURVEY

A. Provide an accurately dimensioned survey showing location and elevation of all utility lines, including valves, connections and changes in direction, as installed under the Contract within property lines and outside of building walls.1.Points where utility lines leave buildings shall be dimensioned from building corners.

1. Points where utility lines cross property lines shall be dimensioned from lot monuments.

2. Survey shall be drawn to scale and provided on a mylar transparency.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION

3.1 CLOSEOUT PROCEDURES

Retain the following article if Section 01782 is not included.

A. Operation and Maintenance Instructions:  Arrange for each Installer of equipment that requires regular maintenance to meet with the Government=s personnel to provide instruction in proper operation and maintenance.  Provide instruction by manufacturer=s representatives if installers are not experienced in operation and maintenance procedures.  Include a detailed review of the following:

Edit, delete and add to the following subparagraphs to suit project.

1. Maintenance manuals.

2. Record documents.

3. Spare parts and materials.

4. Tools.

5. Lubricants.

6. Fuels.

7. Identification systems.

8. Control sequences.

9. Hazards.

10. Cleaning.

11. Warranties and bonds.

12. Maintenance agreements and similar continuing commitments.

B. As part of instruction for operating equipment, demonstrate the following procedures:

1. Startup.

2. Shutdown.

3. Emergency operations.

4. Noise and vibration adjustments.

5. Safety procedures.

6. Economy and efficiency adjustments.

7. Effective energy utilization.

3.2 FINAL CLEANING

A. Employ experienced workers or professional cleaners for final cleaning.  Clean each surface or unit to the condition expected in a normal, commercial cleaning and maintenance program.  Comply with manufacturer=s instructions.

1. Complete the following cleaning operations before requesting inspection for Final Acceptance.

Edit, delete and add to the following sub-subparagraphs to suit project.

a. Remove labels that are not permanent labels.

b. Clean transparent materials, including mirrors and glass in doors and windows.  Removing glazing compounds and other substances that are noticeable vision-obscuring materials.  Replace chipped or broken glass and other damaged transparent materials.

c. Clean exposed exterior and interior hard-surfaced finishes to a dust-free condition, free of stains, films, and similar foreign substances.  Restore reflective surfaces to their original condition.  Leave concrete floors broom clean.  Vacuum carpeted surfaces.

d. Wipe surfaces of mechanical and electrical equipment.  Remove excess lubrication and other substances.  Clean plumbing fixtures to a sanitary condition.  Clean light fixtures and lamps. e.Clean the site, including landscape development areas, of rubbish, litter and other foreign substances.  Sweep paved areas broom clean, and remove stains, spills, and other foreign deposits.  Rake grounds that are neither paved nor planted to a smooth, even-textured surface.

B. Pest Control:  Engage an experienced, licensed exterminator to make a final inspection and rid the Project of rodents, insects, and other pests.

C. Removal of Protection:  Remove temporary protection and facilities installed for the protection of the Work during construction.

D. Compliance:  Comply with the regulations of authorities having jurisdiction and with safety standards for cleaning.  Do not burn waste materials.  Do not bury debris or excess materials on Government property.  Do not discharge volatile, harmful, or dangerous materials into drainage systems.  Remove waste materials from the site and dispose of it lawfully.

E. Remaining Materials: Extra materials of value, that remain after completion of associated work, become Government property.  Dispose of these materials as directed by the Contracting Officer's Representative.

END OF SECTION 01770

CLOSEOUT PROCEDURES
01770 - 6

