GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if the "Operation and Maintenance Manuals" article is not included in Section 01770; use this section for large projects with extensive and complex equipment and operating systems.

SECTION 01782 - OPERATION AND MAINTENANCE DOCUMENTATION
PART 1 -  GENERAL

1.1 SUMMARY

A. This section includes administrative and procedural requirements for operation and maintenance manuals and instruction, including the following.

1. Preparing and submitting instruction manuals covering the care, preservation and maintenance of materials and finishes.

2. Preparing and submitting operation and maintenance manuals for equipment and building operating systems.

3. Instruction of Government operating personnel in the operation and maintenance of building systems and equipment.

B. Additional Requirements:  Refer to the individual Specification sections for additional requirements for the care and maintenance of materials and finishes, and for the operation and maintenance of the various pieces of equipment and operating systems.

1.2 QUALITY ASSURANCE

A. Operation and Maintenance Manual Preparation:  In preparation of manuals, use personnel thoroughly trained and experienced in the maintenance of the material or finish involved, or in the operation and maintenance of the equipment or system involved.

1. Where manuals require written instructions, use the personnel skilled in technical writing where necessary for communication of essential data.

2. Where manuals require drawings or diagrams, use draftspersons capable of preparing drawings clearly in an understandable format.

Retain the following paragraph if operating and maintenance instructions are required, but the project systems and equipment do not warrant the inclusion of Division 1 Section "Demonstration and Training" to establish an extensive formal training program.

B. Instructions for the Government Personnel:  Use instructors thoroughly trained and experienced in the operation and maintenance of the equipment or system involved to instruct Government operation and maintenance personnel.

1.3 SUBMITTALS

A. Submittal Schedule:  Comply with the following schedule for submitting operation and maintenance manuals:

Before Substantial Completion, when each installation that requires operation and maintenance manuals is nominally complete, submit 2 draft copies of each manual to the Contracting Officer's Representative for review. Revise the number of days in the following sub-subparagraph if required to suit the Project.

1. The Contracting Officer's Representative will return 1 copy of the draft with comments within 15 calendar days after receipt.

2. Make corrections or modifications to comply with the Contracting Officer's Representative's comments.

Revise the number of copies and number of days in the following subparagraph if required to suit project.

3. Submit 2 copies of each approved manual to the Contracting Officer within 15 calendar days after receipt of the Contracting Officer's Representative's comments.

B. Form of Submittal:  Prepare operation and maintenance manuals in the form of an instructional manual for use by operating and maintenance personnel.  Organize into suitable sets of manageable size.  Where possible, assemble instructions for similar products into a single binder.

1. Binders:  For each manual, provide heavy-duty, commercial-quality, 3-ring, vinyl-covered, loose-leaf binders, in thickness necessary to accommodate contents, sized to receive 8-1/2-by-11-inch (115-by-280-mm) paper.  Provide a clear plastic sleeve on the spine to hold labels describing contents.  Provide pockets in the covers to receive folded sheets.

a. Where 2 or more binders are necessary to accommodate data, correlate data in each binder into related groupings according to the Specifications table of contents.  Cross-reference other binders where necessary to provide essential information for proper operation or maintenance of the product.

b. Identify each binder on front and spine, with the printed title "OPERATION AND MAINTENANCE MANUAL," Project title or name, and subject matter covered.  Indicate volume number for multiple volume sets of manuals.

2. Dividers:  Provide heavy paper dividers with celluloid-covered tabs for each separate section.  Mark each tab to indicate contents.  Provide a typed description of the product or major parts of equipment included in the section on each divider.

3. Protective Plastic Jackets:  Provide protective, transparent, plastic jackets designed to enclose diagnostic software for computerized electronic equipment.

4. Text Material:  Where maintenance manuals require written material, use the manufacturer's standard printed materials, where available.  If manufacturer's standard printed materials are not available, provide specially prepared data, neatly typewritten, on 8-1/2-by-11-inch (115-by-280-mm), 20-lb/sq. ft. (75-g/sq. m) white bond paper.

5. Drawings:  Where manuals require drawings or diagrams, provide reinforced, punched binder tabs on drawings and bind in with text.

a. Where oversize drawings are necessary, fold drawings to the same size as text pages and use as a foldout.

b. If drawings are too large to be used practically as a foldout, place the drawing, neatly folded, in the front or rear pocket of binder.  Insert a typewritten page indicating drawing title, description of contents and reference to the applicable location in the manual.

Retain the following paragraph if manuals on CD ROM, rather than in binders, may be acceptable to the users.

C. Optional Form of Submittal for Final Manuals:  If specifically requested by the Contractor and approved by the Contracting Officer, written and graphic portions of final manuals may be submitted in a CD ROM electronic format acceptable to the Building Manager.  Manual content and specific information to be included in each type of manual shall comply as specified for bound manuals.  Content that is not included in CD ROM electronic format shall be assembled into binders with dividers and other requirements specified for bound manuals.  CD ROM disks and binders shall be fully and clearly labeled, with disks and associated binders for each manual boxed or otherwise packaged for accessible storage together.

1.4 MANUAL CONTENT

A. In each manual, include information specified in the individual Specification section and the following information where applicable for each major component:

1. General material, finish, system or equipment description.

2. Design factors and assumptions

3. Copies of applicable Shop Drawings and Product Data.

4. Material, finish, system or equipment identification, including:

a. Name of manufacturer.

b. Model number.

c. Serial number of each component.

5. Equipment operating data:

a. Operation instructions.

b. Emergency instructions.

c. Wiring diagrams.

d. Inspection and test procedures.

6. Maintenance procedures and schedules.

7. Precautions against improper use and maintenance.

8. Copies of warranties and service contracts.

9. Repair instructions, including listings of spare parts for equipment.

10. Sources of required maintenance materials and related services.

B. Organize each manual into separate sections for each related product or piece of equipment.  To the extent applicable, each manual shall contain a title page, table of contents, general information, copies of Product Data, written text, drawings and copies of each warranty and service contract issued.

1. Title Page:  Provide a title page in a transparent, plastic envelope as the first sheet of each manual.  As a minimum, provide the following information:

a. Subject matter covered by the manual.

b. Name and address of the Project.

c. Name of Government user agency.

d. Date of submittal.

e. Name, address, and telephone number of the Contractor.

f. Cross-reference to related products in other operation and maintenance manuals, if applicable.

2. Table of Contents:  After title page, include a typewritten table of contents for each volume, arranged systematically according to the Specifications format.  Include a list of each product included, identified by product name or other appropriate identifying symbol and indexed to the content of the volume.  Where more than one volume is required to accommodate the data, provide a comprehensive table of contents for all volumes in each volume of the set.

3. General Information:  Provide a general information section immediately following table of contents, listing each product included in the manual, identified by product name.  Under each product, list the name, address, and telephone number of the subcontractor or installer and the maintenance contractor.  Clearly delineate the extent of responsibility for each of these entities.  Include a local source for replacement parts for equipment.

4. Product Data:  Where the manuals include manufacturer's standard printed data, include only those sheets that are pertinent to the part or product installed.  Mark each sheet to identify each part or product included in the installation.  Where the Project includes more than one item contained in the product data, identify each item, using appropriate references from the Contract Documents.  Identify data that is applicable to the installation, and delete references to information that is not applicable.

5. Written Text:  Prepare written test to provide necessary information where manufacturer's standard printed data is not available, and the information is necessary for proper maintenance of materials or finishes, or for proper operation and maintenance of equipment or systems. Prepare written text where it is necessary to provide additional information or to supplement data included elsewhere in the manual.  Organize text in a consistent format under separate headings for different procedures.  Where necessary, provide a logical sequence of instruction for each operation or maintenance procedure.

6. Drawings:  Provide specially prepared drawings where necessary to supplement manufacturer's printed data to illustrate the relationship of component parts of equipment or systems or to provide control or flow diagrams.  Coordinate these drawings with information contained in Project Record Drawings to assure correct illustration of the completed installation.

7. Warranties, and Service Contracts:  Provide a copy of each warranty or service contract in the appropriate manual for the information of the Government's operating personnel.  Provide written data outlining procedures to follow in the event of product failure.  List circumstances and conditions that would affect the validity of warranty.

C. Where required for full understanding, include a copy of applicable Project Record Drawings.  Do not use original Project Record Documents as part of operation and maintenance manuals.

1.5 MATERIAL AND FINISHES MAINTENANCE MANUALS

Revise the number of copies in the following paragraph if required to suit project.

A. Submit 3 copies of each materials and finishes manual, in final form, to the Contracting Officer's Representative.  Provide one section for architectural products, including applied materials and finishes.  Provide a second section for products designed for moisture protection and products exposed to the weather.

B. Architectural Products:  Provide manufacturer's data and instructions for the care and maintenance of architectural products, including applied materials and finishes.

1. Manufacturer's Data:  Provide complete information on architectural products, including the following, as applicable:

a. Manufacturer's catalog number.

b. Size.

c. Material composition.

d. Color.

e. Texture.

f. Reordering information for custom manufactured products.

2. Care and Maintenance Instructions:  Provide care and maintenance information, including manufacturer's recommendations for types of cleaning agents to be used and methods of cleaning.  Provide information about cleaning agents and methods that could prove detrimental to the product.  Include manufacturer's recommended schedule for cleaning and maintenance.

C. Moisture Protection and Products Exposed to the Weather:  Provide complete manufacturer's data with instructions for the inspection, maintenance and repair of products exposed to the weather or designed for moisture-protection purposes.

1. Manufacturer's Data:  Provide detailed manufacturer's information, including the following, as applicable.

a. Applicable standards.

b. Chemical composition.

c. Installation details.

d. Inspection procedures.

e. Maintenance information.

f. Repair procedures.

Retain the following paragraph and add subparagraphs if only specific materials and finishes are to be included in the manual.  Usually delete the paragraph.

D. Schedule:  Provide complete information in the materials and finishes manual on products specified in the following sections:

Add subparagraphs to list the specific materials and finishes, along with the section number and title where each is specified.

1.6 EQUIPMENT AND SYSTEMS OPERATION AND MAINTENANCE MANUALS

Revise the number of copies in the following paragraph if required to suit project.

A. Submit 6 copies of each equipment and systems maintenance manual, in final form, to the Contracting Officer's Representative.  Provide separate manuals for each unit of equipment, each building operation system, and each electric and electronic system.

B. Equipment and Systems:  Provide the following information for each piece of equipment, each building operation system, and each electric or electronic system, where applicable:

1. Description:  Provide a complete description of each unit and related component parts, including the following, as applicable:

a. Equipment or system function.

b. Operating characteristics.

c. Limiting conditions.

d. Performance curves.

e. Engineering data and tests.

f. Complete nomenclature and number of replacement parts.

2. Manufacturer's Information:  For each manufacturer of a component part or piece of equipment, provide the following, as applicable:

a. Printed operation and maintenance instructions.

b. Assembly drawings and diagrams required for maintenance.

c. List of items recommended to be stocked as spare parts.

3. Maintenance Procedures:  Provide information detailing essential maintenance procedures, including the following, as applicable:

a. Routine operations.

b. Troubleshooting guide.

c. Disassembly, repair, and reassembly.

d. Alignment, adjusting, and checking.

4. Operating Procedures:  Provide information on equipment and system operation procedures, including the following, as applicable:

a. Startup procedures.

b. Equipment or system break-in.

c. Routine and normal operating instructions.

d. Regulation and control procedures.

e. Instructions on stopping.

f. Shutdown and emergency instructions.

g. Summer and winter operating instructions.

h. Required sequences for electric or electronic systems.

i. Special operating instructions.

5. Servicing Schedule:  Provide a schedule of routine servicing and lubrication requirements, including a list of required lubricants for equipment with moving parts.

6. Controls:  Provide a description of the sequence of operation and as-installed control diagrams by the control manufacturer for systems requiring controls.

7. Piping Identification:  Provide as-installed, color-coded, piping diagrams, where required for identification.

8. Valve Tags:  Provide charts of valve-tag numbers, with the location and function of each valve.

9. Circuit Directories:  For electric and electronic systems, provide complete circuit directories of panelboards, including the following, as applicable:

a. Electric service.

b. Controls.

c. Communication.

Retain the following paragraph and add subparagraphs if only specific equipment and system are to be included in the manual.  Usually delete paragraph.

C. Schedule:  Provide complete information in the equipment and systems manual on products specified in the following sections:

Add subparagraphs to list the specific equipment and systems, along with the section number and title where each is specified.

Retain the following article, inclusive of the following paragraphs and subparagraphs, if operating and maintenance instructions are required, but the project systems and equipment do not warrant the inclusion of Division 1 Section "Demonstration and Training."

1.7 INSTRUCTIONS FOR GOVERNMENT PERSONNEL

A. Prior to the Substantial Completion inspection, instruct the Government's personnel in operation, adjustment, and maintenance of products, equipment, and systems.  Provide instruction at mutually agreed times.

B. Use operation and maintenance manuals for each product, piece of equipment or system as the basis of instruction.  Review contents in detail to explain all aspects of operation and maintenance.

C. Posted Logs and Instructions:  Place operating logs and instructions in see-through vinyl or other weather protective sleeves or framed enclosures, and post for use by Government personnel in locations approved by the Contracting Officer's Representative.

1. Post operating log sheets with spares at or near the applicable equipment.

2. Post flow schematics, wiring diagrams, valve lists, control sequences, start-up and shut-down instructions, and similar information and instructions in the appropriate equipment rooms.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION (Not Applicable)

END OF SECTION 01782

OPERATION AND MAINTENANCE DOCUMENTATION
01782 - 1

