Copyright 1998 AIA
MASTERSPEC
9/98

NIH VERSION of MASTERSPEC based on GSA Masterspec dated 9/99

NIH Version dated January 2002

Retain this section if alternates are included in the project bid pricing.

This section uses the term Contracting Officer, Contracting Officer's Technical Representative and/or Project Officer in specific locations within this section based on specific authorities granted each individual under the terms of the contract.  Any changes in these terms at specific locations within these specifications must be coordinated with the Contracting Officer.

<Text> requires insertion of data

[text] requires decision to delete, retain, or edit text in brackets

SECTION 01230 - ALTERNATES
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements for alternates.

1.3 DEFINITIONS

Revise definition below to suit Project.

A. Alternate:  An amount proposed by the Contractor and stated on the Bid Form for certain work defined in the Bidding Requirements that may be added to or deducted from the Base Bid amount if NIH decides to accept a corresponding change either in the amount of construction to be completed or in the products, materials, equipment, systems, or installation methods described in the Contract Documents.

1. The cost or credit for each alternate is the net addition to or deduction from the Base Bid to incorporate alternate into the Work.

1.4 PROCEDURES

Make certain the Bid Form clearly states that costs listed for each alternate include costs of related coordination, modification, or adjustment.  If not clearly stated, revise paragraph and subparagraph below by stating this requirement.

A. Selection:  Acceptance or rejection of each alternate will be made by NIH prior to award of the Contract, and the Base Bid amount will be adjusted accordingly for accepted alternates to establish the contract price.

B. Coordination:  Modify or adjust affected adjacent work as necessary to completely and fully integrate the accepted alternate work into Project.

1. Include as part of each alternate, miscellaneous devices, accessory objects, and similar items incidental to or required for a complete installation whether or not indicated as part of alternate.

Retain first paragraph below for most projects.  Failure to require notification could create problems later.

C. Notification:  Immediately following award of the Contract, the Contractor shall notify each subcontractor and party involved, in writing, of the status of each alternate.  Indicate if alternates have been accepted, rejected, or deferred by NIH for later consideration.  Include a complete description of negotiated modifications to alternates.

D. Execute accepted alternates under the same conditions as other work of the Contract.

E. Schedule:  A Schedule of Alternates is included in this Section.  Specification Sections referenced in schedule contain requirements for materials necessary to achieve the work are described under each alternate.  Specification sections referenced may not be inclusive and other specification sections in the contract may also apply.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION

List alternates in order of priority of bid acceptance, matching the order, numbers and descriptions on the Bid Form.  For each alternate, describe the work to be substituted for the work not included, indicate locations, and reference specification sections and drawings necessary for clarity.  The following sample paragraph illustrates a typical format for an alternate.

3.1 SCHEDULE OF ALTERNATES

A. Alternate No. 1:  Substitute <Describe substitute work>, specified in Division <Insert Division no.> Section <Insert Section no.>, for <Describe substitute work>, specified in Division <Insert Division no.> Section <Insert Section no.>, located in <Insert location>, as indicated on the Drawings, labeled "Alternate No.1".

Repeat above as often as necessary to include all alternates for Project.

END OF SECTION 01230

ALTERNATES
01230 - 1

