Copyright 1998 AIA
MASTERSPEC
9/98

NIH VERSION of MASTERSPEC based on GSA MASTERSPEC dated 9/99

NIH Version dated January 2002

This section uses the term Contracting Officer, Contracting Officer's Technical Representative and/or Project Officer in specific locations within this section based on specific authorities granted each individual under the terms of the contract.  Any changes in these terms at specific locations within these specifications must be coordinated with the Contracting Officer.

<Text> requires insertion of data

[text] requires decision to delete, retain, or edit text in brackets

Retain this section if the "Operation and Maintenance Manuals" article is not included in Division 1 Section "Closeout Procedures"; use this section for large projects with extensive and complex equipment and operating systems.

SECTION 01782 - OPERATION AND MAINTENANCE DOCUMENTATION
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions apply to this Section.

1.2 SUMMARY

A. This section includes administrative and procedural requirements for operation and maintenance manuals and instruction, including the following.

1. Preparing and submitting instruction manuals covering the care, preservation and maintenance of materials and finishes.

2. Preparing and submitting operation and maintenance manuals for equipment and building operating systems.

3. Instruction of NIH operating personnel in the operation and maintenance of building systems and equipment.

B. This specification section is related to any and all specification sections with explicit or implicit reference to operation and maintenance documentation including but not limited to the following Division 1 specification sections:

Edit the following list to include pertinent Division 1 sections included in the project.

1. Division 1 Section "Summary"

2. Division 1 Section "Project Management and Coordination"

3. Division 1 Section "Construction Progress Documentation"

4. Division 1 Section "Photographic Documentation"

5. Division 1 Section "Submittal Procedures"

6. Division 1 Section "Quality Requirements"

7. Division 1 Section "Construction Quality Control"

8. Division 1 Section "Safety and Health"

9. Division 1 Section "Product Requirements"

10. Division 1 Section "Closeout Procedures"

11. Division 1 Section "Project Record Documents"

12. Division 1 Section "Demonstration and Training"

C. Additional Requirements:  Refer to the individual Division 2-16 technical specification sections for specific operations and maintenance manual requirements for products and systems in those sections and additional requirements for the care and maintenance of materials and finishes, and for the operation and maintenance of the various pieces of equipment and operating systems.

1.3 QUALIFICATIONS

A. Operation and Maintenance Manual Preparation:  In preparation of manuals, use personnel thoroughly trained and experienced in the maintenance of the material or finish involved, or in the operation and maintenance of the equipment or system involved.

1. Where manuals require written instructions, use the personnel skilled in technical writing where necessary for communication of essential data.

2. Where manuals require drawings or diagrams, use draftspersons capable of preparing drawings clearly in an understandable format.

Retain the following paragraph if operating and maintenance instructions are required, but the project systems and equipment do not warrant the inclusion of Division 1 Section "Demonstration and Training" to establish an extensive formal training program.

B. Instructions for NIH Personnel:  Use instructors thoroughly trained and experienced in the operation and maintenance of the equipment or system involved to instruct NIH operation and maintenance personnel.

1.4 DEFINITIONS

Definition in first paragraph below is from ASHRAE's "Technology Handbook."  Include additional definitions based on project requirements.

A. System:  An organized collection of parts, equipment, or subsystems united by regular interaction.

B. Subsystem:  A portion of a system with characteristics similar to a system.

1.5 COORDINATION

A. Where operation and maintenance documentation includes information on installations by more than one factory-authorized service representative, assemble and coordinate information furnished by representatives and prepare manuals.

1.6 SUBMITTALS

Adjust the number of copies required based on the building and systems included.  Generally one copy for the Building Engineer, PWB review, the Project Officer, and one copy for the designer.  Additional copies may be required for additional technical consultants.  Coordinate with the Project Officer for actual requirement.

Coordinate with the Project Officer the procedures to be followed to consolidate review comments in order to determine the number of copies to be returned to the contractor following the initial review.

This section may require extensive editing if the project will have multiple occupancy phases.  This section is generally written for a single occupancy phase project.  Multi phased projects with multiple systems may require a complete or partial set of unique manuals for each phase.  During design, the designer must evaluate the project form an Operation and Maintenance perspective and adjust the requirements herein to ensure operation and maintenance data is provided and available for the occupants of each phase when the occupancy occurs.  Coordinate the requirement for phased occupancy with the Project Officer.

A. Initial Submittal:  Submit to the Contracting Officer <Insert number> draft copies of each manual at least 14 calendar days before the Pre-final Inspection.  Include a complete operation and maintenance directory.  The Contracting Officer will return <Insert number> copy [copies] of draft with comments for incorporation into the final submission.

1. Should comments be extensive, the Contracting Officer may require the Initial Submission to be repeated prior to scheduling a Final Inspection.

Edit the following subparagraph if the project has a phased occupancy.  Determine if the manuals will be substantially unique for each occupancy phase and if so add requirement for initial submissions at each occupancy phase.

2. Initial submittal shall occur at the initial occupancy phase

Coordinate with the Project Officer for number of copies of the final submittal.  Projects in Bldg 10 generally require more copies than other NIH buildings.  Adjust number of days prior to final inspection for submission of the final document for project conditions.

B. Final Submittal:  Submit <Insert number> [copies] of each manual in final form at least two working days before the final inspection.  If comments on the Initial Submittal are extensive, the Contracting Officer may require additional time in advance of the Final Inspection for the Final Submittal.  Contracting Officer will provide return a copy with comments within 14 calendar days after final inspection.

1. Correct or modify each manual to comply with the Contracting Officer's comments.  Submit <Insert number> [copies] of each corrected manual within 14 calendar days of receipt of Contracting Officer's comments.

PART 2 -  PRODUCTS

Include the following paragraph and requirement for an Operation and Maintenance Manual Directory for large projects where numerous Emergency, Operation, Product Maintenance, and Equipment and Systems Maintenance Manuals are anticipated or desired.  Coordinate with closeout requirements.

2.1 OPERATION AND MAINTENANCE DOCUMENTATION DIRECTORY

A. Provide a comprehensive Operation and Maintenance Documentation Directory which provides a quick reference document for all the manuals provided for the project.

B. Organization:  Include a section in the directory for each of the following:

1. Systems and Subsystems .

a. List systems and subsystems alphabetically.  Include references to operation and maintenance manuals that contain information about each system and subsystem.

2. Equipment.

a. List equipment for each system and subsystem, organized alphabetically by system.  For pieces of equipment not part of system or subsystem, list alphabetically in separate list.

3. Tables of contents.

a. Include a copy of the table of contents for each emergency, operation, and maintenance manual.

C. Identification:  In the documentation directory and in each operation and maintenance manual, identify each system, subsystem, and piece of equipment with the same designation used in the contract documents.  If no designation exists, assign a designation according to ASHRAE Guideline 4, "Preparation of Operating and Maintenance Documentation for Building Systems."

2.2 MANUALS, GENERAL

A. Organization and Content:  Organize each manual into separate sections for each related product or piece of equipment.  To the extent applicable, each manual shall contain a title page, table of contents, general information, copies of Product Data, written text, drawings and copies of each warranty and service contract issued.

1. Title Page:  Provide a title page in a transparent, plastic envelope as the first sheet of each manual.  As a minimum, provide the following information:

a. Subject matter covered by the manual.

b. Name and address of the Project.

c. Date of submittal.

d. Name, address, and telephone number of the Contractor.

e. Cross-reference to related products in other operation and maintenance manuals, if applicable.

2. Table of Contents:  After title page, include a typewritten table of contents for each volume, arranged systematically by specification section according to the specifications format.  Include a list of each product included, identified by product name or other appropriate identifying symbol and indexed to the content of the volume.  Where more than one volume is required to accommodate the data, provide a comprehensive table of contents for all volumes in each volume of the set.

3. General Information:  Provide a general information section immediately following table of contents, listing each product included in the manual, identified by product name.  Under each product, list the name, address, and telephone number of the subcontractor or installer and the maintenance contractor.  Clearly delineate the extent of responsibility for each of these entities.  Include a local source for replacement parts for equipment.

4. Product Data:  Where the manuals include manufacturer's standard printed data, include only those sheets that are pertinent to the part or product installed.  Mark each sheet to identify each part or product included in the installation.  Where the project includes more than one item contained in the product data, identify each item, using appropriate references from the Contract Documents.  Identify data that is applicable to the installation, and delete references to information that is not applicable.

5. Written Text:  Prepare written text to provide necessary information where manufacturer's standard printed data is not available, and the information is necessary for proper maintenance of materials or finishes, or for proper operation and maintenance of equipment or systems. Prepare written text where it is necessary to provide additional information or to supplement data included elsewhere in the manual.  Organize text in a consistent format under separate headings for different procedures.  Where necessary, provide a logical sequence of instruction for each operation or maintenance procedure.

6. Drawings:  Provide specially prepared drawings where necessary to supplement manufacturer's printed data to illustrate the relationship of component parts of equipment or systems or to provide control or flow diagrams.  Coordinate these drawings with information contained in Project Record Drawings to assure correct illustration of the completed installation.

7. Warranties, and Service Contracts:  Provide a copy of each warranty or service contract in the appropriate manual for the information of NIH operating personnel.  Provide written data outlining procedures to follow in the event of product failure.  List circumstances and conditions that would affect the validity of warranty.

8. Where required for full understanding, include a copy of applicable Project Record Drawings.  Do not use original Project Record Documents as part of operation and maintenance manuals.

B. Format:  Prepare operation and maintenance manuals in the form of an instructional manual for use by operating and maintenance personnel.  Organize into suitable sets of manageable size.  Where possible, assemble instructions for similar products into a single binder.

1. Binders:  For each manual, provide heavy-duty, commercial-quality, 3-ring, vinyl-covered, loose-leaf binders, in thickness necessary to accommodate contents, sized to receive 8-1/2-by-11-inch (115-by-280-mm) paper.  Provide a clear plastic sleeve on the spine to hold labels describing contents.  Provide pockets in the covers to receive folded sheets.

a. Where 2 or more binders are necessary to accommodate data, correlate data in each binder into related groupings according to the Specifications table of contents.  Cross-reference other binders where necessary to provide essential information for proper operation or maintenance of the product.

b. Identify each binder on front and spine, with the printed type of manual (OPERATION MANUAL, MAINTENANCE MANUAL, EMERGENCY MANUAL, etc.), Project title or name, and subject matter covered.  Indicate volume number for multiple volume sets of manuals.

2. Dividers:  Provide heavy paper dividers with celluloid-covered tabs for each separate section.  Mark each tab to indicate contents.  Provide a typed description of the product or major parts of equipment included in the section on each divider.

3. Protective Plastic Jackets:  Provide protective, transparent, plastic jackets designed to enclose diagnostic software for computerized electronic equipment.

4. Text Material:  Where maintenance manuals require written material, use the manufacturer's standard printed materials, where available.  If manufacturer's standard printed materials are not available, provide specially prepared data, neatly typewritten, on 8-1/2-by-11-inch (115-by-280-mm), 20-lb/sq. ft. (75-g/sq. m) white bond paper.

5. Drawings:  Where manuals require drawings or diagrams, provide reinforced, punched binder tabs on drawings and bind in with text.

a. Where oversize drawings are necessary, fold drawings to the same size as text pages and use as a foldout.

b. If drawings are too large to be used practically as a foldout, place the drawing, neatly folded, in the front or rear pocket of binder.  Insert a typewritten page indicating drawing title, description of contents and reference to the applicable location in the manual.

Retain the following paragraph if manuals on CD ROM, rather than in binders, are acceptable.  Coordinate with the Project Officer.

C. Optional Format of Final Manuals:  If specifically approved by the Contracting Officer, written and graphic portions of final manuals may be submitted in a CD ROM electronic format acceptable to NIH.  Manual content and specific information to be included in each type of manual shall comply as specified for bound manuals.  Content that is not included in CD ROM electronic format shall be assembled into binders with dividers and other requirements specified for bound manuals.  CD ROM disks and binders shall be fully and clearly labeled, with disks and associated binders for each manual boxed or otherwise packaged for accessible storage together.

2.3 EMERGENCY MANUALS

Include emergency information that must be immediately available during emergency situations to protect life and property and to minimize disruptions to building occupants.

A. Content:  Organize manual into a separate section for each type of emergency with subordinate sections including Emergency Instructions and Emergency Procedures.

1. Type of Emergency:  Where applicable for each type of emergency indicated below, include instructions and procedures for each system, subsystem, piece of equipment, and component:

Revise list of emergency types to suit project.

a. Fire.

b. Flood.

c. Gas leak.

d. Water leak.

e. Power failure.

f. Water outage.

g. System, subsystem, or equipment failure.

h. Chemical release or spill.

2. Emergency Instructions:  Describe and explain warnings, trouble indications, error messages, and similar codes and signals.  Include responsibilities of NIH operating personnel for notification of installer, supplier, and manufacturer to maintain warranties.

3. Emergency Procedures:  Include the following, as applicable:

Revise list of emergency procedures to suit project.

a. Instructions on stopping.

b. Shutdown instructions for each type of emergency.

c. Operating instructions for conditions outside normal operating limits.

d. Required sequences for electric or electronic systems.

e. Special operating instructions and procedures.

2.4 OPERATION MANUALS

A. Content:  Provide information needed for daily operations and management of systems and equipment.  In addition to requirements in this section, include operation data required in individual Division 2-16 technical specification sections and the following information:

Revise paragraphs and subparagraphs below to suit project.

1. System, subsystem, and equipment descriptions.

a. Product name and model number.

b. Manufacturer's name.

c. Equipment identification with serial number of each component.

d. Equipment function.

e. Operating characteristics.

f. Limiting conditions.

g. Performance curves.

h. Engineering data and tests.

i. Complete nomenclature and number of replacement parts.

2. Performance and design criteria if contractor is delegated design responsibility.

3. Operating standards.

4. Operating procedures.

a. Emergency Shutdown procedures

b. Startup procedures.

c. Equipment or system break-in procedures.

d. Routine and normal operating instructions.

e. Regulation and control procedures.

f. Instructions on stopping.

g. Normal shutdown instructions.

h. Seasonal and weekend operating instructions.

i. Required sequences for electric or electronic systems.

j. Special operating instructions and procedures.

5. Operating logs.

6. Wiring diagrams.

7. Circuit Directories:  For electric and electronic systems, provide complete circuit directories of panel boards, including the following, as applicable:

a. Electric service.

b. Controls.

c. Communication.

8. Systems and Equipment Controls.  Describe the sequence of operation, and diagram controls as installed

9. Piped Systems:  Diagram piping as installed, and identify color-coding where required for identification.  Provide charts of valve-tag numbers, with the location and function of each valve.

10. Precautions against improper use.

11. License requirements including inspection and renewal dates.

2.5 PRODUCT MAINTENANCE MANUAL

Revise first paragraph below to suit project.  For simple projects that require few manuals, this information may be included on title page.

A. Content and Organization:  Organize manual into a separate section for each product, material, and finish.  Order manual by specification section of the applicable product.  Include the following for each product:

1. Source information.  List each product included in manual, identified by product name and arranged to match manual's table of contents.  For each product, list :

a. Name, Address, Telephone number of Installer or supplier and maintenance service agent.

b. Cross-reference to Specification Section number and title in Project Manual.

2. Product information, Include the following, as applicable:

Revise list below to suit project.

a. Product name and model number.

b. Manufacturer's name.

c. Color, pattern, and texture.

d. Material and chemical composition.

e. Reordering information for specially manufactured products.

3. Maintenance procedures: Include manufacturer's written recommendations and the following:

Revise list below to suit project.

a. Inspection procedures.

b. Types of cleaning agents to be used and methods of cleaning.

c. List of cleaning agents and methods of cleaning detrimental to product.

d. Schedule for routine cleaning and maintenance.

e. Repair instructions.

4. Repair materials and sources:  Include lists of materials and local sources of materials and related services.

5. Warranties and bonds, Include copies of warranties and bonds and lists of circumstances and conditions that would affect validity of warranties or bonds.

a. Include procedures to follow and required notifications for warranty claims.

2.6 SYSTEMS AND EQUIPMENT MAINTENANCE MANUAL

A. Content and Organization:  Organize manual into a separate section for each system, subsystem, and piece of equipment not part of a system ordered by specification section.  Include the following information in each section:

1. Source information.  List each system, subsystem, and piece of equipment included in the manual identified by product name and arranged to match manual's table of contents.  For each item provide:

a. Name, address, and telephone number of Installer or supplier and maintenance service agent

b. Cross-reference Specification Section number and title in Project Manual.

2. Manufacturers' maintenance documentation including the following information for each component part or piece of equipment:

Revise list below to suit project.

a. Standard printed maintenance instructions and bulletins.

b. Drawings, diagrams, and instructions required for maintenance, including disassembly and component removal, replacement, and assembly.

c. Identification and nomenclature of parts and components.

d. List of items recommended to be stocked as spare parts.

3. Maintenance procedures: Include the following information and items that detail essential maintenance procedures:

Revise list below to suit project.

a. Test and inspection instructions.

b. Troubleshooting guide.

c. Precautions against improper maintenance.

d. Disassembly; component removal, repair, and replacement; and reassembly instructions.

e. Aligning, adjusting, and checking instructions.

f. Demonstration and training videotape, if available.

4. Maintenance and Service Schedules:  Include service and lubrication requirements, list of required lubricants for equipment, and separate schedules for preventive and routine maintenance and service with standard time allotment.

a. Scheduled Maintenance and Service:  Tabulate actions for daily, weekly, monthly, quarterly, semiannual, and annual frequencies.

b. Maintenance and Service Record:  Include manufacturers' forms for recording maintenance.

5. Spare Parts List and Source Information:  Include lists of replacement and repair parts, with parts identified and cross-referenced to manufacturers' maintenance documentation and local sources of maintenance materials and related services.

Delete paragraph below if not applicable.

6. Maintenance Service Contracts:  Include copies of maintenance agreements with name and telephone number of service agent.

Paragraph and subparagraph below provide information if product fails.  For specific products, additional information may be necessary.  Select one of the last sentences to reflect the location of the Warranty Manual requirement.

7. Warranties and Bonds:  Include copies of warranties and bonds and lists of circumstances and conditions that would affect validity of warranties or bonds.  [This requirement is in addition to the requirement for Warranty Manuals included in Division 1 Section "Product Requirements and Warranties."] [This requirement is in addition to the requirement for Warranty Manuals included in Division 1 Section "Closeout Procedures."]

Retain the following article, inclusive of the following paragraphs and subparagraphs, if operating and maintenance instructions are required, but the project systems and equipment do not warrant the inclusion of Division 1 Section "Demonstration and Training."

2.7 INSTRUCTIONS FOR NIH PERSONNEL

A. Prior to the Substantial Completion inspection, instruct NIH personnel in operation, adjustment, and maintenance of products, equipment, and systems.  Provide instruction at mutually agreed times.

B. Use operation and maintenance manuals for each product, piece of equipment or system as the basis of instruction.  Review contents in detail to explain all aspects of operation and maintenance.

C. Posted Logs and Instructions:  Place operating logs and instructions in see-through vinyl or other weather protective sleeves or framed enclosures, and post for use by NIH personnel in locations approved by the Project Officer.

1. Post operating log sheets with spares at or near the applicable equipment.

2. Post flow schematics, wiring diagrams, valve lists, control sequences, start-up and shut-down instructions, and similar information and instructions in the appropriate equipment rooms.

Retain the following paragraph with subparagraphs if videotape of instruction is required.  Be prepared to provide cost analysis justifying the inclusion of a video training requirement.

D. Demonstration and Training Videotape:  Record each training module separately.  Include classroom instructions and demonstrations, board diagrams, and other visual aids, but not student practice.

1. At beginning of each training module, record each chart containing learning objective and lesson outline.

2. All videos must be close captioned.

3. Video Format:  High quality VHS color videotape in full-size cassettes.

4. Video Identification:  Each copy shall be labeled with an applied label containing the following information:

a. Project name.

b. Name, address and telephone number of photographer.

c. Name of Contractor.

d. Date video was recorded.

e. Subject of demonstration or Training

f. Model Number and building location of Equipment being demonstrated

PART 3 -  EXECUTION

3.1 MANUAL PREPARATION

Delete directory in first paragraph below for less complex projects.

A. Operation and Maintenance Documentation Directory:  Prepare a separate manual that provides an organized reference to emergency, operation, and maintenance manuals.

B. Emergency Manual:  Assemble a complete set of emergency information indicating procedures for use by emergency personnel and by Owner's operating personnel for types of emergencies indicated.

C. Product Maintenance Manual:  Assemble a complete set of maintenance data indicating care and maintenance of each product, material, and finish incorporated into the Work.

D. Operation and Maintenance Manuals:  Assemble a complete set of operation and maintenance data indicating operation and maintenance of each system, subsystem, and piece of equipment not part of a system.

1. Engage a factory-authorized service representative to assemble and prepare information for each system, subsystem, and piece of equipment not part of a system.

2. Prepare a separate manual for each system and subsystem, in the form of an instructional manual for use by Owner's operating personnel.

E. Manufacturers' Data:  Where manuals contain manufacturers' standard printed data, include only sheets pertinent to product or component installed.  Mark each sheet to identify each product or component incorporated into the Work.  If data include more than one item in a tabular format, identify each item using appropriate references from the Contract Documents.  Identify data applicable to the Work and delete references to information not applicable.

1. Prepare supplementary text if manufacturers' standard printed data are not available and where the information is necessary for proper operation and maintenance of equipment or systems.

F. Drawings:  Prepare drawings supplementing manufacturers' printed data to illustrate the relationship of component parts of equipment and systems and to illustrate control sequence and flow diagrams.  Coordinate these drawings with information contained in Record Drawings to ensure correct illustration of completed installation.

Retain first subparagraph below.  Including Record Drawings in operation and maintenance manuals is not recommended.

1. Do not use original Project Record Documents as part of operation and maintenance manuals.  If Record drawings must be used, copies are to be included in the manuals.

2. Comply with requirements of newly prepared Record Drawings in Division 1 Section "Project Record Documents."

G. Comply with Division 1 Section "Closeout Procedures" for the schedule for submitting operation and maintenance documentation.

END OF SECTION 01782

OPERATION AND MAINTENANCE DOCUMENTATION
01782 - 12

