Copyright 1998 AIA
MASTERSPEC
9/98

NIH VERSION of MASTERSPEC based on GSA MASTERSPEC dated 9/99

NIH Version dated January 2002

This section uses the term Contracting Officer, Contracting Officer's Technical Representative and/or Project Officer in specific locations within this section based on specific authorities granted each individual under the terms of the contract.  Any changes in these terms at specific locations within these specifications must be coordinated with the Contracting Officer.

<Text> requires insertion of data

[text] requires decision to delete, retain, or edit text in brackets

Retain this section if the project systems and equipment require an extensive formal training program for NIH operating personnel, in excess of basic instructions for personnel as specified in Division 1 Section "Closeout Procedures" or, if used, Division 1 Section "Operation and Maintenance Documentation."

SECTION 01820 - DEMONSTRATION AND TRAINING
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements for instructing NIH operation and maintenance personnel, including the following:

1. Demonstration of operation of systems, subsystems, and equipment.

2. Training in operation and maintenance of systems, subsystems, and equipment.

B. This specification section is related to any and all specification sections with explicit or implicit reference to demonstration and training including but not limited to the following Division 1 specification sections:

Edit the following list to include pertinent Division 1 sections included in the project.

1. Division 1 Section "Summary"

2. Division 1 Section "Project Management and Coordination"

3. Division 1 Section "Construction Progress Documentation"

4. Division 1 Section "Project Management and Coordination"

5. Division 1 Section "Photographic Documentation"

6. Division 1 Section "Quality Requirements"

7. Division 1 Section "Construction Quality Control"

8. Division 1 Section "Safety and Health"

9. Division 1 Section "Closeout Procedures"

10. Division 1 Section "Project Record Documents"

11. Division 1 Section "Operation and Maintenance Documents"

1.3 SUBMITTALS

Revise the number of copies in the following paragraph and subparagraph, if necessary for the project requirements.

A. Instruction Program:  Prior to the Pre-final Inspection, submit 2 copies of the outline of the proposed instructional program for demonstration and training to the Project Officer.  Including training modules to be included, a schedule of proposed dates, times, length of instruction time, instructors' names for each training module, and learning objective and outline for each training module.

1. At completion of training, submit 2 complete training manuals for NIH use.

B. Training Modules.  Submit 2 draft copies to the Project Officer of training modules as described in this section 14 calendar days prior to the start of training.

1. NIH will provide review comments within 7 calendar days of receipt of the draft module.

2. All draft modules are to be submitted to the Project Officer prior to Final Inspection.

C. Qualification Data:  For facilitator and instructors, to demonstrate their capabilities and experience, include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

D. Attendance Record:  For each training module, submit list of participants and length of instruction time.

E. Evaluations:  For each participant and for each training module, submit results and documentation of performance-based test.

Retain the following paragraph if videotape is required.  Revise the number of copies if necessary for the project requirements.

F. Demonstration and Training Videotape:  Submit 2 copies at end of each training module to the Contracting Officer for approval.

1.4 QUALIFICATIONS

Edit the following paragraphs as required to meet the qualifications specified in the Division 2-16 technical specification sections.  If additional qualifications are required list as subparagraphs or add a reference to the technical section where it is specified.  Coordinate with all Division 2-16 technical specification sections.

A. Facilitator Qualifications:  A firm or individual experienced in training or educating maintenance personnel in a training program similar in content and extent to that required for this project, and whose work has resulted in training or education with a record of successful learning performance.

B. Instructor Qualifications:  A factory-authorized service representative, experienced in operation and maintenance procedures and training.

1. Instructor shall meet or exceed any specific qualifications or experience requirements indicated in the Division 2-16 technical specification sections for the specific system, subsystem, or equipment that is the subject of the training or demonstration.

1.5 PREINSTRUCTION CONFERENCE

A. The Contractor, facilitator, and instructors shall conduct a conference at the project site to review methods and procedures related to demonstration and training including, but not limited to, the following:

1. Inspect and discuss locations and other facilities required for instruction.

2. Review and finalize instruction schedule and verify availability of educational materials, instructors' personnel, audiovisual equipment, and other facilities.

3. Review required content of instruction.

4. For instruction that must occur outside, review weather and forecasted weather conditions and procedures to follow if conditions are unfavorable.

1.6 COORDINATION

A. Coordinate instruction schedule with the Project Officer.  Be prepared to adjust schedule as required to minimize disrupting NIH operations.

B. Coordinate instructors, including providing notification of dates, times, length of instruction time, and course content.

C. Coordinate content of training modules with content of approved emergency, operation, and maintenance manuals.  Do not submit instruction program module until operation and maintenance data or manual(s) as required for the equipment in the module have been reviewed and approved by the Contracting Officer.

PART 2 -  PRODUCTS

2.1 INSTRUCTION PROGRAM

Edit the following paragraph inserting subparagraphs listing the systems, subsystems and independent equipment that require a training program.  Coordinate with training requirements listed in Division 2-16 technical specification sections.  Consider including a table as a subordinate paragraph indicating training requirements, training types (classroom, site, video, self paced, etc.), # of attendees, class hours, and on-site hours.

A. Program Structure:  Develop an instruction program that includes individual training modules for each system and for equipment not part of a system, as required by individual Division 2-16 technical specification sections and as follows:

Edit the following sub paragraph to include the specific systems, subsystems, and equipment associated with the project.  The list below is intended to be an incomplete sample listing of the types of items to consider and is not to be used in its present form on the final specification document without editing.

1. Motorized doors

2. Fire-protection Systems

3. Intrusion Detection Systems

4. Conveying systems

5. Laboratory equipment

6. HVAC Equipment and controls

7. Lighting systems

B. Training Modules:  Develop and submit written learning objective and teaching outlines for each module.  Include a description of specific skills and knowledge that participant is expected to master.  For each module, include instruction for the following:

1. Basis of System Design, Operational Requirements, and Criteria:  Include the following:

a. System, subsystem, and equipment descriptions.

b. Performance and design criteria if Contractor is delegated design responsibility.

c. Operating standards.

d. Regulatory requirements.

e. Equipment function.

f. Operating characteristics.

g. Limiting conditions.

h. Performance curves.

2. Documentation:  Review the following items in detail:

a. Emergency manuals.

b. Operations manuals.

c. Maintenance manuals.

d. Project Record Documents.

e. Identification systems.

f. Warranties and bonds.

g. Maintenance service agreements and similar continuing commitments.

3. Emergencies:  Include the following, as applicable:

a. Instructions on meaning of warnings, trouble indications, and error messages.

b. Instructions on stopping.

c. Shutdown instructions for each type of emergency.

d. Operating instructions for conditions outside of normal operating limits.

e. Sequences for electric or electronic systems.

f. Special operating instructions and procedures.

4. Operations:  Include the following, as applicable:

a. Startup procedures.

b. Equipment or system break-in procedures.

c. Routine and normal operating instructions.

d. Regulation and control procedures.

e. Control sequences.

f. Safety procedures.

g. Instructions on stopping.

h. Normal shutdown instructions.

i. Operating procedures for emergencies.

j. Operating procedures for system, subsystem, or equipment failure.

k. Seasonal and weekend operating instructions.

l. Required sequences for electric or electronic systems.

m. Special operating instructions and procedures.

5. Adjustments:  Include the following:

a. Alignments.

b. Checking adjustments.

c. Noise and vibration adjustments.

d. Economy and efficiency adjustments.

6. Troubleshooting:  Include the following:

a. Diagnostic instructions.

b. Test and inspection procedures.

7. Maintenance:  Include the following:

a. Inspection procedures.

b. Types of cleaning agents to be used and methods of cleaning.

c. List of cleaning agents and methods of cleaning detrimental to product.

d. Procedures for routine cleaning

e. Procedures for preventive maintenance.

f. Procedures for routine maintenance.

g. Instruction on use of special tools.

8. Repairs:  Include the following:

a. Diagnosis instructions.

b. Repair instructions.

c. Disassembly; component removal, repair, and replacement; and reassembly instructions.

d. Instructions for identifying parts and components.

e. Review of spare parts needed for operation and maintenance.

C. Training modules can be developed and submitted separately however they must be designed to be compiled into a comprehensive training program.  The training program submission will not be complete until the final module has been submitted, reviewed, and approved.

2.2 VIDEO TAPES

A. Video Format:  High quality VHS color videotape in full-size cassettes.

B. Video Identification:  Each copy shall be labeled with an applied label containing the following information:

1. Project name.

2. Name, address and telephone number of photographer.

3. Name of Contractor.

4. Date video was recorded.

5. Subject of demonstration or Training

6. Model Number and building location of Equipment being demonstrated

PART 3 -  EXECUTION

3.1 PREPARATION

A. Assemble educational materials necessary for instruction, including documentation and training.  Assemble training modules into a combined training manual.

B. Set up instructional equipment at instruction location.

3.2 INSTRUCTION

Tailor the following paragraphs and subparagraphs as appropriate for the project.  Coordinate with the Project Officer for NIH provided instructors.  Coordinate this article with the previous article "Qualifications" in this section.

A. Engage a qualified facilitator to prepare instruction program and training modules, to coordinate instructors, and to coordinate between Contractor and NIH for number of participants, instruction times, and location.

B. Contractor provided Instruction:  Engage qualified instructors to instruct NIH personnel to adjust, operate, and maintain systems, subsystems, and equipment not part of a system.

C. NIH Provided Instruction:

1. NIH will furnish an instructor to describe basis of system design, operational requirements, criteria, and regulatory requirements.

2. NIH will furnish an instructor to describe operational philosophy.

D. The Contracting Officer will furnish the Contractor with the names and positions of NIH participants.

E. Scheduling:  Provide instruction at mutually agreed on times.  For equipment that requires seasonal operation, provide similar instruction at start of each season.

Revise the number of days in the following subparagraph, if longer notice is required or shorter notice is acceptable.

1. Schedule training with the Project Officer at least 7 days' in advance.

Edit type of evaluation required to support the training objectives.

F. Evaluation:  At conclusion of each training module, assess and document each participant's mastery of the module [by use of an [oral], [written] or [demonstration performance-based] test.]

Retain the following paragraph with subparagraphs if videotape is required.  Be prepared to provide cost analysis justifying the inclusion of a video training requirement.

G. Demonstration and Training Videotape:  Record each training module separately.  Include classroom instructions and demonstrations, board diagrams, and other visual aids, but not student practice.

1. At beginning of each training module, record each chart containing learning objective and lesson outline.

2. All videos must be close captioned.

H. Cleanup:  Collect and remove used and leftover educational materials.  Remove instructional equipment.  Restore systems and equipment to condition existing before initial training use.

END OF SECTION 01820

DEMONSTRATION AND TRAINING
01820 - 1

