SECTION 15051

SUBMITTALS

PART 1 - GENERAL

1.1   SECTION INCLUDES

A.    The preparation and submission of shop drawings and catalog data.

B.     Each section included in Division 15 - Mechanical incorporates this section by reference and is incomplete without the provisions stated herein.

1.2 ACCEPTABLE MANUFACTURERS

A.  Listed manufacturers will be acceptable as long as specified requirements are met.

B.  Some degree of effort has been made to ensure that those manufacturers listed in the Specifications as "acceptable manufacturers" meet a level of quality, responsiveness, and performance required by the Specifications. Manufacturers who are not listed as "acceptable manufacturers" in the Specifications WILL NOT BE ACCEPTED (No Exceptions).

1.3   CONTRACTOR'S CERTIFICATION

A.  Submittals will be submitted only by the Contractor. Indicate by signed stamp that Contract Documents have been checked, that the work shown in the submittals is in accordance with contract requirements and that dimensions and relationship with work of other trades have been checked. Submittals submitted for review that have not been checked and signed by Contractor, will be returned for checking before being considered by the A/E.

1.4   PREPARATION

A.  Include information relevant to particular equipment or materials to be furnished, where product data published by manufacturer is part of submittal.

B.  Provide documentation of compliance with manufacturer's published literature or drawings or letter signed by officer of manufacturer in cases where compliance with UL, FM, ARI, IRI. or  other similar organization standards are required.

C.  Furnish submittals within 45 days after receiving a signed contract and prior to the start of installation.

D.  Include identifying symbols and equipment numbers used in Contract Documents for all equipment and material submitted.

E.    Cross reference sheet numbers on Drawings for shop drawings.  Provide shop drawings consisting of plans drawn to scale, with elevations and sections, to show clearly the location of major items of equipment and clearances for maintenance and code requirements.

F.  Submit only requested submittals complete by types of equipment (i.e., pumps, air handling equipment, etc.) labeled with applicable specification section(s) included.  Each submittal will be handled separately. Should any item not be acceptable, the entire submittal will be returned to the Contractor for correction and re-submittal.  Partial submittals will not be acceptable. The intent of this requirement is that all approved bound sets of data will be identical and will contain only acceptable information.

G.  Submit a compliance sheet for each submittal indicating: "This submittal is in full compliance with the drawings and specifications".  Indicate by drawing number or specification section number and paragraph numbers all exceptions taken and include an explanation. Compliance Sheet shall be signed by the Contractor.  

H.  The review of submittals does not relieve or modify Contractor's responsibility for compliance with Contract Documents or dimensions or errors contained in the submittal or quantity count.  It is clearly understood that, in the review process, noting of some discrepancies but overlooking others does not grant Contractor permission to proceed in error.  Regardless of any information contained in the submittals, Contract Documents govern the work, and are neither waived nor suspended in any way by the review of the submittals.

I.   A minimum review period of two weeks, exclusive of transmittal time, will be required in A/E office for each submittal. Take this time period into consideration when scheduling construction.

J.   Include in submittals sufficient plans, elevations, sections, performance data, dimensions, bolt locations, ratings, sound data, weights and schematics to clearly describe the equipment and to show compliance with these specifications.

K.  Provide a cover or title sheet for the submittal containing the following:

1.    Name of Contractor originating the submittal.

2.    Name of project for which the submittal is made.

3.    An index of all items submitted including:

a.    Mark of equipment on drawings.

b.     Manufacturer.

c.    Catalog number.

d.    Specification section number.

4.     Date of submittal and date of each revision.

5.     Contractor's certification of review.

6.     Contractor's certification of compliance.

L.  Shop drawings and product data, which do not comply with specified requirements, will be returned for re-submittal. Submit two paper sepias for shop drawings.

M.  A/E will retain one copy and the Owner will retain one copy of the submittal.  Remaining copies will be returned to Contractor marked FURNISH AS SUBMITTED, FURNISH AS CORRECTED, REVISE AND RESUBMIT or SUBMIT SPECIFIED ITEM. If it is marked FURNISH AS SUBMITTED or FURNISH AS CORRECTED, no additional submittal is required. If it is marked REVISE AND RESUBMIT or SUBMIT SPECIFIED ITEM, repeat the submittal in accordance with this section. It is intended that Contractor submit complete and accurate shop drawings and product data at the first submittal. If the submittals are returned to Contractor marked REVISE AND RE-SUBMIT or SUBMIT SPECIFIED ITEM, only one additional submission is permitted.

N.  If the reproducible sepia or product data marked FURNISH AS SUBMITTED or FUNISH AS CORRECTED is altered for any reason after it has been stamped, the REVIEWED stamp shall automatically be voided.

O.  Provide all work in accordance with the submittals stamped FURNISH AS SUBMITTED or FURNISH AS CORRECTED inasmuch as they are in agreement with Contract Documents. Where differences occur between the submittals and Contract Documents, Contract Documents shall govern the work.

P.  Provide one copy of all approved shop drawings and product data to the testing, adjusting and balancing contractor prior to project completion.

PART 2 - PRODUCTS

Not used.

PART 3 - EXECUTION

3.1   REQUIRED SUBMITTALS

A.  Furnish product data for devices, equipment, or systems specified. All other submittals will be returned to Contractor without review. Furnish shop drawings as indicated.

3.2   FINAL SUBMITTAL

A.  In addition to the number of copies of shop drawings and product data required to review submittals, maintain separate file of final reviewed copies of such material.

B.  Deliver approved submittals in hardback binder for Owner's use. Incorporate changes and revisions made throughout construction period. Refer to Operations and Maintenance Manuals Section.

END OF SECTION

SECTION 15051
Page 1 of 3

