Standard Section 520 Final 
August, 2006

Section 00520 - Driven Piles520 - Driven Piles
Description
00520.00
Scope520.00 Scope - This work consists of furnishing and driving piles of the type and dimensions shown or specified, including cutting off or building up piles when required.

Materials
00520.10
General520.10 General - Provide materials meeting the following requirements:

Steel piles
02520.10
Prestressed concrete piles
02520.20

Steel reinforcement for concrete
00530

Reinforced pile tips
02520.10

Timber piles
02120.20

Timber pile straps
02120.30
Preservative treatment of timber
02190

00520.11
Engineer's Estimated Length List520.11 Engineer's Estimated Length List - Furnish steel piles of sufficient length to attain the penetration and bearing resistance specified, and to extend into the cap or footing as shown.  The Contractor may, at no cost to the Agency, drive test piles, make borings, or perform other investigations the Contractor considers necessary.  The "Engineer's Estimated Length" listed in the Special Provisions will be used only for comparison of bids.

00520.12
Pile Order List520.12 Pile Order List - Furnish prestressed concrete and timber piles according to the pile order list in the Special Provisions, which will list the type, number, and length of piles.  The pile order length includes an allowance for variation.  The Contractor may increase the order lengths as necessary to suit pile driving operations without additional compensation.

00520.13
Test Piles520.13 Test Piles - When test piles are required, the production pile lengths shown or specified are for bidding purposes only.  The actual lengths to be furnished for production piles will be determined by the Engineer after the test piles have been driven.  This applies for all pile types.

00520.14
Unused Piles520.14 Unused Piles - Acceptable full length piles furnished according to the estimated length list, order list, or revised pile order list, but not incorporated in the work, will be handled according to one of the following:

· Mark and identify piles for the Contractor's own use.

· Return piles to the supplier with the Agency paying transportation and restocking charges.

· The Agency will purchase from the Contractor piles that are stockpiled at a location on the Project selected by the Engineer according to 00195.80.

Equipment

00520.20
Equipment for Driving Piles520.20 Equipment for Driving Piles - Provide pile driving equipment meeting the following requirements:

(a)
Impact Pile Hammers - Provide a striking part of the hammer not less than one-third the mass (weight) of the helmet and pile being driven, but never less than 1250 kg (2,750 pounds).
(1)
Air-Steam Hammers - Provide power plant and equipment for air-steam hammers with sufficient capacity under working conditions to maintain the volume and pressure at the hammer specified by the manufacturer and with accurate pressure gauges easily accessible to the Engineer.

(2)
Open-End Diesel Hammers - Provide open-end (single‑acting) diesel hammers equipped with a device which allows the Engineer to visually determine hammer stroke at all times during pile driving operations.  Provide the Engineer with the hammer manufacturer's chart equating stroke and blows per minute.

(3)
Closed-End Diesel Hammers - Provide closed-end (double-acting) diesel hammers equipped with a bounce chamber pressure gauge, mounted near ground level so the Engineer can easily read it.  Before driving, provide the Engineer a chart calibrated within six months before first use on the Project to actual hammer performance, equating bounce chamber pressure to either equivalent energy or stroke.

(4)
Gravity Hammers - Provide gravity hammers that have a ram weighing between 900 kg (2,000 pounds) and 2200 kg (5,000 pounds) and a drop height of not more than 3 m (10 feet).  The mass (weight) of gravity hammers shall not be less than the combined mass (weight) of helmet and pile.

(5)
Hydraulic Hammers - Provide either single or double acting hydraulic hammers equipped with monitoring systems to measure impact velocity and determine equivalent energy and stroke. Locate monitoring systems for easy access by the Engineer.

(b)
Vibratory Hammers - Control installation of production piles with vibratory hammers according to the power consumption, rate of penetration, specified tip elevation, or other acceptable means which assure the pile resistance equals or exceeds the required nominal pile bearing resistance. After driving piles with a vibratory hammer, verify pile resistance (see 00520.42) by driving them with an impact hammer of suitable energy.  Do not use vibratory hammers to drive test piles or when preboring or jetting.

(c)
Driving Components:
(1)
Pile Cushion - Protect the heads of prestressed concrete piles with a pile cushion made of wood or other approved material.

The pile cushion shall be:

· Equal to or greater in cross-sectional contact area than the pile head

· In full contact with the pile head

· No less than 100 mm (4 inches) thick, before driving begins, if made of plywood

Provide a pile cushion for each pile.  Replace the pile cushion if, during the driving, the cushion is either compressed to less than one-half the original thickness or begins to burn.

(2)
Helmet - Equip piles driven with impact hammers with an adequate metal helmet.  The helmet shall:

· Fit around the pile top

· Be axially aligned with the hammer and pile

· Distribute the hammer energy to the total cross section of the pile head

· Be guided by leads

(3)
Hammer Cushion - Equip impact pile driving equipment with a suitable thickness of hammer cushion material to prevent damage to the hammer or pile and to insure uniform driving performance.  Provide hammer cushions of durable manufactured materials according to the hammer manufacturer's guidelines.  Do not use wood, wire rope, or asbestos hammer cushions.  Place a striker plate, as recommended by the hammer manufacturer, on the hammer cushion to insure uniform compression of the cushion material.

Inspect the hammer cushion in the presence of the Engineer at the beginning of pile driving at each structure or after each 100 hours of use during pile driving, whichever is less.  Replace the hammer cushion when its thickness becomes less than 75% of its original thickness.

(4)
Followers - Use a follower between the pile hammer and the pile to transmit energy when the pile head is below the reach of the hammer, if allowed by the Special Provisions or approved in writing.  If a follower is allowed, drive the first pile in each bent, and every tenth pile driven after that, full length without a follower.  Before additional piles are installed, verify that the first two piles installed with followers in each substructure unit meet the position and alignment criteria of 00520.41(f).

(5)
Leads - Support piles in line and position while driving.  Construct pile hammer leads to give the hammer freedom of movement while maintaining alignment of the hammer and the pile to insure concentric impact for each blow.  Leads shall be fixed unless the Engineer approves the use of swinging leads.  Fit swinging leads, when used, with a pile gate at the bottom of the leads.  To maintain alignment of batter piles, use horizontally braced swinging leads, adequately embedded in the ground, or rigidly attached to prevent movement during pile driving.

(d)
Approval of Pile-Driving Equipment:
(1)
General - Before beginning test pile or production pile driving, obtain approval in writing of pile driving equipment.

To obtain approval, complete and submit the Agency's "Pile and Driving Equipment Data" form at least 14 calendar days before pile driving begins.  A blank form is included in the Special Provisions or is available from the Engineer.  Within 14 calendar days of receiving the form, the Engineer will notify the Contractor of approval or rejection of the pile-driving equipment.

During pile-driving operations, no changes to the approved equipment will be permitted without the Engineer's written permission.  Submit a request for change on a "Pile and Driving Equipment Data" form.  The Engineer will give notification of approval or rejection within seven calendar days of receiving the form.  Time required for resubmission and review of a Contractor's equipment change request is not a basis for a Contract Time extension request unless the Engineer does not respond in seven calendar days.

(2)
Standard Evaluation Method - The standard method of evaluating driving equipment requires that the field-measured hammer energy be within the range of energy levels given in Table 00520-1 corresponding to the nominal pile bearing resistance shown.

Table 00520-1
Pile Hammer Requirements 1
METRIC


Ultimate Capacity
Minimum Field Energy


(kN)
(kJ)


( 800
10


( 800 and ( 1330
20


( 1330 and ( 1600
27


( 1600 and ( 1870
35


( 1870 and ( 2130
40


( 2130 and ( 2400
50


over 2400
WAVE EQ required

ENGLISH


Nominal Pile Bearing Resistance
Minimum Field Energy


(kips)
(foot-pounds)


( 180
6,500

( 180 and ( 280
11,000

( 280 and ( 420
20,000

( 420 and ( 600
35,000

over 600
Wave Equation required

1
Using FHWA Gates equation (see 00520.42(b)), except all driving criteria for double acting and differential hammers both air, steam and diesel will be by the wave equation analysis.

If during the pile-driving operation, the Engineer determines the hammer is not operating properly and is unable to drive the piles to the required resistance, do not use the hammer until repaired to the Engineer's satisfaction.

The required number of hammer blows indicated by the FHWA Gates equation at the nominal pile bearing resistance shall be at a rate between 3 and 15 blows per 25 mm (blows per inch).

(3)  Wave Equation Method - Select a suitable hammer for driving piles and perform wave equation analyses.  Use the 1987 or newer version of the Wave Equation Analysis Program (WEAP).  Conduct the wave equation analyses using personnel qualified by training and experience to perform this type of work.
Submit the WEAP analysis concurrent with the Pile and Driving Equipment Data Form.  The Engineer will approve or reject the pile driving equipment submittal after a review of the wave equation analysis conducted by the Contractor.
Provide pile hammers meeting the following requirements based on wave equation analysis:
· The energy of the submitted hammer shall produce a wave equation predicted blow count between 3 and 15 blows per 25 mm (1 inch) for the nominal resistances, pile lengths and other conditions specified.

· The pile stresses indicated by the wave equation at the nominal resistance shall not be greater than the stress at the point of impending damage to the pile as follows:

· Steel Piles - Tensile and compressive stresses in the pile of 90% of the pile material’s yield strength for the grade of steel specified at any time during the pile installation.
· Prestressed Concrete Piles:
Metric

· A tensile stress of (0.25
[image: image1.wmf]c

f

'

) + effective prestress

· A compressive stress of (0.85
[image: image2.wmf]c

f

'

) - effective prestress



Where: 
[image: image3.wmf]c

f

'

 = concrete compressive strength

English

· A tensile stress of (.095
[image: image4.wmf]c

f

'

) + effective prestress

· A compressive stress of (0.85
[image: image5.wmf]c

f

'

) - effective prestress



Where: 
[image: image6.wmf]c

f

'

 = concrete compressive strength (ksi)
· Timber Piles - A compressive driving stress of three times the allowable static design stress.

Hammers not meeting these requirements will be rejected.  Replace rejected hammers with suitable hammers.
Use input values for the wave equation analyses PROVIDED IN THE SPECIAL PROVISIONS according to the following:
Use the following settings and default values as input to the wave equation analysis program:

· Output option (IOUT) zero. (normal option)

· Rult is the nominal pile bearing resistance.

· Smith damping.

· Do not use residual stress option.
· Default hammer efficiency values. Do not adjustment the hammer’s efficiency outside of the wave equation program recommended (default) values without prior concurrence of both the pile hammer manufacturer and the Engineer.
· % skin is the percent skin friction.

A Pile Driving Analyzer (PDA) test may be required prior to approval of non-default wave equation input values. 

At a minimum, provide the following information and documentation:

· A written summary of how the proposed hammer and associated equipment meets the specifications regarding blow count criteria and allowable pile stresses.

· Electronic and paper copies of the wave equation input and output files. Output files shall be in the standard WEAP output format.

· WEAP analysis demonstrating that for the required nominal bearing resistances and conditions provided, the hammer will produce pile stresses less than those described above for the range of hammer strokes expected in the field.

· The "Pile and Driving Equipment Data" form.

· WEAP hammer input files for hammers not in the wave equation default hammer files.

For Agency reviewing and approving of the wave equation analysis submittals, the following will be taken into consideration:

· The pile length for use in the WEAP analysis will be the total pile length at the end of driving, including all pile length above the ground surface.  This length may be longer than the Engineers Estimated length depending on the site conditions, equipment used, pile hammer access limitations and other factors.

· The properties and thicknesses of the hammer and pile cushion materials.

· Various hammer types such as direct-drive diesel, standard diesel, air/steam or hydraulic hammers have major effects on predicted stresses and blow counts.
· Changes in pile type or size will affect the blow count rate and pile stresses.
· Battered piles may effect hammer energy transfer and blow counts.
Failure to address these issues may be cause for rejection of the proposed pile hammer.
The size of the pile hammer selected according to the above specification may have significant impacts on the size and capacity of associated equipment including the leads and crane.  This equipment, in turn, may have significant impacts on the size and capacity of work bridges, shoring required for existing structures or other aspects and elements of construction.
Failure of a previously approved hammer to operate properly during construction will be cause for rejection.
Construction

00520.40
Preparation for Driving520.40 Preparation for Driving:
(a)
Excavation - Unless otherwise provided or authorized, do not drive piles until after excavation is complete.  Remove to the correct elevation any material forced up by pile driving at the Contractor's expense before concrete for the foundation is placed.

(b)
Embankments - Unless otherwise provided or authorized, do not drive piles until the roadway embankment at bridge ends is in place according to 00330.42.  Drive piles completely through roadway embankments to the required penetration and bearing in the underlying material.

00520.41
Driving520.41 Driving:

(a)
General - Drive piles as specified with approved pile driving equipment to the required penetration depth and to the required nominal pile bearing resistance as shown or specified.

(b)
Installation Sequence - Unless otherwise shown or specified, install individual piles in pile groups starting from the center of the group and proceeding outward in either direction, or as approved.

(c)
Minimum Penetration - Unless otherwise specified or approved, drive piles at least 4 m (12 feet) below the footing or pile cap, 12 feet below the groundline at trestle pile locations and completely through embankments at bridge ends.  When shown or specified drive piles to a greater minimum penetration.  If the required penetration cannot be attained with a hammer complying with 00520.20(d), provide a larger hammer, prebore or jet holes, or use other approved methods as necessary to attain the required penetration.

(d)
Preboring - Use auguring, wet-rotary drilling or other methods of preboring only when specified or with written approval.  When permitted, prebore holes at pile locations and to the depths shown or directed.  Make prebored holes smaller than the diameter or diagonal of the pile cross section, but sufficient to allow penetration of the pile to the specified depth.  If subsurface obstructions, such as cobbles, boulders or rock layers are encountered, the hole diameter may be increased to the least dimension which is adequate for pile installation.  The use of a reinforced section (spud) to loosen the subsurface material at pile locations will not be permitted unless otherwise approved.

Perform preboring in a manner that will not impair the bearing or lateral capacity of the piles already in place or the safety of existing adjacent structures.  When it is determined that preboring has disturbed the load bearing resistances of previously installed piles, restore those piles that have been disturbed to conditions meeting the requirements of this Specification by redriving or by other acceptable methods.  The Contractor shall be responsible for the costs of any necessary remedial measures unless the preboring method was specifically included in the Contract Documents and properly executed by the Contractor.

(1)
End-Bearing Piles - For end‑bearing pile as classified by the Engineer, preboring may be carried to the surface of the end-bearing foundation material.  Following that, drive pile with an approved impact pile hammer to the specified blow count.

(2)
Other Piles - For other piles, extend preboring to the minimum pile penetration depth and then drive pile with an approved impact pile hammer to the specified blow count.

After completion of driving, fill any void space remaining around the pile with sand or other approved material.

(e)
Jetting - Jetting may only be used when permitted in the Contract Documents or if approved in writing.  When jetting is not required in the Contract Documents, but approved at the Contractor's request, determine and submit for review the number of jets and the volume and pressure of water at the jet nozzles necessary to freely erode the material adjacent to the pile without affecting the lateral stability of the final in-place pile.  The Contractor shall be responsible for all damage caused by unapproved or improper jetting operations, unless the jetting method was specifically included in the Contract Documents and properly executed by the Contractor.  Control, treat if necessary, and dispose of all jet water in a satisfactory manner.  Drive all jetted pile with an approved impact hammer.

(f)
Location and Alignment Tolerance - Place the tops of piles at plan cutoff elevation and horizontally within 150 mm (6 inches) of plan locations.  No pile shall be nearer than 100 mm (4 inches) from any edge of the cap.  Any increase in cap size to meet this edge distance requirement shall be at the Contractor's expense.

Install piles so the axial alignment of the top 3 m (10 feet) of the pile is within 130 mm (5 inches) of the specified alignment.  For piles that cannot be inspected after installation, make an alignment check before installing the last 1.5 m (5 feet) of pile.  The Engineer may require that driving be stopped to check the pile alignment.  Pulling laterally on piles to correct misalignment or splicing a properly aligned section onto a misaligned section will not be permitted.

If the specified location or alignment tolerances are exceeded, the effect of the pile misalignment on the substructure design will be investigated.  If the Engineer determines corrective measures are necessary, implement suitable measures and bear all costs and delays associated with the corrective action.

(g)
Heaved Piles - Make elevation readings on piles during pile driving operations to check on pile heave.  Take elevation readings after each pile has been driven and again after piles within a radius of 5 m (15 feet) have been driven.  Redrive to the required penetration and resistance, at Contractor's cost, all piles that have risen more than 12 mm (1/2 inch).  Continue readings until the Engineer determines that such checking is no longer required.  If pipe piles which have been filled with concrete subsequently heave, redrive them to original position, after the concrete has attained specified strength, with an approved hammer-pile cushion system.

(h)
Test Piles - When specified, furnish and drive test piles at the locations and to the lengths directed.  All test piles shall be of the kind and size specified for the permanent foundation piles unless otherwise directed.  Drive all test piles with approved pile driving equipment.  The specified length of test piles will be greater than the estimated length of production piles to provide for variation in soil conditions.  Drive test piles using driving equipment identical to that which the Contractor proposes to use on the production piling.  Excavate to the elevation of the bottom of the footing before driving test piles (see Section 00510).

Drive test piles to or below the required minimum tip elevation and to a hammer blow count established by the Engineer.  Allow test piles which do not attain the hammer blow count specified at the minimum tip elevation shown to "set up" for 24 hours, or less if directed, before being redriven (See 00520.42(d)).  If the tops of test piles reach plan grade without attaining the required pile bearing resistance, splice them and drive until the required bearing resistance is attained.

Remove test piles that are not to be incorporated in the completed structure to at least 600 mm (2 feet) below the surface of the ground and backfill the remaining hole with acceptable material.

Do not order piling to be used in the permanent structure until test pile data has been reviewed and the production pile order lengths are determined.  The Engineer will provide the Engineer's estimated length list or pile order list within seven calendar days after completion of all test pile driving specified in the Contract.

00520.42
Nominal Pile Bearing Resistance520.42 Ultimate Pile Bearing Capacity:
(a)
General - Drive piles with approved pile driving equipment to the lengths necessary to attain the required penetration and nominal pile bearing resistance.  Adequate pile penetration will be considered reached when the piles are driven to or below the minimum penetration depth and the specified equation resistance value is achieved.  If piles do not achieve the specified resistance when driven to order length or estimated length, splice and drive them to penetrations established by the Engineer. The required number of hammer blows per 25 mm (1 inch) at final penetration shall be maintained for 75 consecutive mm (3 consecutive inches) unless "refusal" driving is first obtained.  "Refusal" driving is defined as 20 blows per 1 inch.

If water jets are used with the driving, the bearing value shall be determined by the specified equation from the results of driving after the jetting has been completed according to 00520.42(e).

(b)
FHWA Gates Equation - Unless otherwise specified, the Engineer will determine nominal pile bearing resistance of the driven pile by the FHWA Gates equation:


Rn
=
1.75 (
[image: image7.wmf]E

) log10(10N) - 100


where:


Rn
=
Nominal Pile Bearing Resistance (kips).


E
=
Hammer energy (foot-pounds) at the ram stroke observed in the field.



=
W x H


W
=
Weight (pounds) of striking parts of hammer.


H
=
Height of fall (feet) of the ram measured during pile driving in the field.

         Log10(10N)
=
Logarithm to the base 10 of the quantity 10 multiplied by N.


N
=
Number of hammer blows per inch at final penetration to be sustained for 3




consecutive inches


[image: image8.wmf]ú

û

ù

ê

ë

é

-

+

=

1

E

75

.

1

100

R

u

10

N



or N = 10 to the power in brackets.

The FHWA Gates equation is applicable only if:

· The hammer is in good condition and operating in a satisfactory manner

· The hammer has a free fall

· A follower is not used

· The head of the pile is not broomed or crushed

If the Engineer determines that the hammer being used may not be attaining the specified bearing resistance when the above equation is applied, the Engineer may order the Contractor, at the Contractor's expense, to verify the bearing resistance values obtained by the use of a different hammer.

(c)
Wave Equation Analysis - If specified, the Engineer will determine nominal pile bearing resistance based on wave equation analysis.

(d)
Set Period and Redriving - If piles do not attain the required nominal bearing resistance when driven to the specified length, and if permitted or required, allow the piles to stand for a "set period" without driving.  The "set period" shall be a minimum of 24 hours unless otherwise approved by the Engineer.  After the set period, perform check driving on either two piles in each bent or on one pile in every 10 piles, whichever is more.  The Engineer will designate the piles on which check driving is to be performed.  Do not use a cold hammer for redriving.  Warm up the hammer before redriving begins by applying at least 20 blows to another pile.  Redriving shall consist of driving the pile to the required bearing resistance with a maximum of 15 blows.  If the specified hammer blow count is not attained on redriving, the Engineer may direct the Contractor to drive all of the remaining pile length and repeat the set period and redriving procedure.  Splice those piles driven to plan grade that do not attain the hammer blow count required, and drive until the required bearing resistance is attained.  If the required bearing resistance is attained for each pile that is redriven, then the remaining piles in that bent will be considered satisfactory when driven to at least the same penetration and resistance as the redriven piles.

(e)
Jetted Piles - The nominal pile bearing resistance of jetted piles will be based on impact driving blow count after jetting has been completed.  Jet pipes may be removed when the pile tip is at the required minimum pile tip elevation and before the pile is driven to the required bearing resistance.  For piles that are jetted at the Contractor's request and do not attain the required nominal bearing resistance at the ordered length, splice, as required, and drive with a specified impact pile hammer until the required nominal bearing resistance is achieved according to appropriate criteria in 00520.42.  Regardless of Agency approval, the Contractor shall bear all costs of splicing and driving piles beyond the order length if jetting is requested by the Contractor.

(f)
Followers - The required nominal pile bearing resistance of piles driven with followers will only be considered acceptable when the follower-driven piles attain the same tip elevation as piles driven without followers.  (See 00520.20(c-4))

(g)
Vibratory Hammers - The nominal bearing resistance of piles driven with vibratory hammers will be based on impact driving blow count after the vibratory equipment has been removed.  When vibratory installation of the piles is approved by the Engineer and the vibrated piles do not attain the required nominal bearing resistance at the specified length, splice them as required, at the Contractor's expense, and drive with a specified impact pile hammer until the required nominal bearing resistance is achieved, according to 00520.42.

(h)
Load Tests:

(1)
Static Load Test - Perform static load tests on foundation or test piles when specified or required.  Conduct static load tests according to ASTM D 1143 using the quick load test method to plunging failure or the capacity of the loading system.  Use testing equipment and measuring systems capable of applying 150% of the nominal pile bearing resistance or 9000 kN (1,000 tons), whichever is less.

(2)
Dynamic Load Tests - Take dynamic load test measurements during the driving of piles designated as dynamic load test piles as specified.  Perform dynamic testing according to ASTM D 4945.

Drive the pile to such depth that the dynamic load test equipment indicates that the nominal pile bearing resistance shown has been achieved, unless otherwise directed.  Monitor the stresses in the piles during driving with the dynamic test equipment to ensure the values do not exceed the values in 00520.20(d-3).  If necessary, reduce the driving energy by using additional cushions or reduce the energy output of the hammer to stay below the values in 00520.20(d-3).  If non-axial driving is indicated by dynamic test equipment measurements, immediately realign the driving system.

00520.43
Steel Piles520.43 Steel Piles:

(a)
General - Unless otherwise specified, furnish standard steel piles in the longest practical lengths.

(b)
Storage and Handling - Store and handle steel piles in ways that protect them from damage.  Bent or kinked piles will be rejected.

(c)
End Treatment - Cut pile ends square.

(d)
Reinforced Pile Tips - Install pile points, shoes or other tip reinforcement according to the manufacturer’s recommendations and Section 02520. 
(e)
Driving - During driving, protect the pile head with a fitted metal helmet.

(f)
Splices - Where splices are unavoidable, submit for approval their number, location and details.
(1)
Welded Splices - Make welded splices using a full penetration butt weld, as shown.  Comply with the welding procedures of AWS D1.1.

(2)
Mechanical Splices - Mechanical splices may be used if the splice transfers the full pile strength in compression, tension, and bending, according to working drawings submitted according to 00150.35(b-2) and approved by the Engineer.

(g)
Welding - Weld pile splices, pile tips, pile anchors, and other welded attachments to steel piles according to ANSI/AWS D1.1 "Structural Welding Code - Steel".

(1)
Splices - Splice joints for round piles shall conform to Joint B-U4a or C-U4a-GF(Single-Bevel Groove Weld) in D1.1 Figure 3.4. Weld back-up rings with a full penetration groove weld.

Splice joints for H-piles shall conform to Joint B-U3b or B-U3-GF (Double V-Groove Weld) in D1.1 Figure 3.4 for both the web and flange sections.  Joint B-U4a or C-U4a-GF may be substituted on the flange weld.  Provide access holes at the ends of the web in accordance with D1.1 Section 5.17.

(2)
Submittals - Prior to welding, submit the following for approval:

· A Welding Procedure Specification (WPS) for all pile welds, conforming to the limitations of D1.1 Table 4.5.  Both ASTM A36 and A252 Grade 1 and 2 may be treated as prequalified base metals under Group 1.  ASTM A252 Grade 3 will not be considered a prequalified base metal unless the steel has a Carbon Equivalent (CE) of 0.30% or less.  Develop a Procedure Qualification Record (PQR) for all welding using Grade 3 steel or present proof that the chemistry of the steel meets the CE requirements. 
· Qualification documents for each welder.  Use welders qualified according to D1.1 Section 4 for the position, process and pile diameter used on the job.

Do not begin welding without approval.

Following completion of all welding, submit the following:

· An inspection report stating that the welding under the Contract was performed according to D1.1.  The report shall include a review of the WPS, a review of welder qualifications and a report on visual inspection of the welds on the job site.  The inspection shall be signed by a Certified Welding Inspector (CWI) holding QC1 certification as defined in D1.1 Section 6.

· If the plans or Specifications call for additional inspection other than visual, include reports in the submittal.

(3)
Additional Testing - The Engineer may request additional nondestructive testing (NDT), such as radiography or ultrasonic testing of any or all welds.  If the additional testing identifies defects warranting rejection, perform repair and additional inspection at no additional cost to the Agency.  If the additional NDT does not identify defects warranting rejection, the Agency will bear the cost of the additional testing.  Radiographic and ultrasonic defect indications will be evaluated according to the statically loaded criteria of D1.1.

(h)
Cutoff Lengths - Cut off the tops of all permanent piles square and smooth at the elevation shown or as directed.  All cut-off pile becomes the property of the Contractor.  Dispose of according to 00310.43.  With approval, undamaged cutoffs may be used as pile extensions or welded together to form full length piles.  Steel pile cutoffs welded together, whether pile extensions or full length piles, shall not vary from a straight line more than 6 mm in 6 m (1/4 inch in 20 feet) measured along any edge of the pile.

All acceptable cutoffs and unused pile lengths remaining at completion of pile driving will be marked for identification by the Engineer as acceptable for use on other or future Agency projects if requested by the Contractor.

(i)
Capping - If required by the plans, cap steel piles with a steel plate of the size and shape shown.  Connect this cap to the pile according to the details shown.

00520.44
Prestressed Concrete Piles520.44 Prestressed Concrete Piles:
(a)
General - Furnish full-length prestressed concrete piles according to the Special Provisions and Section 00550.

(b)
Lifting, Storage and Transportation - Lift, store and transport prestressed concrete piles according to 00550.51.

(c)
Strength before Driving - Do not drive precast, prestressed concrete piles until the conditions of 00550.20(d) are met, and the Engineer gives consent to proceed.

(d)
Extensions or "Build-ups" - If additional driving is required beyond the order length, splice on pile extensions or build-ups as specified and directed.  Prestressed concrete pile cutoffs may be used as extensions if additional driving is not required.  Do not use pile cutoffs as extensions exceeding 1.5 m (5 feet) in length unless approved.

(1)
Epoxy - Dowel Method - Make splices of prestressed concrete piles to prestressed concrete piles and poured-in-place extensions or build-ups with the epoxy-dowel method, as shown or approved.

(2)
Mechanical Splices - Mechanical splices may be used subject to limitations of 00520.43(f).

(e)
Cutoffs - Cut off permanent prestressed concrete piles at the elevations shown or directed.  All cut-off lengths become the property of the Contractor.  Dispose of according to 00310.43.  Take care to prevent spalling of the concrete below the footing or pile cap.  Repair any damage to the piles at the Contractor's expense.

(f)
Finishing - Finish all exposed prestressed concrete pile surfaces to 0.3 m (1 foot) below ground surface according to 00550.49.

00520.45
Timber Piles520.45 Timber Piles:

(a)
General - Furnish full length treated timber piles according to the Special Provisions and 02120.20.  Cut the heads of piles back square to untreated wood before driving.  Provide a length of pile above the elevation of cutoff sufficient to permit the complete removal of all pile damaged by driving.  Splicing of timber piles will not be permitted.

(b)
Storage and Handling - Store and handle piles to avoid damage.  Avoid breaking the surface of treated piles.  Do not use cant hooks, dogs or pike poles on portions of the piles remaining in the completed work.  Give cuts or breaks in the surface of treated piles three brush coats of pentachlorophenol, hot creosote oil or other preservative from the QPL.  Pour pentachlorophenol, hot creosote oil or preservative from the QPL into all boltholes.  If the treatment is damaged so the integrity of the pile is in jeopardy, the pile will be rejected.  Furnish a replacement pile at no expense to the Agency.

(c)
Strapping - Strap timber piles with at least three straps as follows:

· One approximately 450 mm (18 inches) from the butt

· One approximately 600 mm (24 inches) from the butt

· One approximately 300 mm (12 inches) from the tip

Use straps manufactured according to 02120.30.  Wrap the strap around the pile once and fasten with a clip so crimped that the joint will have a tensile strength of at least 18 kN (4,100 pounds).  Install the straps after pressure treating the pile.

(d)
Reinforced Pile Tips - Provide metal tips and fasten securely to the pile when shown or specified.  Carefully shape the pile tip to secure an even, uniform bearing on the pile tip reinforcement.

(e)
Cutoffs - Saw timber piling to a plane parallel to the bottom of the structure at the elevation shown or as directed.  All cut-off materials become the property of the Contractor.  Dispose of according to 00310.43.

(f)
Capping - Cover timber pile heads not encased in concrete with alternate layers of hot asphalt and loosely woven fabric, using four applications of asphalt and three layers of fabric.  Make the cover at least 150 mm (6 inches) more in dimension than the diameter of the pile head.  Neatly fold down over the pile and secure by binding with not less than seven complete turns of commercial corrosion resistant wire (2.18 mm (13.5 gage) minimum diameter) held in place by large headed commercial corrosion resistant nails or staples.  Hot-dipped galvanized or stainless steel straps and clips conforming to 02120.30 may be used instead of commercial corrosion resistant wire.  Neatly trim the edges of the fabric projecting below the binding.

00520.46
Damaged or Defective Piles520.46 Damaged or Defective Piles - In addition to other specified requirements at Contractor's expense:

· Approval of a pile hammer shall not relieve the Contractor of responsibility for piles damaged from misalignment of the leads, failure of capblock or cushion materials, failure of splices, malfunctioning of the pile hammer or other improper construction methods.

· Piles damaged during installation will be considered unsatisfactory unless the nominal bearing resistance is proved by load tests performed by the Contractor.  If such tests indicate inadequate resistance, take corrective measures, such as the use of damaged piles at reduced resistance, installation of additional piles, strengthening of damaged piles, or replacement of damaged piles.

· A concrete pile will be considered defective if a visible crack appears around the entire periphery of the pile, or any other crack or defect is observed which is determined to affect the strength or performance of the pile.

· Do not place footing concrete until all piles within a footing are inspected by the Engineer.

Measurement
00520.80
Furnish Equipment for Driving Piles520.80 Furnish Equipment for Driving Piles - There will be no measurement for the work performed under this subsection.

00520.81
Furnish Steel, Prestressed Concrete and Timber Piles520.81 Furnish Steel, Prestressed Concrete and Timber Piles - Furnishing steel, prestressed concrete and timber piles will be measured on the length basis, per meter (foot), measured to the nearest meter (foot).  No allowance will be made for that length of pieces furnished by the Contractor to replace piles previously accepted by the Engineer, but that are subsequently damaged before completion of the Project.

(a)
Steel Piles - The quantity of steel piles will be the length of each pile remaining in the completed work, from the pile tip to the cutoff plane.

(b)
Prestressed Concrete and Timber Piles - The quantity of prestressed concrete and timber piles will be the sum of the lengths of piles of the types and lengths ordered, furnished according to these Specifications, and stockpiled in good condition at the work site.

00520.82
Drive Piles520.82 Drive Piles - Driving steel, prestressed concrete and timber piles will be measured on the unit basis, per pile.  

If preboring or jetting of piles is requested by the Contractor, it will not be measured, but will be considered incidental to the pay item "Drive          Piles".
If preboring is specified or directed, it will be measured on the length basis, to the nearest meter (foot).

If jetting is specified or directed, it will be measured on the unit basis, for each pile driven with the aid of jetting.
00520.83
Reinforced Pile Tips520.83 Reinforced Pile Tips - Reinforced pile tips will be measured on the unit basis, per each, for tips specified and installed on piles and accepted for payment.

00520.84
Load Tests520.84 Load Tests - Load tests to be will be measured on the unit basis, per each, for the number of specified load tests completed and accepted, except that load tests made at the option of the Contractor will not be included in the quantity measured for payment.

00520.85
Furnish Test Piles520.85 Furnish Test Piles - Test piles, including test piles remaining in the completed work, will be measured on the length basis for the total length shown, specified or approved, measured according to 00520.81.

00520.86
Drive Test Piles520.86 Drive Test Piles - Driving test piles, including test piles remaining in the completed work, will be measured on the unit basis, per each, for the total number of piles driven as shown, specified or approved.  All test piles will be driven under 00520.41(h).

00520.87
Pile Splices520.87 Pile Splices:
(a)
Steel Piles - No measurement will be made for splices to steel piles within the estimated lengths as listed in 00520.11 of the Special Provisions, as these splices will be considered incidental and included in the unit price for the pay item "Furnish       (Test) Piles".  Splices incorporated in the finished structure that were made to increase the length of the pile (1.5 m (5 feet) or more for estimated pile lengths of 18 m (60 feet) or less and 3 m (10 feet) or more for estimated pile lengths of over 18 m (60 feet)) beyond the estimated pile length will be paid at the Contract unit price for the item "________ Steel Pile Splices".  Only one splice will be paid for per pile.

(b)
Prestressed Concrete Piles and Timber Piles - No measurement will be made for splices shown or specified, as such splices are considered incidental and included in the unit price for the pay item "Furnish      (Test) Piles".  Other splices required to complete the work will be considered Extra Work and shall be performed according to Section 00196.

Payment
00520.90
General520.90 General - Payment at the Contract price per unit of measurement for the applicable pay item in 00520.91 will be payment in full for furnishing all materials, equipment, labor and incidentals necessary to complete the work.

Payment for driving piles will include payment for cutting off piles, treating and capping pile heads, attaching anchor brackets, lugs or other attachments, and finishing concrete piles.  Payment for splices required to drive piles to the specified length will be considered incidental to pay items 00520.91(b) and (d).  Payment for preboring, jetting, larger hammers, or construction of concrete pile extensions, build-ups and splices ordered by the Engineer, as a result of differing site conditions (see 00140.40) will be made on an Extra Work basis according to Section 00196.  Payment for steel pile splices required to increase pile length beyond the estimated length will be paid under 00520.91(i)).  No additional payment will be made for work needed to drive piles to minimum tip elevation as shown or specified.

00520.91
Pay Items520.91 Pay Items - Quantities accepted for payment will be paid for at the applicable Contract price per unit of measurement for each of the following pay items in the Schedule of Items:


Pay Item
Unit of Measurement


(a)
Furnish Pile Driving Equipment
Lump Sum


(b)
Furnish _____ Piles
m (Foot)


(c)
Furnish _____ Test Piles
m (Foot)


(d)
Drive _____ Piles
Each

 
(e)
Drive Test Piles
Each


(f)
Pile Load Test (static)
Each


(g)
Pile Load Test (dynamic)
Each


(h)
Reinforced Pile Tips
Each


(i)
_______ Steel Pile Splices
Each

Payment for Item (a) will be made at the lump sum price bid for this item as follows:  

· 75% of the amount bid will be paid when the equipment for driving piles is furnished and is satisfactorily driving piles

· The remaining 25% will be paid when the work of driving piles is complete and equipment has been moved from the site

The lump sum price bid will include the cost of furnishing all materials, equipment and labor necessary for transporting, erecting, maintaining, replacing any ordered equipment, dismantling and removing the entire pile driving equipment.  The cost of all materials and labor, including the manipulation of the pile driving equipment in connection with driving piles will be included in the unit price each for driven piles.  Furnishing equipment for driving sheet piling is not included in this work. Payment for this lump sum item includes the following:

· Resubmittal of wave equation analysis data if original data is rejected

· Replacing previously approved hammers if the hammers operate improperly

· All considerations when selecting the pile hammer size

In items (b),(c), (d) and (i) the type and size of pile will be inserted in the blank.

Payment for items (c) and (e) includes payment for any expense involved in driving piles which have not attained the required bearing resistance and are required to stand for a "set period".

Payment of item (h) includes payment for attaching the tips to the piles.

00520.92
Test Piles520.92 Test Piles - Test piles furnished and driven will only be paid for under items (c) and (e) above.

00520.93
Welding Inspection520.93 Welding Inspection - Welding inspection performed according to 00520.43(g-2) will be at the Contractor’s expense.
_1142328896.unknown

_1142329334.unknown

_1210749316.unknown

_1083472422.unknown

