


    WASTEWATER

    SCI


DUPLEX










   LIFT STATION

Specifications for SCI Duplex Lift Station   3  Phase

General


Supply and install (1) 3’ x 3’ x 8’ Concrete lift well with aluminum cover and duplex grinder pumps. 

Equipment
(2) Zoeller model J6840 Grinder pumps 2 HP, 3/60/208 VAC; (1) fiberglass outdoor duplex auto-reverse control panel; (4) weighted float switches with 25’ long cords; and (2) guide rail component sets. 25 GPM @ 10’ TDH.

Lift Well


(1) 36” x 36” x 8’ deep concrete castings. Concrete is minimum 4000 PSI @ 28 days, #4, grade 60 steel reinforcement. The joints are sealed with ConSeal CS231 water stop concrete sealant.

Limited 1 Year Warranty

Manufacturer warrants new product to be free from defects in material and workmanship under normal use and service, when properly used and maintained, for a period of one year.













3/28/2008

