
SECTION 02072PRIVATE 






  MINOR DEMOLITION FOR REMODELING

1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Removal of designated building equipment and fixtures.


.2

seq level2 \h \r0 

RELATED SECTIONS



A.
Section 01010 ‑ Summary of Work:
 



B.
Section 01700 ‑ Contract Closeout:  Project record documents.



.3

seq level2 \h \r0 

SUBMITTALS



A.
Submit under provisions of Section 01300.

.4
seq level2 \h \r0 
PROJECT RECORD DOCUMENTS



A.
Submit under provisions of Section 01700.



B.
Accurately record actual locations of capped utilities & subsurface obstructions.


.5

seq level2 \h \r0 

REGULATORY REQUIREMENTS



A.
Conform to applicable code for demolition work, safety of structure & dust control. 



B.
Obtain required permits from authorities.



C.
Notify affected utility companies before starting work and comply with their requirements.



D.
Do not close or obstruct egress width to exits.



E.
Do not disable or disrupt building fire or life safety systems without 3 day prior written notice to the Owner.



F.
Conform to procedures applicable when discovering hazardous or contaminated materials.



.6
seq level2 \h \r0 

seq level3 \h \r0 


SCHEDULING




A.
 Describe demolition removal procedures and schedule.
2 PART 2   EXECUTION


.6

PREPARATION



A.
Provide, erect, and maintain temporary barriers at work site




B.
Protect existing materials and Structures which are not to be demolished.


C.
Mark location of utilities.


.7

seq level2 \h \r0 

DEMOLITION REQUIREMENTS



A.
Conduct demolition to minimize interference with adjacent and occupied building areas.



B.
Cease operations immediately if structure appears to be in danger.  Notify Architect/Engineer.  Do not resume operations until directed.



C.
Maintain protected egress and access to the Work.


.8

seq level2 \h \r0 

DEMOLITION



A.
Disconnect remove and cap  designated utilities within demolition areas.




B.
Except where noted otherwise, remove demolished materials from site.  Do not burn or bury materials on site.



C.
Remove demolished materials from site as work progresses. Upon completion of work, leave areas in clean condition.



D.
Remove temporary Work.


END OF SECTION
PAGE  
Section 02072 Page 2 of 1

