
SECTION 02222PRIVATE 


EXCAVATION

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Excavation for slabs‑on‑grade and paving.



B.
Excavation for site structures.


.2

RELATED SECTIONS

A. Section 01400 ‑ Quality Control: Inspection of bearing surfaces.

B. Section 02223 ‑ Backfilling.

C.
Reference to General Conditions.


.3

FIELD MEASUREMENTS



A.
Verify that survey benchmark and intended elevations for the Work are as indicated.

2 PART 2   PRODUCTS




  Not Used.

3 PART 3   EXECUTION


.1

PREPARATION



A.
Identify required lines, levels, contours, and datum.



B.
Identify known underground, above ground, and aerial utilities.  Stake and flag locations.



C.
Protect above and below grade utilities which are to remain.



D.
Protect plant life, lawns, rock outcropping and other features remaining as a portion of final landscaping.



E.
Protect benchmarks, existing structures, fences, sidewalks, paving, and curbs from excavation equipment and vehicular traffic.


.2

EXCAVATION



A.
Underpin adjacent structures which may be damaged by excavation work, including utilities and pipe chases.



B.
Excavate subsoil required to accommodate foundations, paving.



C.
Grade top perimeter of excavation to prevent surface water from draining into excavation.



D.
Hand trim excavation.  Remove loose matter.



E.
Notify Architect/Engineer of unexpected subsurface conditions and discontinue affected Work in area until notified to resume work.



F.
Correct unauthorized excavation at no extra cost to Owner.



G.
Correct areas over‑excavated by error.



H.
Stockpile excavated material in area designated on site and remove excess material not being reused from site.


.3

FIELD QUALITY CONTROL



A.
Provide for visual inspection of bearing surfaces.



.4

PROTECTION



A.
Protect excavations by methods required to prevent cave‑in or loose soil from falling into excavation.



B.
Protect bottom of excavations and soil adjacent to and beneath foundation, from freezing.


END OF SECTION
PAGE  
Error! Main Document Only.
Section 02222 Page 2 of 2     

