
SECTION 02223PRIVATE 


BACKFILLING

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Consolidation and compaction.


.2

RELATED SECTIONS



A.
Section 01400 ‑ Quality Control: Testing Fill compaction.

B. Section 02225 – Trenching: Backfilling of utility trenches.



C.
Reference to General Conditions.


.3

REFERENCES



A.
ANSI/ASTM C136 ‑ Method for Sieve Analysis of Fine and Coarse Aggregates.



B.
ANSI/ASTM D698 ‑ Test Methods for Moisture‑Density Relations of Soils and Soil‑Aggregate Mixtures, Using 5.5 lb. (2.49 kg) Rammer and 12 inch (304.8 mm) Drop.



C.
ANSI/ASTM D1556 ‑ Test Method for Density of Soil in Place by the Sand‑Cone Method.



D.
ANSI/ASTM D1557 ‑ Test Methods for Moisture‑Density Relations of Soils and Soil‑Aggregate Mixtures Using 10 lb. (4.54 kg) Rammer and 18 inch (457 mm) Drop.


.4

SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Samples: Submit 10 lb. (4.5 kg) sample of fill to testing laboratory, in airtight containers.

2 PART 2   PRODUCTS


.1

FILL MATERIALS



A.
Type A – Crushed Limestone.



B.
Type C ‑ Sand: Natural river or bank sand; free of silt, clay, loam, friable or soluble materials, or organic matter; graded in accordance with ANSI/ASTM C136, within the following limits:




Sieve_Size




 Percent_Passing



No. 4 


 



100




   (4.75 mm)




No. 14


 



10 to 100




   (1.40 mm)




No. 50


 



5 to 90




   (300 micro m)




No. 100


 



4 to 30




   (150 micro m)




No. 200


 



0




   (75 micro m)


C.
Subsoil: Reused, free of gravel larger than 3 inch(75 mm) size, and debris.


.2

ACCESSORIES



A.
Vapor Retardant: 6-mil thick, polyethylene.

3 PART 3   EXECUTION


.1

EXAMINATION



A.
Verify fill materials to be reused are acceptable.



B.
Verify that trench bottom is acceptable.


.2

PREPARATION



A.
Generally, compact subgrade to density requirements for subsequent backfill materials.



B.
Prior to placement of aggregate base course material at paved areas, compact subsoil to 95 percent of its maximum dry density in accordance with ANSI/ASTM D698.


.3

BACKFILLING



A.
Backfill areas to contours and elevations with unfrozen materials.



B.
Systematically backfill to allow maximum time for natural settlement.  Do not backfill over porous, wet, frozen or spongy subgrade surfaces.



C.
Granular Fill: Place and compact materials in continuous layers not exceeding 6 inches compacted depth.



D.
Soil Fill: Place and compact material in continuous layers not exceeding 6 to 8 inches compacted depth.



E.
Employ a placement method that does not disturb or damage utilities in trenches.



F.
Maintain optimum moisture content of backfill materials to attain required compaction density.



G.
Make grade changes gradual.  Blend slope into level areas.



H.
Remove surplus backfill materials from site. 

I. Leave fill material stockpile areas completely free of excess fill materials.


.4

TOLERANCES



A.
Top Surface of Backfilling under Paved Areas: Plus or minus one inch (25 mm) from required elevations.


.5

FIELD QUALITY CONTROL



A.
Field inspection and testing will be performed under provisions of Section 01400.



B.
Tests and analysis of fill material will be performed in accordance with ANSI/ASTM D698 D1557 and with Section 01400.



C.
Compaction testing will be performed in accordance with ANSI/ASTM D1557 ANSI/ASTM D698 and with Section 01400.



D.
If tests indicate Work does not meet specified requirements, remove Work, replace and retest at no cost to Owner.



E.
Frequency of Tests: One per life per day.


.6

PROTECTION OF FINISHED WORK



A.
Protect finished Work under provisions of Section 01500. 



B.
Re-compact fills subjected to vehicular traffic.


END OF SECTION
1
Error! Main Document Only.
Section 02223 Page 3 of 3     

