
SECTION 02607PRIVATE 


MANHOLES AND COVERS

PART 1
GENERAL

.1
SECTION INCLUDES


A.
Monolithic concrete manholes with masonry transition to lid frame, covers, anchorage and accessories.
.2

seq level2 \h \r0 
PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION


A.
Section:  Placement of fabricated steel items.

.3

seq level2 \h \r0 
RELATED SECTIONS


A.
Section 02222 ‑ Excavating: Excavating for manholes and base pads.


B.
Section 02223 ‑ Backfilling: Backfilling after manhole installation.


C. 
Section 03300 ‑ Cast‑In‑Place Concrete.
.4

seq level2 \h \r0 
UNIT PRICE ‑ MEASUREMENT AND PAYMENT



Not Used
.5

seq level2 \h \r0 

seq level3 \h \r0 
REFERENCES


A.
ANSI/ASTM C55 ‑ Concrete Building Brick.


B.
ASTM A48 ‑ Gray Iron Castings.


C.
ASTM C478 ‑ Precast Reinforced Concrete Manhole Sections.


D.
ASTM C923 ‑ Resilient Connectors between Reinforced Concrete Manhole Structures and Pipes.


E.
ASTM D3753 ‑ Glass Fiber‑Reinforced Polyester Manholes.


F.
International Masonry Industry all-weather Council (IMIAC): Recommended Practices and Guide Specification for Cold Weather Masonry Construction.

.6

seq level2 \h \r0 
SUBMITTALS


A.
Submit under provisions of Section 01300. 


B.
Shop Drawings: Indicate manholes locations, elevations, piping, and sizes and elevations of penetrations.


C.
Product Data: Provide manhole covers, component construction, features, configuration, dimensions.

.7

seq level2 \h \r0 
QUALIFICATIONS


A.
Manufacturer:  Company specializing in manufacturing products specified in this section with minimum three years documented experience.

.8

seq level2 \h \r0 
ENVIRONMENTAL REQUIREMENTS


A.
Maintain materials and surrounding air temperature to minimum 50 degrees F (10 degrees C) prior to, during, and 48 hours after completion of masonry work.

seq level0 \h \r1 

seq level1 \h \r8 

seq level2 \h \r0 

seq level3 \h \r0 

seq level4 \h \r0 

seq level5 \h \r0 

seq level6 \h \r0 

seq level7 \h \r0 
PART 2

seq level1 \h \r0 

seq level2 \h \r0 
PRODUCTS

.1
seq level2 \h \r0 

A.
Lid and Frame: ASTM A48, Class 30B Cast iron construction, machined flat bearing surface. Reuse of lids and frames in permissible, following inspection and approval of the Engineer.
.2seq level2 \h \r0 
CONFIGURATION


A.
Shaft Construction:  Concentric with concentric eccentric cone top section; lipped male/female dry joints; sleeve to receive pipe conduit and  sections.


B.
Shape:  Cylindrical or Square.


C.
Minimum Clear Inside Dimensions: 48” x 48”. 


D.
Design Depth: As indicated.

E.
Clear Lid Opening: Match existing covers.
PART 3

seq level1 \h \r0 

seq level2 \h \r0 
EXECUTION

.1
seq level2 \h \r0 

A. Cut and fit for pipe.

END OF SECTION
PAGE  
Section 02607 Page 2 of 1

