
SECTION 02712PRIVATE 


FOUNDATION DRAINAGE SYSTEMS

1 PART 1 GENERAL


.1

SECTION INCLUDES



A.
Building perimeter, retaining wall and under slab‑on‑fill weep drainage system.



B.
Filter aggregate and fabric and bedding.


.2
seq level2 \h \r0 
PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION



A.
Section:  Placement of pipe sleeves in concrete sump collection pits foundation walls.


.3

seq level2 \h \r0 

PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION



A.
Section [_____‑__________]:  Supply of sewer pipe connection couplings  for placement by this Section.


.4

seq level2 \h \r0 

RELATED SECTIONS



A.
Section 02207 ‑ Aggregate Materials.



B.
Section [02225 ‑ Trenching] [02222 ‑ Excavating]:  Excavating for subdrainage system piping and surrounding filter aggregate.



C.
Section [02225 ‑ Trenching] [02223 ‑ Backfilling]:  Backfilling over filter aggregate, up to [subgrade elevation] [underside of fill under floor slab] [________].



D.
Section 02722 ‑ Storm Sewage System:
Connection to [weep drainage system] [[sump] [collection] [________] pit] [________________].



E.
Section 02732 ‑ Sanitary Sewage System.



F.
Section [______‑____________]:  Pipe outlet at [filter bed] [swale] [french drain pit] [municipal ditch] [________].



G.
Section [______‑____________]:  Concrete [sump] [collection] [________] pits.



H.
Section 05500 ‑ Metal Fabrications:  Access covers and frames [in floor slab] [________________] to cleanouts in weep drainage system.



I.
Section [______‑____________]:  [Waterproofing] [Dampproofing] with drainage capable protection board at vertical subgrade surfaces.



J.
Section [______‑____________]:
Sump pump.



K.
Section 15410 ‑ Plumbing Piping.


.5

seq level2 \h \r0 

UNIT PRICE ‑ BASIS OF MEASUREMENT



A.
Pipe and Fittings:




1.
Basis of Measurement:  By the linear [foot] [________] ([meter] [________]).




2.
Basis of Payment:  Includes [hand trimming] excavation, bedding, pipe and fittings, [filter aggregate,] [filter fabric,] connection to [municipal [storm] sewer] [[sump] [collection] pit] [________________].


.6

seq level2 \h \r0 

seq level3 \h \r0 

REFERENCES



A.
ASTM C4 ‑ Clay Drain Tile.



B.
ASTM C412 ‑ Concrete Drain Tile.



C.
ASTM C700 ‑ Vitrified Clay Pipe, Extra Strength, Standard Strength, and Perforated.



D.
ASTM D2311 ‑ Perforated, Homogeneous Bituminized Fiber Pipe for General Drainage.



E.
ASTM D2729 ‑ Poly(Vinyl Chloride) (PVC) Sewer Pipe and Fittings.


.7

seq level2 \h \r0 

DEFINITIONS



A.
Bedding:
Fill placed under, beside and directly over pipe, prior to subsequent backfill operations.


.8

seq level2 \h \r0 

SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Shop Drawings:  Indicate dimensions, layout of piping, high and low points of pipe inverts, gradient of slope between corners and intersections.



C.
Product Data:  Provide data on pipe, pipe accessories. 



D.
Manufacturer's Certificate:  Certify that products  meet or exceed specified requirements.


.9
seq level2 \h \r0 
PROJECT RECORD DOCUMENTS



A.
Submit documents under provisions of Section [01700.] [01720.]



B.
Record location of pipe runs, connections, cleanouts and principle invert elevations.


.10

seq level2 \h \r0 
REGULATORY REQUIREMENTS



A.
Conform to [applicable] [___________] code for [materials and] installation of the work of this section.


.11

seq level2 \h \r0 
FIELD MEASUREMENTS



A.
Verify that field measurements and elevations are as [indicated] [instructed by the manufacturer].


.12

seq level2 \h \r0 
COORDINATION



A.
Coordinate work under provisions of Section [01039.] [________.]



B.
Coordinate the Work with connection to [municipal sewer utility service] [________________], and trenching.

2

seq level1 \h \r0 

seq level2 \h \r0  PART 2 PRODUCTS


.1

MANUFACTURERS ‑ PIPE MATERIALS



A.
[__________________________________] Product [_________].



B.
[__________________________________] Product [_________].



C.
[__________________________________] Product [_________].



D.
Substitutions: Under provisions of Section [01600.] [________.]


.2

seq level2 \h \r0 

PIPE MATERIALS



A.
Polyvinyl Chloride Pipe:
ASTM D2729; plain end, [4] [6] [____] inch ([100] [150] [____] mm) inside diameter; with required fittings.


****** [OR] ******



A.
Bituminous Fiber Pipe:  ASTM D2311 with Type [TJ ‑ tapered pipe end and coupling] [BJ ‑ split collar or internal coupling] joint; [4] [6] [____] inch ([100] [150] [____] mm) inside diameter; with required fittings.


****** [OR] ******



A.
Clay Pipe:  ASTM C4; [Standard] [Extra Quality] [Heavy Duty], [4] [6] [____] inch ([100] [150] [____] mm) inside diameter, with required fittings.


****** [OR] ******



A.
Corrugated Plastic Tubing:  Flexible type; [4] [3] [____] inch ([100] [75] [____] mm) diameter, with required fittings.



B.
Use [perforated] [unperforated] pipe at subdrainage system; unperforated through sleeved walls.


.3
seq level2 \h \r0 
FILTER AGGREGATE AND BEDDING



A.
Filter Aggregate [and Bedding] Materials:  Fill Type [A1] [A2] [A3] as specified in Section [02207] [________].


****** [OR] ******



A.
Filter Sand [and Bedding] Materials:
Fill Type [A4] [____] as specified in Section [02207.] [________.]


.4

seq level2 \h \r0 

ACCESSORIES



A.
Pipe Coupling:
Solid [plastic.] [________.]


****** [OR] ******



A.
Joint Cover:
No. 15 30 asphalt saturated roofing felt 10 mil (0.25 mm) thick polyethylene.



B.
Filter Fabric:  Water pervious type, black polyolefin polyester manufactured by.



C.
Sleeve:  type for foundation wall.

3

seq level1 \h \r0 

seq level2 \h \r0  PART 3 EXECUTION


.1

EXAMINATION



A.
Verify that trench cut excavated base is ready to receive work and excavations, dimensions, and elevations are as indicated on layout Drawings.


.2

seq level2 \h \r0 

PREPARATION



A.
Hand trim excavations to required elevations.  Correct over excavation with [Type [A1] [A4]  aggregate. lean concrete. 



B.
Remove large stones or other hard matter which could damage drainage piping or impede consistent backfilling or compaction.


.3
seq level2 \h \r0 
INSTALLATION



A.
Install [and join] pipe and pipe fittings in accordance with pipe manufacturer's instructions.



B.
Place drainage tile on minimum [____] inch ([____] mm) deep bed of [Type [A1] [A4] [____]] filter aggregate.


****** [OR] ******



B.
Place drainage tile on clean cut subsoil.



C.
Lay pipe to slope gradients noted on [Drawings] [shop drawings]; with maximum variation from true slope of [1/8] [____] inch ([3] [____] mm) in [10] [____] feet ([3] [____] m).



D.
Loosely butt pipe ends.  Place joint cover strip [12] [____] inches ([300] [____] mm) wide, around pipe diameter centered over joint.


****** [OR] ******



D.
Place pipe with perforations facing down.  Mechanically join pipe ends.



E.
[Install pipe couplings.]



F.
Install [Type [A1] [A4] [____]] aggregate at sides, over joint [covers] and top of pipe.  Provide top cover compacted thickness of [12] [____] inches ([300] [____] mm).



G.
[Place filter fabric over levelled top surface of aggregate cover prior to subsequent backfilling operations.]



H.
Place aggregate in maximum [4] [6] inch ([100] [150] [____] mm) lifts, consolidating each lift.



I.
Refer to Section 02223 for compaction requirements.  Do not displace or damage pipe when compacting.



J.
Connect to storm sewer system sump pits with unperforated pipe through installed sleeves.


.4
seq level2 \h \r0 
FIELD QUALITY CONTROL



A.
Field inspection will be performed under provisions of Section 01400.



B.
Request inspection prior to and immediately after placing aggregate cover over pipe.


.5
seq level2 \h \r0 
PROTECTION



A.
Protect finished installation under provisions of Section 01500.



B.
Protect pipe and aggregate cover from damage or displacement until backfilling operation begins.


.6
seq level2 \h \r0 
SCHEDULE



A.
Perimeter Drainage: At building exterior perimeter, on both sides of dividing fire wall foundation, and surrounding elevator pit foundation walls; drain to collection pit at north‑east corner of crawl space.



B.
Basement Floor Slab Drainage: Underside of slab, in position pipe in rows 6 feet on center; sloping to drain at 1/4 inch per foot to sump pit.


END OF SECTION
PAGE  
Section 02712 Page 1 of 5

