
SECTION 02722PRIVATE 


SITE STORM SEWERAGE SYSTEMS

1 PART 1 GENERAL


.1
SECTION INCLUDES



A.
Site storm sewerage drainage piping, fittings and accessories, and bedding.



B.
Connection of building storm water drainage system to [municipal sewers] [________________].



C.
[Catch basins,] [Paved area drainage,] [Site surface drainage,] [and] [________________].


.2

seq level2 \h \r0 
PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION



A.
Section [_____‑__________]:  Placement of pipe sleeves in concrete [foundation walls] [________________].


.3

seq level2 \h \r0 
PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION



A.
Section [_____‑__________]:  Supply of connection devices to [building] [and] [municipal] sewer piping for placement by this Section.


.4

seq level2 \h \r0 
RELATED SECTIONS



A.
Section [02225 ‑ Trenching] [02222 ‑ Excavating]:  Excavating for sewer system piping.



B.
Section [02225 ‑ Trenching] [02223 ‑ Backfilling]:  Backfilling over [piping] [granular pipe covering] up to [subgrade elevation] [underside of fill under [paving] [________] slab] [________].



C.
Section 02607 ‑ Manholes and Covers.



D.
Section 02712 ‑ Foundation Drainage System:  Termination of subdrainage tile system for connection to Work of this Section.



E.
Section 02732 ‑ Site Sanitary Sewerage System.



F.
[Section [_____‑__________]:
Sleeved concrete work for storm drainage piping.]



G.
Section [______‑____________]:  Concrete [sump] [collection] [________] pits.



H.
Section 03300 ‑ Cast‑in‑Place Concrete:  Concrete type for [catch basin] [cleanout] [head wall] base pad construction.



I.
Section [______‑____________]:
Sump pump connection.


.5

seq level2 \h \r0 
UNIT PRICE ‑ BASIS OF MEASUREMENT



A.
Pipe and Fittings:




1.
Basis of Measurement:  By the linear [foot] [________] ([meter] [________]).




2.
Basis of Payment:  Includes [hand trimming] excavating, bedding, pipe and fittings, [granular cover,] connection to building service piping and to [municipal sewer] [________________].



B.seq level3 \h \r0 
Catch Basin and Cleanout:




1.
Basis of Measurement:  By the [unit] [________] for a nominal depth of [____] feet ([____] m).




2.
Basis of Payment:  Includes [hand trimming] excavation, bedding, [foundation pad,] unit installation with accessories, connection to sewer piping.


.6

seq level2 \h \r0 

seq level3 \h \r0 
REFERENCES



A.
AASHTO M36 ‑ Metallic (Zinc or Aluminum) Coated Corrugated Steel Culverts and Underdrains.



B.
AASHTO T180 ‑ Moisture‑Density Relations of Soils Using a 10‑lb (4.54 kg) Rammer and an 18‑in. (457 mm) Drop.



C.
ANSI/ASTM A74 ‑ Cast Iron Soil Pipe and Fittings.



D.
ANSI/ASTM C12 ‑ Practice for Installing Vitrified Clay Pipe Lines.



E.
ANSI/ASTM C14 ‑ Concrete Sewer, Storm Drain, and Culvert Pipe.



F.
ANSI/ASTM C76 ‑ Reinforced Concrete Culvert, Storm Drain, and Sewer Pipe.



G.
ANSI/ASTM C425 ‑ Compression Joints for Vitrified Clay Pipe and Fittings.



H.
ANSI/ASTM C443 ‑ Joints for Circular Concrete Sewer and Culvert Pipe, Using Rubber Gaskets.



I.
ASTM C564 ‑ Rubber Gaskets for Cast Iron Soil Pipe and Fittings.



J.
ANSI/ASTM D698 ‑ Test Methods for Moisture‑Density Relations of Soils and Soil‑Aggregate Mixtures, Using 5.5 lb (2.49 Kg) Rammer and 12 inch (304.8 mm) Drop.



K.
ANSI/ASTM D1557 ‑ Test Methods for Moisture‑Density Relations of Soils and Soil‑Aggregate Mixtures Using 10 lb (4.54 Kg) Rammer and 18 inch (457 mm) Drop.



L.
ANSI/ASTM D2321 ‑ Recommended Practice for Underground Installation of Flexible Thermoplastic Sewer Pipe.



M.
ANSI/ASTM D2729 ‑ Poly(Vinyl Chloride) (PVC) Sewer Pipe and Fittings.



N.
ANSI/ASTM D2751 ‑ Acrylonitrile‑Butadiene‑Styrene (ABS) Sewer Pipe and Fittings.



O.
ANSI/ASTM D3033 ‑ Type PSP Poly(Vinyl Chloride) (PVC) Sewer Pipe and Fittings.



P.
ANSI/ASTM D3034 ‑ Type PSM Poly(Vinyl Chloride) (PVC) Sewer Pipe and Fittings.



Q.
ASTM C700 ‑ Vitrified Clay Pipe, Extra Strength, Standard Strength and Perforated.



R.
ASTM D2922 ‑ Test Methods for Density of Soil and Soil‑Aggregate in Place by Nuclear Methods (Shallow Depth).



S.
ASTM D3017 ‑ Test Methods for Moisture Content of Soil and Soil‑Aggregate Mixtures.


.7

seq level2 \h \r0 
DEFINITIONS



A.
Bedding:
Fill placed under, beside and directly over pipe, prior to subsequent backfill operations.


.8

seq level2 \h \r0 
SUBMITTALS



A.
Submit under provisions of Section [01300.] [________.]



B.
Product Data:  Provide data indicating pipe, pipe accessories, and [________].



C.
Manufacturer's Installation Instructions:  Indicate special procedures required to install Products specified.



D.
Manufacturer's Certificate:  Certify that [products] [________] meet or exceed [specified requirements] [________].


.9

seq level2 \h \r0 
PROJECT RECORD DOCUMENTS



A.
Submit under provisions of Section [01700.] [________.]



B.
Accurately record actual locations of pipe runs, connections, [catch basins,] [cleanouts,] and invert elevations.



C.
[Identify and describe unexpected variations to subsoil conditions or discovery of uncharted utilities.]


.10

seq level2 \h \r0 
REGULATORY REQUIREMENTS



A.
Conform to [applicable] [___________] code for [materials and] installation of the Work of this section.


.11

seq level2 \h \r0 
FIELD MEASUREMENTS



A.
Verify that field measurements and elevations are as [indicated] [instructed by the manufacturer].


.12

seq level2 \h \r0 
COORDINATION



A.
Coordinate work under provisions of Section [01039.] [________.]



B.
Coordinate the Work with termination of storm sewer connection outside building, connection to [municipal sewer utility service] [________________], and trenching.

2

seq level1 \h \r0 

seq level2 \h \r0  PART 2  PRODUCTS


.1
SEWER PIPE MATERIALS



A.
Cast Iron Soil Pipe:
ANSI/ASTM A74, [Extra Heavy] [Service] type, inside nominal diameter of [____] inches ([____] mm), [bell and spigot] [plain] end.



B.
Cast Iron Soil Pipe Joint Device:  ASTM C564, rubber gasket joint devices.


****** [OR] ******



A.
Vitrified Clay Pipe:
ANSI/ASTM C700, [Extra] [Standard] strength, un‑perforated; inside nominal diameter of [____] inches ([____] mm), [bell and spigot] [plain] end joints.



B.
Vitrified Clay Pipe Joint Device:  ANSI/ASTM C425, compression gasket joint.


****** [OR] ******



A.
Concrete Pipe:  ANSI/ASTM C14, Class [1] [2] [3]; un‑reinforced; inside nominal diameter of [____] inches ([____] mm), [bell and spigot] [plain] [________] end 




joints.



B.
Concrete Pipe Joint Devices:
ANSI/ASTM C443, rubber compression gasket joint.


****** [OR] ******



A.
Reinforced Concrete Pipe:  ANSI/ASTM C76, Class [I] [II] [III] [IV] [V] with Wall Type [A] [B] [C]; [mesh] [bar] reinforcement; inside nominal diameter of [____] inches ([____] mm), [bell and spigot] [________] end joints.



B.
Reinforced Concrete Pipe Joint Device:  ANSI/ASTM C443, rubber compression gasket joint.


****** [OR] ******



A.
Plastic Pipe:  ANSI/ASTM D2751, SDR [23.5] [35] [42], Acrylonitrile‑Butadiene‑Styrene (ABS) material; inside nominal diameter of [____] inches ([____] mm), bell and spigot style solvent sealed joint end.


****** [OR] ******



A.
Plastic Pipe:  ANSI/ASTM D3033, Type PSP, Poly(Vinyl Chloride) (PVC) material; inside nominal diameter of [____] inches ([____] mm), bell and spigot style solvent sealed joint end.


****** [OR] ******



A.
Plastic Pipe:  ANSI/ASTM D2729, polyvinyl chloride (PVC) material; inside nominal diameter of [____] inches ([____] mm), bell and spigot solvent sealed joint end.


****** [OR] ******



A.
Plastic Pipe:  ANSI/ASTM D3034, Type PSM, Poly(Vinyl Chloride) (PVC) material; inside nominal diameter of [____] inches ([____] mm), bell and spigot style rubber ring sealed gasket joint.


****** [OR] ******



A.
Corrugated Steel Pipe:  AASHTO M36 Type [I] [II] [III]; nominal diameter of [____] inches ([____] mm), [________] end joints; [helical lock seam;] coated inside and out with [0.050] [____] inch ([1.3] [____] mm) thick bituminous coating.



B.
Coupling Bands:  Galvanized steel, 0.052 inches (1.3 mm) thick x 10 (250 mm) inches wide; connected with two neoprene "O" ring gaskets and two galvanized steel bolts.


.2

seq level2 \h \r0 
PIPE ACCESSORIES



A.
Pipe Joints:
Mechanical clamp ring type, [stainless steel] [________] expanding and contracting sleeve, [neoprene] [________] ribbed gasket for positive seal.



B.
Fittings:  Same material as pipe molded or formed to suit pipe size and end design, in required tee, bends, elbows, cleanouts, reducers, traps and other configurations required.



C.
Filter Fabric:  Water pervious type, Black [polyolefin] [polyester]; [________] manufactured by [____________].



D.
Trace Wire:  Magnetic detectable conductor, [clear] [brightly colored] plastic covering, imprinted with "[Storm Sewer Service] [________]" in large letters.


.3

seq level2 \h \r0 
CATCH BASINS



A.
Lid and Frame:  Cast iron construction, hinged lid, [________] manufactured by [____________]:




1.
Lid Design:  [Linear grill] [Checkerboard grill] [________________].




2.
Nominal Lid and Frame Size:  [__x__] inch ([__x__] mm).



B.seq level3 \h \r0 
Shaft Construction and [Concentric] [Eccentric] Cone Top Section:  Reinforced [precast] [cast‑in‑place] concrete pipe sections, lipped male/female [dry] joints, nominal shaft diameter of [____] inches ([____] mm); [________] manufactured by [____________].



C.
Base Pad:  Cast‑in‑place concrete of type specified in Section [03300.] [________.]


.4

seq level2 \h \r0 
CLEANOUTS



A.
Cleanout Lid and Frame:  Cast iron construction, hinged lid, [________] manufactured by [____________]:




1.
Lid Design:  [Linear grill] [Checkerboard grill] [________________].




2.
Nominal Lid and Frame Size:  [__x__] inch ([__x__] mm).



B.seq level3 \h \r0 
Shaft Construction and [Concentric] [Eccentric] Cone Top Section:  Reinforced [precast] [cast‑in‑place] concrete pipe sections, lipped male/female [dry] joints, nominal shaft diameter of [____] inches ([____] mm); [________] manufactured by [____________].



C.
Base Pad:  Cast‑in‑place concrete of type specified in Section [03300.] [________.]


.5

seq level2 \h \r0 
BEDDING MATERIALS



A.
Bedding:
Fill Type [A1] [A2] [A3] [A4] as specified in Section [02207.] [________.]

3

seq level1 \h \r0 

seq level2 \h \r0  PART 3 EXECUTION


.1
EXAMINATION



A.
Verify that [trench cut] [excavation base] is ready to receive work and excavations, dimensions, and elevations are as indicated on [layout] drawings.


.2

seq level2 \h \r0 
PREPARATION



A.
Hand trim excavations to required elevations.  Correct over excavation with [[fine] [course] aggregate] [lean concrete].



B.
Remove large stones or other hard matter which could damage piping or impede consistent backfilling or compaction.


.3

seq level2 \h \r0 
BEDDING



A.
Excavate pipe trench in accordance with Section [02225] [________] for work of this section.  Hand trim excavation for accurate placement of pipe to elevations indicated.



B.
Place bedding material at trench bottom, level materials in continuous layer not exceeding [6] [8] [____] inches ([150] [200] [____] mm) compacted depth.



C.
Maintain optimum moisture content of bedding material to attain required compaction density.


.4

seq level2 \h \r0 
INSTALLATION ‑ PIPE



A.
Install pipe, fittings, and accessories in accordance with [ASTM C12] [ASTM D2321] [and manufacturer's instructions].  Seal joints watertight.



B.
Place pipe on minimum [____] inch ([____] mm) deep bed of [Type [____]] filter aggregate.



C.
Lay pipe to slope gradients noted on [layout] drawings; with maximum variation from true slope of [1/8] [____] inch ([3] [____] mm) in [10] [____] feet ([3] [____] m).



D.
Install aggregate at sides [and over top of pipe].  [Provide top cover to minimum compacted thickness of [12] [____] inches ([300] [____] mm)], compact to [95] [____] percent].



E.
Refer to Section [02225] [________] for trenching requirements.  Do not displace or damage pipe when compacting.



F.
Refer to Section [02607] [________] for manhole requirements.



G.
Connect to [building [collection] [sump] [________] pits,] [building sewer outlet,] [municipal storm sewer system,] [manholes,] [________] [, through installed sleeves].



H.
[Install trace wire continuous [over top of pipe.] [buried [6] [____] inches ([150] [____] mm) below finish grade, above pipe line; coordinate with Section [02223] [02225].]


.5

seq level2 \h \r0 
INSTALLATION ‑ CATCH BASINS AND CLEANOUTS



A.
Form bottom of excavation clean and smooth to correct elevation.



B.
Form and place cast‑in‑place concrete base pad, with provision for storm sewer pipe end sections.



C.
Level top surface of base pad to receive concrete shaft sections, sleeved to receive storm sewer pipe sections.



D.
Establish elevations and pipe inverts for inlets and outlets as indicated.



E.
Mount lid and frame level in grout, secured to top cone section to elevation indicated.


.6

seq level2 \h \r0 
FIELD QUALITY CONTROL



A.
Field inspection [and testing] will be performed under provisions of Section [01400.] [________.]



B.
Request inspection prior to [and immediately after] placing aggregate cover over pipe.



C.
Compaction testing will be performed in accordance with [ANSI/ASTM D1557.] [ANSI/ASTM D698.] [AASHTO T180.] [ASTM D2922.] [ASTM D3017.]



D.
If tests indicate Work does not meet specified requirements, [remove Work, replace and retest.] [refer to Section [01019] [01025] Defect Assessment.]



E.
Frequency of Tests:  [________________].



F.
Pressure Test:
Test in accordance with [________].



G.
Infiltration Test:
Test in accordance with [________].



H.
Deflection Test:  Test in accordance with [________].


.7

seq level2 \h \r0 
PROTECTION



A.
Protect finished Work under provisions of Section [01500.] [________.]



B.
Protect pipe and aggregate cover from damage or displacement until backfilling operation is in progress.


.8

seq level2 \h \r0 
SCHEDULE



A.
Storm Sewer Main:  From 5 feet beyond north building wall, to municipal sewer under Peachtree Boulevard; 12 inch size; cast iron under the parking areas, vitreous clay elsewhere.



B.
Storm Sewer Branch Lines:  Connect catch basins at various site locations with intersection of main sewer line near sidewalk on Center Avenue.  Sizes noted on drawings.


END OF SECTION

Section 02722 Page 1 of 9

