
SECTION 02831PRIVATE 


CHAIN LINK FENCES AND GATES

1 PART 1 GENERAL


.1

SECTION INCLUDES



A.
Fence framework, fabric, and accessories.



B.
Excavation for post bases; concrete foundation for posts. 



C.
Manual gates and related hardware.


.2

RELATED SECTIONS





Not Used


.3

UNIT PRICE ‑ MEASUREMENT AND PAYMENT





Not Used


.4

REFERENCES



A.
ANSI/ASTM A123 ‑ Zinc Hot Dip Galvanized Coatings on Iron and Steel Products.



B.
ANSI/ASTM F567 ‑ Installation of Chain‑Link Fence.



C.
ASTM A116 ‑ Zinc‑Coated (Galvanized) Steel Woven Wire Fence Fabric.



D.
ASTM A120 ‑ Pipe, Steel, Black and Hot‑Dipped Zinc Coated (Galvanized) Welded and Seamless, for Ordinary Uses.



E.
ASTM A153 ‑ Zinc Coating (Hot‑Dip) on Iron and Steel Hardware.



F.
ASTM A392 ‑ Zinc‑Coated Steel Chain‑Link Fence Fabric.



G.
ASTM A428 ‑ Weight of Coating on Aluminum‑Coated Iron or Steel Articles.



H.
ASTM A569 ‑ Steel, Carbon (0.15 Maximum Percent), Hot‑Rolled Sheet and Strip Commercial Quality.



I.
ASTM A585 ‑ Aluminum Coated Steel Barbed Wire.



J.
ASTM C94 ‑ Ready‑mixed Concrete.

K. Chain Link Fence Manufacturers Institute (CLFMI) ‑ Product Manual.



L. FS RR‑F‑191 ‑ Fencing, Wire and Post Metal (and Gates, Chain Link Fence Fabric, and Accessories).


.5

SYSTEM DESCRIPTION



A.
Fence Height:  See Drawings.



B.
Line Post Spacing:  At intervals not exceeding 10 feet.


.6

SUBMITTALS



A.
Submit under provisions of Section 01300. 



B.
Shop Drawings:  Indicate plan layout, spacing of components, post foundation dimensions, hardware anchorage, and schedule of components.



C.
Product Data:  Provide data on fabric, posts, accessories, fittings and hardware.


.7

PROJECT RECORD DOCUMENTS






Not Used


.8

QUALITY ASSURANCE



A.
Perform Work in accordance with manufacturer's instructions.





.9

QUALIFICATIONS



A.
Manufacturer: Company specializing in manufacturing the products specified in this Section with minimum three years documented experience.


.10
FIELD MEASUREMENTS



A.
Verify that field measurements are as indicated (on shop drawings). 

2 PART 2 PRODUCTS


.1

MATERIALS AND COMPONENTS



A.
Materials and Components:  Conform to CLFMI Product Manual.



B.
Fabric Size:
CLFMI Standard Industrial, Heavy Residential. 



C.
Intermediate Posts:  Type I round.



D.
Terminal, Corner, Rail, Brace, and Gate Posts:  Type I, II round.


.2

MATERIALS






Not Used


.3

COMPONENTS




Not Used



.4

ACCESSORIES



A.
Caps:  Cast steel galvanized; sized to post diameter, set screw retainer.



B.
Fittings:  Sleeves, bands, clips, rail ends, tension bars, fasteners and fittings; steel.





C.
Gate Hardware: Gate stop and drop rod  galvanized track assembly locking.



.5

FINISHES



A.
Components and Fabric:  Galvanized to ANSI/ASTM A123; [2.0 oz/sq ft coating.

3 PART 3 EXECUTION


.1

INSTALLATION



A.
Install framework, fabric, accessories and gates in accordance with manufacturer's instructions.



B.
Set posts plumb, in concrete footings with top of footing 2 inches above finish grade.  Slope top of concrete for water runoff.



C.
Line Post Footing Depth Below Finish Grade:  2 feet.



D.
Corner, Gate and Terminal Post Footing Depth Below Finish Grade:   3 feet.



E.
Brace each gate and corner post to adjacent line post with horizontal center brace rail.  Install brace rail, one bay from end and gate posts.



F.
Provide top rail through line post tops and splice with 6-inch long rail sleeves.



G.
Install brace rail on corner gate leaves.



H.
Stretch fabric between terminal posts or at intervals of 100 feet maximum, whichever is less.



I.
Position bottom of fabric 2 inches above finished grade.



J.
Fasten fabric to top rail, line posts, braces, and bottom tension wire with tie wire at maximum 15 inches (380 mm) on centers.



K.
Attach fabric to end, corner, and gate posts with tension bars and tension bar clips.



L.
Install bottom tension wire strap stretched taut between terminal posts.



M.
Install support arms sloped inward outward and attach barbed wire; tension and secure.




N.
Install sliding gate with fabric to match fence.  Provide locking hardware.


.2

ERECTION TOLERANCES



A.
Maximum Variation From Plumb:  ¼ inch.



B.
Maximum Offset From True Position:  1 inch.



C.
Components shall not infringe adjacent property lines.


.3

SCHEDULES





Not Used


END OF SECTION
PAGE  
Error! Main Document Only.
Section 02831 Page 4 of 4     

