
SECTION 04300PRIVATE 


UNIT MASONRY SYSTEM

1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Concrete masonry Brick units.



B.
Prefaced concrete masonry.



C.
Reinforcement, anchorage, and accessories.


.2 seq level2 \h \r0 
PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION



A.
Section 05210 ‑ Steel Joists: Placement of steel bearing pads for joists.



B.
Section 05500 ‑ Metal Fabrications: Placement of loose steel lintels.



C.
Section 07620 ‑ Flashing and Sheet Metal: Placement of reglets for flashing.


.3
seq level2 \h \r0 
RELATED SECTIONS



A.
Section 01400 ‑ Quality Control: Testing Laboratory Services.



B.
Section 04100 ‑ Mortar: Mortar and grout.



C.
Section 07216 ‑ Granular Insulation: Loose fill insulation for masonry unit cores.



D.
Section 07900 ‑ Joint Sealers: Rod and sealant at control and expansion joints.



seq level0 \h \r1 

seq level1 \h \r5 

seq level2 \h \r1 

seq level3 \h \r0 

seq level4 \h \r0 

seq level5 \h \r0 

seq level6 \h \r0 

seq level7 \h \r0 

.4
seq level2 \h \r0 
REFERENCES



A.
ANSI/ASTM A82 ‑ Cold‑Drawn Steel Wire for Concrete Reinforcement.



B.
ANSI/ASTM C34 ‑ Structural Clay Load Bearing Wall Tile.



C.
ANSI/ASTM C55 ‑ Concrete Building Brick.



D.
ANSI/ASTM C56 ‑ Structural Clay Non‑Load Bearing Tile.



E.
ANSI/ASTM C73 ‑ Calcium Silicate Face Brick (Sand‑Lime Brick).



F.
ANSI/ASTM C126 ‑ Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units.



G.
ANSI/ASTM C212 ‑ Structural Clay Facing Tile.



H.
ANSI/ASTM C216 ‑ Facing Brick (Solid Masonry Units Made From Clay or Shale).



I.
ANSI/ASTM C315 ‑ Clay Flue Linings.



J.
ANSI/ASTM C530 ‑ Structural Clay Non‑Load Bearing Screen Tile.



K.
ANSI/ASTM C652 ‑ Hollow Brick (Hollow Masonry Units Made From Clay or Shale).



L.
ASTM A123 ‑ Zinc (Hot‑Dip Galvanized) Coatings on Iron and Steel Products.



M.
ASTM A167 ‑ Stainless and Heat‑Resisting Chromium‑Nickel Steel Plate.



N.
ASTM A525 ‑ Steel Sheet, Zinc Coated, (Galvanized) by the Hot‑Dip Process.



O.
ASTM A580 ‑ Stainless and Heat‑Resisting Steel Wire.



P.
ASTM A615 ‑ Deformed and Plain Billet Steel Bars for Concrete Reinforcement.



Q.
ASTM B370 ‑ Copper Sheet and Strip for Building 




Construction.



R.
ASTM C27 ‑ Fireclay and High‑Aluminum Refractory Brick.



S.
ASTM C62 ‑ Building Brick (Solid Masonry Units Made From Clay or Shale).



T.
ASTM C90 ‑ Hollow Load Bearing Concrete Masonry Units.



U.
ASTM C129 ‑ Non‑Load Bearing Concrete Masonry Units.



V.
ASTM C145 ‑ Solid Load Bearing Concrete Masonry Units.



W.
ASTM C744 ‑ Prefaced Concrete and Calcium Silicate Masonry Units.



X.
IMIAC ‑ International Masonry Industry all-weather Council: Recommended Practices and Guide Specification for Cold Weather Masonry Construction.



Y.
UL ‑ Underwriters' Laboratories.


.5
seq level2 \h \r0 
SUBMITTALS



A.
Submit product data for decorative prefaced masonry units and fabricated wire reinforcement.



B.
Submit samples under provisions of Section 01300.



C.
Submit four samples of face brick, prefaced block units to illustrate color, texture and extremes of color range. (Brick to match existing).


.6
seq level2 \h \r0 
DELIVERY, STORAGE, AND HANDLING



A.
Deliver products to site under provisions of Section 01600.



B.
Store and protect products under provisions of Section 01600.



C.
Accept prefaced block units on site. Inspect for damage.


.7 seq level2 \h \r0 
ENVIRONMENTAL REQUIREMENTS



A.
Maintain materials and surrounding air temperature to minimum 50 degrees F (10 degrees C) prior to, during, and 48 hours after completion of masonry work.


.8
seq level2 \h \r0 
SEQUENCING AND SCHEDULING



A.
Coordinate work under provisions of Section 01040. 


.9
seq level2 \h \r0 
EXTRA MATERIALS



A.
Submit under provisions of Section 01700.



B.
Furnish 50 of each size, color, and type of prefaced units.

2

seq level1 \h \r0 

seq level2 \h \r0  PART 2   PRODUCTS


.1
seq level2 \h \r0 
CONCRETE MASONRY UNITS



A.
Hollow  Non‑Load Bearing Block Units: ASTM C129, Type I ‑ Moisture Controlled; normal weight.



B.
Decorative Block Units: ASTM C90, Grade S, Type I ‑ Moisture Controlled; color as selected to the following design:




1.
Single scored vertically half round cut.



C.
Prefaced Block Units: ASTM C744 with resinous surfacing on ANSI/ASTM C55 masonry units, Grade S, Type I ‑ Moisture Controlled; normal weight;  color as selected.



D.
Face Brick – St. Joe Brick (No substitutes) 


.2
seq level2 \h \r0 
REINFORCEMENT AND ANCHORAGE



A.
Single Wythe Joint Reinforcement: Truss type; hot dip galvanized after fabrication cold‑drawn steel conforming to ANSI/ASTM A82, 3/16 inch (4.8 mm) side rods with 9 inch gauge cross ties.



B.
Multiple Wythe Joint Reinforcement: Truss type; without moisture drip; hot dip galvanized after fabrication cold‑drawn steel conforming to ANSI/ASTM A82, 3/16 (4.8 mm) side rods with 9 inch gauge cross ties.



C.
Reinforcing Steel: Deformed type, specified in Section 03200; #5 size, unprotected finish.


.3

seq level2 \h \r0 ACCESSORIES



A.
Joint Filler: Closed cell polyurethane; oversized 50 percent to joint width; self‑expanding; 34 inch wide by maximum lengths.



B.
Nailing Strips: Softwood, preservative treated for moisture resistance, dovetail shape, sized to masonry joints.



C.
Weep Holes: Preformed plastic tubes.



D.
Cleaning Solutions: Non‑acidic, not harmful to masonry work or adjacent materials.



3

seq level1 \h \r0 

seq level2 \h \r0  PART 3   EXECUTION


.1seq level2 \h \r0 

EXAMINATION



A.
Verify that field conditions are acceptable and are ready to receive work.



B.
Verify items provided by other Sections of work are properly sized and located.



C.
Verify that built‑in items are in proper location, and ready for roughing into masonry work.



D.
Beginning of installation means installer accepts existing conditions.


.2
seq level2 \h \r0 
PREPARATION



A.
Direct and coordinate placement of metal anchors supplied to other Sections.



B.
Provide temporary bracing during installation of masonry work.  Maintain in place until building structure provides permanent bracing.


.3
seq level2 \h \r0 
COURSING



A.
Establish lines, levels, and coursing indicated.
Protect from displacement.



B.
Maintain masonry courses to uniform dimension.  Form vertical and horizontal joints of uniform thickness.



C.
Lay concrete masonry units in running bond.  Course one unit and one mortar joint to equal 8 inches (200 mm).  Form concave mortar joints.



D.
Lay brick units in running bond.  Course three brick units and three mortar joints to equal 8 inches (200 mm).  Form concave mortar joints.


.4
seq level2 \h \r0 
PLACING AND BONDING



A.
Buttering corners of joints or excessive furrowing of mortar joints are not permitted.



B.
Remove excess mortar as Work progresses.



C.
Interlock  intersections and external corners.



D.
Do not shift or tap masonry units after mortar has achieved initial set.  Where adjustment must be made, remove mortar and replace.



E.
Perform job site cutting of masonry units with proper tools to provide straight, clean, unchipped edges.  Prevent broken masonry unit corners or edges.



F.
Cut mortar joints flush where ceramic or quarry wall tile is scheduled.



G.
Isolate top joint of masonry partitions from horizontal structural framing members and slabs or decks with compressible joint filler.


.5
seq level2 \h \r0 
WEEPS AND VENTS



A.
Install weep holes in veneer at 48 inches on center horizontally above through‑wall flashing, and at bottom of walls.


.6
seq level2 \h \r0 
CAVITY WALL



A.
Do not permit mortar to drop or accumulate into cavity air space or to plug weep holes.


.7
seq level2 \h \r0 
REINFORCEMENT AND ANCHORAGES ‑ SINGLE WYTHE MASONRY



A.
Install horizontal joint reinforcement 16 inches oc.



B.
Place masonry joint reinforcement in first horizontal joints above and below openings. Extend minimum 16 inches (400 mm) each side of opening.



C.
Place joint reinforcement continuous in first [and second] joint below top of walls.



D.
Lap joint reinforcement ends minimum 6 inches (150 mm).  Extend minimum 16 inches (400 mm) each side of openings.


.8 seq level2 \h \r0 
REINFORCEMENT AND ANCHORAGES ‑ VENEER MASONRY



A.
Install horizontal joint reinforcement 16 inches (400 mm) oc.



B.
Place masonry joint reinforcement in first horizontal joints above and below openings. Extend minimum 16  (400 mm)each side of opening.



C.
Place joint reinforcement continuous in first [and second] joint below top of walls.



D.
Lap joint reinforcement ends minimum 6 inches (150 mm).  Extend minimum 16 inches (400 mm) each side of openings.



.9 seq level2 \h \r0 
REINFORCEMENT AND ANCHORAGES ‑ CAVITY WALL MASONRY



A.
Install horizontal joint reinforcement 16 inches (400 mm) oc.



B.
Place masonry joint reinforcement in first horizontal joints above and below openings. Extend minimum 16 inches (400 mm) each side of opening.



C.
Place joint reinforcement continuous in first joint below top of walls.



D.
Lap joint reinforcement ends minimum 6 inches (150 mm).  Extend minimum 16 inches (400 mm) each side of openings.



.10seq level2 \h \r0 
MASONRY FLASHINGS



A.
Extend flashings through veneer, turn up minimum 8  inches (200  mm) and bed into mortar joint of masonry back‑up.



B.
Lap end joints minimum 6 inches (150 mm) and seal watertight.


.11 seq level2 \h \r0 
LINTELS



A.
Install loose steel lintels over window openings, door openings and as detailed. 



B.
Install reinforced unit masonry lintels over openings where steel or precast concrete lintels are not scheduled.



C.
Openings Up To 42 Inches wide: Place two, No. 4 reinforcing bars 1 inch (25 mm) from bottom web.



D.
Openings From 42 Inches Up To 78 Inches Wide: Place two, No. 5 M16  reinforcing bars 1  inch (25 mm) from bottom web.



E.
Openings Over 78 Inches ([ 980 mm): Reinforce openings as detailed.



F.
Use single piece reinforcing bars only.



G.
Support and secure reinforcing bars from displacement. Maintain position within 1/2 inch (13 mm) of dimensioned position.



H.
Place and consolidate grout fill without displacing reinforcing.



I.
Allow masonry lintels to attain specified strength before removing temporary supports.



J.
Maintain minimum 8 inch  bearing on each side of opening.


.12seq level2 \h \r0 
ENGINEERED MASONRY



A.
Lay masonry units with core cells vertically aligned and cavities between wythes clear of mortar and unobstructed.



B.
Place mortar in masonry unit bed joints back 1/4 inch (6 mm) from edge of unit grout spaces, bevel back and upward. Permit mortar to cure 7 days before placing grout.



C.
Reinforce masonry unit cores with reinforcement bars and grout as indicated.



D.
Grout spaces less than 2 inches (50 mm) in width with fine grout using low lift grouting techniques.  Grout spaces 2 inches (50 mm) or greater in width with course grout using high or low lift grouting techniques.



E.
When grouting is stopped for more than one hour, terminate grout 1‑1/2 inch (38 mm) below top of upper masonry unit to form a positive key for subsequent grout placement.



F.
Low Lift Grouting: Place first lift of grout to a height of 16 inches (400 mm) and rod for grout consolidation. Place subsequent lifts in 8 inch (200 mm) increments and 




rod for grout consolidation.



G.
High Lift Grouting:




2.
Provide clean-out opening no less than 4 inches (100 mm) high at the bottom of each cell to be grouted by cutting one face shell of masonry unit.




3.
Clean out masonry cells with high-pressure water spray. Permit complete water drainage.




4.
Request the Architect/Engineer to inspect the cells. and cavities. Allow 2 days advance notice of inspection.




5.
After cleaning and cell inspection, seal openings with masonry units.




6.
Pump grout into spaces.  Maintain water content in grout to intended slump without aggregate segregation.




7.
Limit grout lift to 48 inches (1 200 mm) and rod for    grout consolidation.  Wait 30 to 60 minutes before      placing next lift.







.13seq level2 \h \r0 

seq level3 \h \r0 
CONTROL AND EXPANSION JOINTS



A.
Do not continue horizontal joint reinforcement through control and expansion joints.



B.
Install preformed control joint device in continuous lengths.  Seal butt and corner joints in accordance with manufacturer's instructions.



C.
Size control joint in accordance with Section 07900 for sealant performance.



D.
Form expansion joint as detailed.


.14seq level2 \h \r0 
BUILT‑IN WORK



A.
As work progresses, build in metal door frames, window frames wood nailing strips anchor bolts plates and other items furnished by other Sections.



B.
Build in items plumb and level.



C.
Bed anchors of metal doorframes in adjacent mortar joints. Fill frame voids solid with grout.  



D.
Do not build in organic materials subject to deterioration.


.15seq level2 \h \r0 
TOLERANCES



A.
Maximum Variation From Alignment of Pilasters:1/4 inch (6 mm).



B.
Maximum Variation from Unit to Adjacent Unit: 1/32 inch (1.5 mm).



C.
Maximum Variation From Plane of Wall: 1/4 inch in 10 feet (6 mm/3 m) and 1/2 inch in 20 feet (13 mm/6 m) or more.



D.
Maximum Variation From Plumb: 1/4 inch (6 mm) per story non‑cumulative; 1/2 inch (13 mm) in two stories or more.



E.
Maximum Variation From Level Coursing: 1/8 inch in 3 feet (3 mm/m) and 1/4 inch in 10 feet (6 mm/3 m); 1/2 inch in 30 feet (13 mm/9.1 m).



F.
Maximum Variation of Joint Thickness: 1/8 inch in 3 feet (3 mm/m).



G.
Maximum Variation From Cross Sectional Thickness of Walls: 1/4 inch (6 mm).


.16seq level2 \h \r0 
CUTTING AND FITTING



A.
Cut and fit for pipes, conduit. Coordinate with other Sections of work to provide correct size, shape, and location.



B.
Obtain Architect/Engineer approval prior to cutting or fitting masonry work not indicated or where appearance or strength of masonry work may be impaired.


.17seq level2 \h \r0 
CLEANING



A.
Clean work under provisions of Section 01700.



B.
Remove excess mortar and mortar smears.



C.
Replace defective mortar.  Match adjacent work.



D.
Clean soiled surfaces with cleaning solution.



E.
Use non‑metallic tools in cleaning operations.


.18seq level2 \h \r0 
PROTECTION OF FINISHED WORK



A.
Protect finished installation under provisions of Section 01500.



B.
Without damaging completed work, provide protective boards at exposed external corners which may be damaged by construction activities.


END OF SECTION
PAGE  
Section 04300 Page 1 of 10

