
SECTION 05510PRIVATE 


METAL STAIRS

1 PART 1   GENERAL


.1
SECTION INCLUDES



A.
Steel stair frame of structural sections, with open  risers.



B.
Checkered plate and landings.



C.
Integral balusters and hand railing.


.2

seq level2 \h \r0 
PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION




Not Used.


.3

seq level2 \h \r0 
RELATED SECTIONS



A.
Section 03300 ‑ Cast‑In‑Place Concrete. 



B.
Section 05520 ‑ Handrails and Railings: Handrails and balusters other than specified in this Section.


C.
Section 09900 ‑ Painting: Paint finish.

.4

seq level2 \h \r0 
REFERENCES



A.
ANSI A117.1 ‑ Buildings and Facilities ‑ Providing Accessibility and Usability For Physically Handicapped People.



B.
ASTM A36 ‑ Structural Steel.



C.
ASTM A202.1 ‑ Metal Bar Grating Manual for Steel and Aluminum Gratings and Stair Treads.


D.
ASTM A283 ‑ Carbon Steel Plates, Shapes, and Bars.


E.
ASTM A307 ‑ Carbon Steel Externally Threaded Standard Fasteners.


F.
ASTM A325 ‑ High Strength Bolts for Structural Steel    Joints.


G.
ASTM A500 ‑ Cold‑Formed Welded and Seamless Carbon Steel Structural Tubing in Round and Shapes.


H.  ASTM A501 ‑ Hot‑Formed Welded and Seamless Carbon Steel Structural Tubing.


I.  AWS A2.0 ‑ Standard Welding Symbols.


I.
AWS D1.1 ‑ Structural Welding Code.


J.
SSPC ‑ Steel Structures Painting Council.




.5

seq level2 \h \r0 
DESIGN REQUIREMENTS



A.
Fabricate stair assembly to support live load of 100 lb./sq. ft with deflection of stringer or landing framing not to exceed 1/180 of span.



B.
Railing assembly, wall rails, and attachments to resist lateral force of 75 lbs.  at any point without damage or permanent set.


.6

seq level2 \h \r0 
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Shop Drawings:  Indicate profiles, sizes, connection attachments, reinforcing, anchorage, size and type of fasteners, and accessories.



C.
Indicate welded connections using standard AWS A2.0 welding symbols.  Indicate net weld lengths.

.7

seq level2 \h \r0 
QUALIFICATIONS



A.
Prepare Shop Drawings under direct supervision of a Professional Structural Engineer experienced in design of this work and licensed in the State of Louisiana.



B.
Welders' Certificates:  Submit under provisions of Section 01300, certifying welders employed on the Work, verifying AWS qualification within the previous 12 months.


.8

seq level2 \h \r0 
FIELD MEASUREMENTS



A.
Verify that field measurements are as indicated on Drawings instructed by the manufacturer.

2

seq level1 \h \r0 

seq level2 \h \r0  PART 2   PRODUCTS


.1
MATERIALS



A.
Steel Sections:  ASTM A36.



B.
Steel Tubing:  ASTM A500, Grade B.



C.
Plates:  ASTM A283. 



D.
Pipe:  ASTM A53, Grade B Schedule.



E.
Sheet Steel: ASTM A446, Grade B Structural Quality with  1.25 oz/sq. ft galvanized coating.

.2

seq level2 \h \r0 
FABRICATION ‑ GENERAL



A.
Fit and shop assemble in largest practical sections, for delivery to site.



B.
Fabricate components with joints tightly fitted and secured.



C.
Continuously seal jointed pieces by intermittent welds and plastic filler.



D.
Grind exposed joints flush and smooth with adjacent finish surface.  Make exposed joints butt tight, flush, and hairline.  Ease exposed edges to small uniform radius.



E.
Exposed Mechanical Fastenings:  Flush countersunk screws or bolts; unobtrusively located; consistent with design of component, except where specifically noted otherwise.



F.
Supply components required for anchorage of fabrications. Fabricate anchors and related components of same material and finish as fabrication, except where specifically noted otherwise.



G.
Accurately form components required for anchorage of stairs and landings and railings to each other and to building structure.

.3

seq level2 \h \r0 
FABRICATION ‑ PAN STAIRS [AND LANDINGS]




Not Used.


.4

seq level2 \h \r0 
FABRICATION ‑ CHECKERED PLATE STAIRS [AND LANDINGS]




See Details on drawings.


.5

seq level2 \h \r0 
FABRICATION ‑ OPEN GRATING STAIRS [AND LANDINGS]




Not Used.


.6

seq level2 \h \r0 
FABRICATION ‑ UNIT STAIR TOWERS




Not Used.


.7

seq level2 \h \r0 
FINISHES



A.
Clean surfaces of rust, scale, grease, and foreign matter prior to finishing.



B.
Do not prime surfaces in direct contact with concrete or where field welding is required.



C.
Prime paint items with one coat.



D.
Galvanized items to minimum 1.25 oz/sq. ft zinc coating in accordance with ASTM A386.

3

seq level1 \h \r0 

seq level2 \h \r0  PART 3   EXECUTION


.1
EXAMINATION



A.
Verify that field conditions are acceptable and are ready to receive work.



B.
Beginning of installation means erector accepts existing conditions.


.2

seq level2 \h \r0 
PREPARATION



A.
Clean and strip primed steel items to bare metal where site welding is required.



B.
Supply items required to be cast into concrete and or embedded in masonry with setting templates, to appropriate sections.


.3

seq level2 \h \r0 
INSTALLATION



A.
Install items plumb and level, accurately fitted, free from distortion or defects.



B.
Provide anchors, plates, angles, hangers required for connecting stairs to structure.



C.
Allow for erection loads, and for sufficient temporary bracing to maintain true alignment until completion of erection and installation of permanent attachments.



D.
Field weld components indicated on shop drawings. Perform field welding in accordance with AWS D1.1.



E.
Field bolt and weld to match shop bolting and welding. Conceal bolts and screws whenever possible.  [Where not concealed, use flush countersunk fastenings.]



F.
Mechanically fasten joints butted tight, flush, and hairline.  Grind welds smooth and flush.



G.
Obtain Architect/Engineer approval prior to site cutting or making adjustments not scheduled.



H.
After erection, prime welds, abrasions, and surfaces not shop primed, except surfaces to be in contact with concrete.


.4

seq level2 \h \r0 
ERECTION TOLERANCES



A.
Maximum Variation from Plumb: 1/4 inch per story, non‑cumulative.



B.
Maximum Offset From True Alignment: 1/4 inch.


.5

seq level2 \h \r0 
SCHEDULE


END OF SECTION
PAGE  
Section 05510 Page 4 of 4

