
SECTION 05520PRIVATE 


HANDRAILS AND RAILINGS

1 PART 1   GENERAL


.1
SECTION INCLUDES



A.
Steel pipe handrails, balusters, and fittings.


.2
PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION




Not Used


.3
RELATED SECTIONS



A.
Section 09900 ‑ Painting: Paint finish.


.4
STANDARDS



A.
ASTM A53 ‑ Hot‑Dipped, Zinc‑coated Welded and Seamless Steel Pipe.



B.
ASTM A500 ‑ Cold‑Formed Welded and Seamless Carbon Steel Structural Tubing in Round and Shapes.


.5
DESIGN REQUIREMENTS



A.
Railing assembly, wall rails, and attachments to resist lateral force of 75 lbs. at any point without damage or permanent set.


.6
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Shop Drawings: Indicate profiles, sizes, connection attachments, anchorage, size and type of fasteners, and accessories.


.7
FIELD MEASUREMENTS



A.
Verify that field measurements are as indicated on shop drawings.

2 PART 2   PRODUCTS


.1
MANUFACTURERS




Not Used



.2
ALUMINUM RAILING SYSTEM




Not Used


.3
STEEL RAILING SYSTEM



A.
Pipe: ASTM A53, Grade B Schedule 40.


.4
FABRICATION



A.
Fit and shop assemble components in largest practical sizes, for delivery to site.



B.
Fabricate components with joints tightly fitted and secured.



C.
Exposed Mechanical Fastenings: Flush countersunk screws or bolts; unobtrusively located; consistent with design of component, except where specifically noted otherwise.



D.
Supply components required for anchorage of fabrications. Fabricate anchors and related components of same material and finish as fabrication, except where specifically noted otherwise.

E. Continuously seal joined pieces by intermittent welds and plastic filler. 



F.
Grind exposed joints flush and smooth with adjacent finish surface.  Make exposed joints butt tight, flush, and hairline.  Ease exposed edges to small uniform radius.



G.
Accurately form components to suit stairs and landings, to each other and to building structure.

3 PART 3   EXECUTION


.1
EXAMINATION



A.
Verify that field conditions are acceptable and are ready to receive work.



B.
Beginning of installation means erector accepts existing conditions.


.2
PREPARATION



A.
Clean and strip primed steel items to bare metal where 




site welding is required.



B.
Supply items required to be cast into concrete with setting templates, to appropriate Sections.


.3
INSTALLATION



A.
Install components plumb and level, accurately fitted, free from distortion or defects.



B.
Provide anchors, plates and angles required for connecting railings to structure.  Anchor railing to structure.



C.
Field weld anchors as indicated on shop drawings. Touch‑up welds with primer.  Grind welds smooth.


.4
ERECTION TOLERANCES



A.
Maximum Variation From Plumb: 1/4 inch per story, non‑cumulative.



B.
Maximum Offset From True Alignment: 1/4 inch.


.5
SCHEDULE




Not Used


END OF SECTION
PAGE  
Error! Main Document Only.
Section 05520 Page 1 of 3      

