
SECTION 06125PRIVATE 


WOOD DECKING

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1 GENERAL


.1

SECTION INCLUDES



A.
Softwood lumber structural wood decking.



B.
Preservative treatment of wood.


.2

RELATED SECTIONS



A.
Section 06112 ‑ Framing and Sheathing Wood plate supports.



B.
Section 06114 ‑ Wood Blocking and Curbing.



C.
Section 06131 ‑ Heavy Timber Framing.



D.
Section 06181 ‑ Glued Laminated Structural Units.



E.
Section 09900 ‑ Painting: Field finishing.



F.
Reference to General Conditions.


.3

REFERENCES



A.
AITC 112 (American Institute Timber Construction) -Standard for Tongue and Groove Heavy Timber Decking.



B.
ALSC ‑ American Lumber Standards Committee:  Softwood Lumber Standards.



C.
AWPA (American Wood Preservers Association) C20 -Structural Lumber Fire Retardant Treatment by Pressure Process.



D.
NFPA:  National Forest Products Association.



E.
SPIB:  Southern Pine Inspection Bureau.


.4

SYSTEM DESCRIPTION



A. 
Design roof live and dead load:  35 psf with deflection limited to 1/240.


.5

QUALITY ASSURANCE



A.
Perform Work in accordance with the following agencies:




1.
Lumber Grading Agency:
Certified by ALSC.

B. In lieu of grade stamping exposed to view lumber and plywood, submit manufacturer’s certificate under provisions of Section 01400 that products meet or exceed specified requirements.



C.
Maintain one copy of each document on site.



.7

QUALIFICATIONS



A.
Manufacturer:  Company specializing in manufacturing the Products specified in this section with minimum three years experience; and certified by AITC.



B.
Installer:  Company specializing in performing the work of this section with minimum 3 years experience approved by manufacturer.



C.
Design decking under direct supervision of a Professional Structural Engineer experienced in design of this Work and licensed at the place where the Project is located in the State of Louisiana.


.8

REGULATORY REQUIREMENTS



A.
Conform to applicable code for fire retardant requirements.


.9

DELIVERY, STORAGE, AND HANDLING



A.
Deliver, store, protect, and handle products to site under provisions of Section 01600.


.10
FIELD MEASUREMENTS



A.
Verify that field measurements are as indicated on shop drawings.

2 PART 2 PRODUCTS


.1

MATERIALS



A.
Lumber Grading Rules: NFPA SPIB .



B.
Lumber Decking: Decking shall be 3 3/16” x 7” LOCK-DECK Ponderosa Pine (Laminated) decking as manufactured by Potlask or approved equal, with acrylic polymer finish per the manufacturers specifications.



.2

ACCESSORIES



A.
Fasteners and Anchors:




1.
Fasteners:  Hot‑dipped galvanized Zinc electroplated steel for high humidity and treated wood locations, unfinished steel elsewhere.


.3

FABRICATION ‑ GLUED LAMINATED DECKING



A.
After end trimming, seal with penetrating sealer in accordance with AITC requirements. Do not seal.


.4

WOOD TREATMENT



A.
Wood Preservative (Pressure Treatment):  AWPA Treatment C1 using water borne preservative with 0.25 percent retainage.



B.
Wood Preservative (Surface Application):
Clear type, manufactured by Cabbott.

3 PART 3   EXECUTION


.1

EXAMINATION



A.
Verify that support framing is ready to receive decking.


.2

PREPARATION



A.
Coordinate placement of bearing items.


.3

INSTALLATION ‑ PLYWOOD DECKING


.4

INSTALLATION ‑ LUMBER DECKING



A.
Install decking perpendicular to framing members, with ends staggered.  On sloped surfaces, lay decking with tongue upward.



B.
Fit butt end deck joints occurring between support members with metal splines to maintain tight, aligned joints.



C.
Secure with fasteners.  Side spike planks together, through pre‑drilled holes.



D.
Maintain decking joint space of 1/16 inch (1.5 mm) maximum.


.5

TOLERANCES



A.
Surface Flatness of Decking Without Load:  1/4 inch in 10 feet (2 mm/m) maximum, and 1/2 inch (12 mm) maximum in 30 feet.


END OF SECTION
1
Section 06125 Page 1 of 3
Error! Main Document Only.

