SECTION 07213PRIVATE 


BATT AND BLANKET INSULATION

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Batt insulation and vapor barrier in exterior wall and ceiling construction.


.2

RELATED SECTIONS



A.
Section 09511 – Suspended ceilings.


.3

REFERENCES



A.
ASTM C665 ‑ Mineral Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing.

B. FS HH‑I‑521 ‑ Insulation Blankets, Thermal, (Mineral Fiber for Ambient Temperatures).

C.
Reference to General Conditions.


.4

PERFORMANCE REQUIREMENTS



A.
Materials of this Section shall provide continuity of thermal barrier at building enclosure elements. 


.5

SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Product Data: Provide data on product characteristics, performance criteria, and limitations.

C. Manufacturer's Certificate: Certify that products meet or exceed specified requirements.


.6

COORDINATION



A.
Coordinate the Work of Section 09511.

2 PART 2   PRODUCTS


.1

MATERIALS



A.
Batt Insulation:
FS HH‑I‑521 Type II ‑ with non‑reflective membrane one side ASTM C665; preformed glass fiber conforming to the following:




Thermal Resistance

(As below) 
 
 




Facing




 Vinyl 



Location



Thermal Resistance


Type


Attic



R-30






Batt



Perimeter Walls

R-13`





Batt



Between Units


R-19






Batt



Between Floors

R-19






Batt

B. Tape:  Polyethylene self-adhering type, 2 inch (50 mm) wide.



C.
Wire Mesh: Galvanized steel, hexagonal wire mesh.








 

3 PART 3   EXECUTION


.1

EXAMINATION



A.
Verify site conditions under provisions of Section 01039.



B.
Verify that substrate, adjacent materials, and insulation are dry and ready to receive insulation.


.2

INSTALLATION



A.
Install insulation in accordance with insulation manufacturer's instructions.



B.
Install in exterior ceiling spaces without gaps or voids.



C.
Trim insulation neatly to fit spaces.



D.
Fit insulation tight in spaces and tight to exterior side of mechanical and electrical services within the plane of insulation.  Leave no gaps or voids.



E.
Install with factory applied membrane facing warm side of building spaces.  Lap ends and side flanges of membrane between framing members.

F. Retain in place with wire mesh secured to framing members.

G. Tape seal butt ends, lapped flanges, and tears or cuts in membrane.


END OF SECTION

PAGE  
Error! Main Document Only.
Section 07213.doc Page 1 of 2     

