
SECTION 07620PRIVATE 


SHEET METAL FLASHING AND TRIM
Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
PART 1
GENERAL

.1

SECTION INCLUDES


A.
Parapet flashings.


B.
Roof and sill flashings.

.2

seq level2 \h \r0 

PRODUCTS FURNISHED BUT INSTALLED UNDER OTHER SECTION


A.
Furnish flashing reglets and accessories to Section 04300 – Unit Masonry for installation.

.3

seq level2 \h \r0 
seq level2 \h \r0 
RELATED WORK

A.
Section 06100 ‑ Wood blocking, nailers, and grounds.

B.
Section 07900 ‑ Joint Sealers.
.4

REFERENCES


C.
AA (Aluminum Association) – Aluminum Construction Manual:  Aluminum Sheet metal work and building construction.

D.
ASTM B209 ‑ Aluminum and Alloy Sheet and Plate.

E.
SMACNA ‑ Architectural Sheet Metal Manual.

F.
Reference to General Conditions.
.5
seq level2 \h \r0 
SYSTEM DESCRIPTION

A. Work of this Section is to physically protect parapet walls from damage that would permit water leakage to building interior.

.6

SUBMITTALS


A.
Submit shop drawings and product data under provisions of Section 01300.


B.
Describe material profile, jointing pattern, jointing details, fastening methods, and installation details.


C.
Submit manufacturer’s installation instructions under provisions of Section 01300.

D.
Submit samples under provision of Section 01300.

E.
Provide 12” long sized sample of metal flashing illustrating typical standing seam, external corner, internal corner, material and finish.
.4

seq level2 \h \r0 

seq level2 \h \r0 
 
STORAGE, AND HANDLING


A.
Store products under provisions of Section 01600.


B.
Stack preformed and pre-finished material to prevent twisting, bending, or abrasion, and to provide ventilation. 


C.
Prevent contact with materials, which may cause discoloration or staining.

PART 2

seq level1 \h \r0 

seq level2 \h \r0 
PRODUCTS

.1

SHEET MATERIALS


A.
Aluminum Sheet:  ASTM B209, 5005-H134 alloy, .050 inch thick; shop pre‑coated with Kynar coating of selected color.
.2

seq level2 \h \r0 

ACCESSORIES

A.
Fasteners: Concealed Aluminum finish exposed fasteners same as flashing metal.

.3
seq level2 \h \r0 
FABRICATION


A.
Form sections true to shape, accurate in size, square, and free from distortion or defects.


B.
Fabricate cleats and starter strips of same material as sheet, interlockable with sheet.


C.
Form pieces in longest possible lengths.


D.
Hem exposed edges on underside 1/2 inch (13 mm); miter and seam corners.


E.
Form material with 6” lap seam.


F.
Fabricate corners from one piece with minimum 18 inch long legs; seam for rigidity, seal with sealant.

G.
Fabricate vertical faces with bottom edge formed outward 1/4 inch (6 mm) and hemmed to form drip.
.4

FINISH


H.
Back paint concealed metal surfaces with protective backing paint to a minimum dry film thickness of 15 mil (0.4 mm).
PART 3

seq level1 \h \r0 

seq level2 \h \r0 
EXECUTION

.1

INSPECTION


A.
Beginning of installation means acceptance of existing conditions.

.2

PREPARATION

A. Field measure site conditions prior to fabricating work.

B. Install starter and edge strips, and cleats before starting installation.

C. Secure flashings in place using concealed fasteners.  Use eposed fasteners only in locations approved by Architect/Engineer.

D. Lap and seal all joints.

E. Fit flashings tight in place.  Make corners square surfaces true and straight in planes, and lines accurate to profiles.

F. Seal metal joints watertight.

.3
seq level2 \h \r0 
INSTALLATION


A.
Conform to drawing details included in the SMACNA manual.


END OF SECTION
PAGE  
Section 07620 Page 3 of 3

