
SECTION 07631PRIVATE 


GUTTERS AND DOWNSPOUTS

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.

PART 1
GENERAL

.1

SECTION INCLUDES


A.
Aluminum Gutters and downspouts.


B.
Precast concrete splash blocks.

.2

RELATED SECTIONS


A.
Section 07611 ‑ Sheet Metal Roofing.


B.
Section 07620 ‑ Sheet Metal Flashing and Trim.

.3

REFERENCES

A. SMACNA ‑ Architectural Sheet Metal Manual.


B.
Reference to General Conditions. 

.4

SUBMITTALS


A.
Submit under provisions of Section 01300.


B.
Indicate on shop drawings, general construction, configurations, jointing methods and locations, fastening methods, locations, and installation details.


C.
Product Data: Provide data on prefabricated components.


D.
Submit samples under provisions of Section 01300.

E. Submit two samples, 6 x 12 inches in size illustrating component design, finish, color, and configuration.

F.
Submit manufacturer’s installation instructions under provisions of Section 01300.

.5

QUALITY ASSURANCE

A. Conform to SMACNA Manual Drawings for normal sizing of components for rainfall intensity determined by a storm occurrence of 1 in 10 years.

.6

DELIVERY, STORAGE, AND HANDLING


A.
Deliver, store, protect and handle products to site under provisions of Section 01600.


B.
Store and protect products under provisions of Section 01600.


C.
Stack preformed and pre-finished material to prevent twisting, bending, or abrasion, and to provide ventilation.  Slope to drain.


D.
Prevent contact with materials during storage which may cause discoloration, staining, or damage.

PART 2
PRODUCTS

.1

MATERIALS


A.
Aluminum, 22GA.

.2

COMPONENTS


A.
Gutters: Rectangular SMACNA style profile.


B.
Downspouts:  Square profile.


C.
End Caps, downspout outlets, downspout straps support brackets, joint fasteners: profiled to suit gutters and downspouts.

D. Splash Blocks: Pre-cast concrete type, of size sizes and profiles indicated; minimum 3000 psi (21 Mpa) at 28 days, with minimum 5 percent air entrainment.

.3

ACCESSORIES


A.
Anchorage Devices: SMACNA requirements.


B.
Gutter Supports: Brackets.


C.
Downspout Supports: Straps.

.4

FABRICATION


A.
Form gutters and downspouts of profiles and size to SMACNA requirements.


B.
Field measures site conditions prior to fabricating work.


C.
Fabricate with required connection pieces.


D.
Form sections square, true, and accurate in size, in maximum possible lengths, free of distortion or defects detrimental to appearance or performance.


E.
Seal metal joints.


F.
Fabricate gutter and downspout accessories; seal watertight.

.5

SHOP FINISHES


A.
Back paint concealed metal surfaces with protective backing paint to a minimum dry film thickness of 15 mil (0.4 mm).

PART 3
EXECUTION

.1

EXAMINATION

A. Verify that surfaces are ready to receive work.


B.
Beginning of installation means acceptance of existing conditions.

.2

INSTALLATION


A.
Install gutters, downspouts, and accessories in accordance with manufacturer's instructions.


B.
Join lengths with seams sealed watertight.  Flash and seal gutters to downspouts and accessories.


C.
Apply backing paint to metal back surfaces.


D.
Apply bituminous protective backing on surfaces in contact with dissimilar materials.


E.
Seal metal joints watertight.


F.
Set splash blocks under downspouts.


END OF SECTION
PAGE  
Error! Main Document Only.
Section 07631 Page 3 of 3

