

SECTION 10441PRIVATE 


PLASTIC SIGNS

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.
1 PART 1   GENERAL


.1
SECTION INCLUDES



A.
Engraved plastic signs.


.2

SUBMITTALS



A.
Submit shop drawings under provisions of Section 01300. 



B.
Submit shop drawings listing sign styles, lettering and locations, and overall dimensions of each engraved sign.]



C.
Submit manufacturer's installation instructions under provisions of Section 01300.

D. Include installation template.



E.
Reference to General Conditions.


.3

DELIVERY, STORAGE, AND HANDLING



A.
Deliver products to site under provisions of Section 01600.



B.
Store and protect products under provisions of Section 01600.



C.
Package signs, labeled in name groups.



D.
Store adhesive tape at ambient room temperatures.


.4

ENVIRONMENTAL REQUIREMENTS



A.
Do not install signs when ambient temperature is below 70 degrees F (21 degrees C).  Maintain this minimum during and after installation of signs.

2 PART 2   PRODUCTS


.1

MANUFACTURERS



A.
Andco



B.
Matthews



C.
Supersine



D.
Engraved Signs: Laminated colored plastic; provide signs to meet all handicap regulations of the Americans with Disabilities Act, (Braille & Pictorial).  Where they do not agree with the specifications, follow the provisions of that Act.  All door signs shall be in Braille.



F.
Face Color: As selected.



G.
Core Color: White


.2

LETTERING



A.
Conform to “Americans with Disabilities Act” for all signage.


.3

ACCESSORIES



A.
Tape Adhesive: Double sided tape, permanent adhesive.


3 PART 3   EXECUTION


.1

EXAMINATION



A.
Verify that surfaces are ready to receive work.



B.
Beginning of installation means installer accepts existing surfaces.


.2

INSTALLATION



A.
Install in accordance with manufacturer's instructions.



B.
Install signs after doors are finished, in locations as directed.



C.
Locate sign on door, level.



D.
Clean and polish.


END OF SECTION
2
Error! Main Document Only.
Section 10441 Page 2 of 2        

