

SECTION 12512PRIVATE 


HORIZONTAL LOUVER BLINDS

1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Horizontal slat louver blinds.



B.
Operating hardware.


.2

REFERENCES



A.
FS AA-V-00200 – Venetian Blinds


.3

SYSTEM DECRIPTION



A.
New Horizontal metal slat louver blinds shall be installed at all window openings, manual control of raising and lowering by cord; blade angle adjustable by control wand.


.4

SUBMITTALS



A.
Submit shop drawings under provisions of Section 01300.



B.
Submit shop drawings indicating opening sizes, tolerances required installation of blind at window opening, method of attachment, clearances, and operation.



C.
Submit product data under provisions of Section 01300. 



D.
Submit product data indicating physical and dimensional 




characteristics, operating features.



E.
Submit samples under provisions of Section 01300.



F.
Submit two samples 6 inch long illustrating slat materials and finish, color.


.5

QUALITY ASSURANCE




A.
Venetian Blinds: FS AA‑V‑00200.


.6

DELIVERY, STORAGE, AND HANDLING



A.
Deliver products to site under provisions of Section 01600. 



B.
Deliver blinds wrapped and crated in a manner to prevent damage to components or marring of surfaces.



C.
Store and protect products under provisions of Section 01600. 



D.
Store in a clean, dry area, laid flat and blocked off ground to prevent sagging, twisting, or warping.


.7

EXTRA MATERIALS



A.
Furnish ten additional slats under provisions of Section 01700.



B.
Furnish two additional complete blind assemblies of each size.

2 PART 2   PRODUCTS


.1

MANUFACTURERS




Not Used


.2

MATERIALS



A.
Louver Slats: One (25 mm) wide; 0.011 inch (0.280 mm) thick spring tempered pre-finished aluminum horizontal slats, with manufacturing burrs removed; radiused slat corners.



B.
Slat Support: Polyester, ladder configuration.



C.
Head Rail Housing: Pre-finished, formed galvanized steel box, internally fitted with hardware, pulleys and bearings for blind operation.



D.
Cord: 2 ply polyester, continuous loop, free end.



E.
Control Wand: Extruded hollow plastic, round shape, removable type, length of window opening height less 12 inches (300 mm).



F.
Accessory Hardware: Type recommended by blind manufacturer.


.3

FACTORY FINISHING



A.
Blind Slat and Head Rail Housing: color as selected.



B.
Cord: White color, Control Wand:  Clear color.

3 PART 3   EXECUTION


.1

EXAMINATION



A.
Verify that openings are ready to receive the work.



B.
Do not commence fabrication until field measurements are confirmed.



C.
Ensure structural supports are correctly placed.



D.
Beginning of installation means installer accepts existing surfaces.


.2

INSTALLATION



A.
Install new blinds in all 5th floor windows accordance with manufacturer's instructions.



B.
Secure in place with concealed fasteners.


.3

TOLERANCES



A.
Maximum Variation of Gap at Window Opening Perimeter: 1/4 inch (6 mm).



B.
Maximum Offset From Level: 1/8 inch (3 mm).


.4

ADJUSTING



A.
Adjust blinds for smooth operation.



.5

CLEANING



A.
Clean work under provisions of 01700.


END OF SECTION
PAGE  
Section 12512 Page 2 of 3

