

SECTION 14245PRIVATE 

HYDRAULIC ELEVATORS – PASSENGER

Provisions of the contract including General and Supplementary General Conditions and the General Requirements apply to the work of this section.

1 PART 1   GENERAL


.1

SECTION INCLUDES



A.
Hydraulic elevator system.



B.
Passenger cab with doors and frames; hoist way entrance doors and frames.



C.
Motor and pump, cylinders, controllers, hoist way, equipment, and accessories


.2

SYSTEM DESCRIPTION



A.
Hydraulic Elevator System: One unit; hoist way cylinder; with motor and pump adjacent.



B.
Characteristics of elevator are as follows:




1.
Rated Net Capacity: 2500 lbs.




2.
Rated Speed: 150 ft/min.




3.
Nominal Platform Size: 6’x7’car.




4.
Hoist way and Cab Entrance Frame Opening Sizes: 36 x 84 inches.




5.
Door Type:
Single leaf.




6.
Door Operation: Center opening.




7.
No. of Stops:  Floors 1, 3, 4, 5 and 6.

8. No. of Openings:  1 Front 1 Rear.



C.
Reference to General Conditions. 



2 PART 2 PRODUCTS


.1

MATERIALS

A. Hydraulic elevator shall be rated 250 lbs. Capacity, installed as:

1. Unit shall be rated to meet the requirements of all national and state codes covering elevators, and shall meet the latest “Americans with Disabilities Act” requirements.

2. Elevator cars shall return to first floor in event building fire alarm activates.  Controls shall be selective, collective, with lockout features, alarm system and handicap telephone connected to selected office on first floor.  Normal rest position shall be at first floor with door open.

3. Contractor shall make all arrangements with electrical and mechanical contractor to provide for all power requirements for hydraulic pump, lights, controls, sprinkler system and connection controls, shut down apparatus, located at top of shaft, ladder, lights and receptacles in pit etc. as requiredby manufacturer or governing authorities and other requirements associated with the elevator and not specifically called for on project drawings.


END OF SECTION
PAGE  
Section 14245 Page 1 of 2

