

SECTION 15010PRIVATE 






   BASIC MECHANICAL REQUIREMENTS

1 PART 1   GENERAL


.1

SECTION INCLUDES

A. Basic Mechanical Requirements specifically applicable to Division 15 Sections, in addition to Division 1 ‑ General Requirements.



B.
Reference to General Conditions.


.2

OWNER FURNISHED PRODUCTS

Install in consonance with specifications, drawings, and manufactures instructions.


.3

WORK SEQUENCE



A.
Install work in a manner to accommodate Owner's occupancy requirements during the construction period coordinate mechanical and electrical schedule and operations with Owner.





.5

FUTURE WORK




Install work to comply with any owner described future work.


.6

ALTERNATES





A.
Alternates quoted on Bid Forms will be reviewed and accepted or rejected at the Owner's option.  Accepted Alternates will be identified in Owner‑Contractor Agreement.



B.
Coordinate related work and modify surrounding work as required.


.7 
SUBMITTALS



A.
Submit under provisions of Section 01300.



B.
Submit shop drawings and product data grouped to include    complete submittals of related systems, products, and accessories in a single submittal.



C.
Mark dimensions and values in units to match those specified.


.8 
REGULATORY REQUIREMENTS



A.
Conform to Southern Building code & City of Baton Rouge building code.



B.
Fire Protection: Conform to NFPA.



C.
Plumbing: Conform to City of Baton Rouge plumbing code.



D.
Obtain and pay for permits, and request inspections from City of Baton Rouge


.9

PROJECT/SITE CONDITIONS



A.
Install Work in locations shown on Drawings, unless prevented by Project conditions or owner superintendent.


.10
SEQUENCING AND SCHEDULING



A.
Prepare contractor work schedule for 1st project meeting.


END OF SECTION
PAGE  
Error! Main Document Only.
Section 15010 Page 1 of 2      

