[image: image1.png]



554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

March 4, 2026

Mr. Joe France 

Building Safety Permits

P.O. Box 828

Slidell, La. 70459 

Re:

3205 Arbor 

Slidell, La. 70458

Dear Mr. France

Ronnie Calamari requested that Dammon Engineering inspect the framing for the floor joist and beams of the raised home. 

The repairs completed are;

A) Double 2×12’s are installed under the floor decking to decrease the span on the interior load bearing walls in master bedroom, bathroom, laundry room and small bedroom.

B) Added additional 2×4’s under beams that carry the roof load.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187

