IGC Construction L.L.C.

63374 Old Military Road

Suite 202

Pearl River, La. 70452

Attn: Brian Reine

RE: Discovery Mini-Storage

       Certified Letter Dated November 4, 2003

       From Kirk Piton

Item #2 

Firewalls do not need to extend 18” beyond the exterior of the building.

Item #9

The windows that are shown need to be changed to the smallest of 3/3X4/4 the ideal window that the Fire Marshall likes are a 3/0X5/0 window.

Please follow all the comments made by the City of Slidell. Call me with any questions you may have.

