Department of Public Safety and Corrections

Office of State Fire Marshall Code Enforcement and Building Safety

5150 Florida Boulevard

Baton Rouge, LA 70806

Attn: John Whitaker

         Architect

RE: P0228783

       Terrell Miceli Investigations

       430 Old Spanish Trail

       Slidell, LA 70458

Dear Mr. Whitaker

I spoke to you this morning and discussed the removal of the Fire Rating in the hallway per the code in chapter 7.1.3.1. Also we would like to make an appeal to have only one bathroom ADA-AG in front of the building and have a private bathroom in office #5 with a shower. Having a shower in this room would not allow for the 5’turing radius, but would be built for future grab bars. Also we changed the door size to be 32 inches.

Any help in this matter would be greatly appreciated. Please call me with any questions.

Thank you,

Chuck Dammon 

Vice President & Project Manger

Chuckdammon@yahoo.com
DammonEngineering.com

