November 15, 2001

Mr. V.J. Bella

State Fire Marshall

Office of State Fire Marshall

5150 Florida Boulevard

Baton Rouge, LA. 7086

RE: PO2287, Appeal 2212

       Terrell Miceli Investigations

       430 Old Spanish Trail

        Slidell, LA 70458

Dear Mr. Bella

I have received your Appeal letter denying our Appeal for the above referenced project. After reviewing the codes I have the equivalency to the requirements of the code.

The new building is for a Private Investigator and does not rely on walk-in clients.The new building is a two story with parking with the first floor being for parking only. There is no Elevator. The new building has a Handicap Bathroom on the second floor in front of the offices and is accessible for handicap persons. I have enclosed copies of the floor plan ,elevations and site plan.

Code Requirements:

Section 4.1.2. Total in parking lot, 1 to 25 parking spaces: requires one Handicap parking spot. Our drawings indicate one Handicap parking spot.

Section 4.23.1 Minimum Number. Bathrooms, bathing facilities or shower rooms required to be assessable by 4.1 shall comply with 4.23 and shall be on an accessible route.  Our bathroom in Office # 5 is not on accessible route there for not qualifying to be a Handicap Bathroom.

We would like to have this appeal Approved per these code requirements.

Any help in this matter would be greatly appreciated. Please call me with any questions.

Thank you,

Chuck Dammon 

Vice President & Project Manger

Chuckdammon@yahoo.com
DammonEngineering.com

