May 8, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject: Camellia Gardens

               Job No. 06268

Reference: Kitchen Hood

Dear Bobby,

 I spoke to the local fire Marshall Neal Ricca, about the Exhaust hood installation diagram. He said it all looked good. We will need at the time of inspection all the product data on the insulation blanket and the hood itself.

Please call me with any questions.

Chuck Dammon

Vice President & Project Manager

