June 5, 2002

Bobby Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject: Camellia Gardens / Bldg. #5

               Kitchen Exhaust Hood

Dear Bobby,

After receiving your phone call concerning Bldg. #5 kitchen exhaust hood assembly rating. I called Chris Kaufmann the local Fire Marshall and he said since we have a non-rated ceiling in that building we can use the fire blanket as installed. I also called Kirk Pichon with the City Of Slidell (Plumbing Inspector) to confirm this information and he concurred with the Fire Marshals response. Also he commened there installation process.

Please call me with any question’s you may have.

Chuck Dammon

Vice President & Project Manager

