April 16, 2002

Bob Hurley

Brice Building Company, Inc. 

3516 Hessmer Ave.

Metairie, Louisiana 70002

Subject: Camellia Gardens

               Job No. 06268

Dear Bob,

I have spoken to Captive Air in reference of the hood installation. The dimensions and installation detail that you gave me appear to be correct for this hood. Captive Air also asked for the size of the gas shut off valve needed for the stove; he would like to deliver it to Pontchartrain Mechanical to install at the site.

Chuck Dammon

Vice President & Project Manager

