SUPPLEMENTARY
1 Aug 1998
08851sup.b
UPDATES  -



SECTION  08851


  GLAZING INFILL PANELS
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Installed But Not Provided Under This Section

1.
Infill panels

B.
Related Sections

1.
Section 08411  -  Installation into storefront system
08411
Edit paragraph ‘2' to indicate the window Section used.

2.
Section 085??  -  Installation into windows

PART 2 PRODUCTS
 2.1
MATERIAL
Other types of panels may be used if acceptable to the Area Office.  These panels may either be added as equals to the plexiglass panels, or as a replacement specification.

A.
Plastic Glazing

1.
0.250 inch thick smooth opaque plexiglass.

2.
Color as selected by Architect.

3.
Acceptable Manufacturers  -
Approved Products
a.
Rohm & Haas, Philadelphia, PA  (215) 592-3000  

b.
Equal as approved by Architect before bidding.  See Section 01600.

PART 3 EXECUTION
 3.1
INSTALLATION
Installation
A.
Give special attention to recommended glazing filler, weather sealant, and dimensional tolerances. 


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
1
Section 08851

MeetisngHouse
May 22, 2000
Glazing Infill Panels

