STANDARD
7 Mar 2000
09110

UPDATES  -



SECTION  09110


NON-LOAD-BEARING WALL FRAMING

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Furnish and install complete metal stud wall and furring system and blocking as described in Contract Documents.

 1.2
REFERENCES

Delete or add references based on editing of other parts of this Section.

A.
American Society For Testing And Materials

1.
ASTM C 645-98, 'Standard Specification for Nonstructural Steel Framing Members’

 1.3
SUBMITTALS

A.
Shop Drawings  -  Show special components and installations not fully dimensioned or detailed in Manufacturer's Product data.


B.
Quality Assurance / Control


1.
Manufacturer's technical product data, installation instructions, and recommendations for each component of system.

2.
ICBO Evaluation Report

 1.4
QUALITY ASSURANCE

A.
Regulatory Requirements  -  ICBO approved.

B.
Pre-Installation Conference  -  Schedule pre-installation conference after submittals have been reviewed and returned by Architect, but before beginning metal framing work.


PART 2 PRODUCTS

 2.1
COMPONENTS

A.
Framing

1.
20 gauge minimum meeting requirements of ASTM C 645.

2.
Tracks, bridging, blocking, strapping, and other accessories shall be as described in Contract Documents or as required by Manufacturer's system.

3.
Approved Manufacturers  -

a.
3-5/8 IC 20 ga by American Studco Inc, Phoenix, AZ  (800) 877-8823

b.
20HDS Series by Angeles Metal Systems, Los Angeles, CA  (800) 366-6464  

c.
362DS20P by CEMCO, City of Industry, CA  (800) 775-2362 www.cemcosteel.com
d.
Drywall Metal, 20 ga only, by Clark Framing Systems, Cincinnati, OH  (800) 543-7140  www.clarksteel,com
e.
20 Ga STE by Dietrich Industries Inc, Pittsburgh, PA  (800) 873-2443 www.dietrichindustries.com
f.
20 Ga ST Style Studs by Unimast, Schiller Park, IL  (800) 654-7883 www.unimast.com
g.
20 Ga 3-5/8 SS Series by Steeler Inc, Seattle, WA  (206) 725-2500  www.steeler.com
h.
Any member of Steel Stud Manufacturer’s Association (SSMA)  (312) 456-5590

PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Interface With Other Work

1.
Coordinate with other Sections to provide blocking necessary for their work.

2.
Coordinate with other Sections for location of blocking required for installation of equipment and building specialties.

B.
General  -  Specifications of Stud Wall Manufacturer shall govern this work unless more stringent requirements are required by Contract Documents.

C.
Framing

1.
Stiffen stud walls with 3/4 inch cold-rolled channels placed horizontally approximately 4 feet from floor and securely attach to each stud.  Similarly reinforce door and window openings at headers with reinforcing channel extending 18 inches minimum each side of opening.

2.
Wrap multiple, adjacent framing members with duct tape or otherwise secure to eliminate 'chattering.'

3.
Use grommets at framing penetrations where unsecured items pass through.


END OF SECTION

557-1804 (20020)
2
Section 09110

Orlando Welfare Complex
October 11, 2000
Non-Load-Bearing Wall Framing


