STANDARD
25 Oct 1999
09651

UPDATES  -

25 Oct 99
-
Added Marley Flexco and homogeneous Type TP.

18 May 99
-
Added ASTM requirement, ASTM F 1861, Type TS.  Deleted Type TP products.



SECTION  09651


RESILIENT BASE AND ACCESSORIES

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Furnish and install rubber base as described in Contract Documents.

 1.2
REFERENCES

A.
American Society for Testing and Materials


ASTM
1.
ASTM F 1861-98, ‘Standard Specification for Resilient Wall Base’

 1.3
SUBMITTALS

A.
Product Data
Product Data
1.
Manufacturer's literature or cut sheet on base and adhesive.

2.
Color selection

 1.4
PROJECT CONDITIONS

A.
Project Environmental Requirements

1.
Store materials at not less than 70 deg F for at least 24 hours before using.

2.
Do not apply in temperatures below 70 deg F.

PART 2 PRODUCTS

 2.1
MATERIAL

A.
Base

1.
Molded or extruded meeting requirements of ASTM F 1861, Type TP (homogeneous only, no co-extruded) or Type TS  -

a.
Virgin synthetic thermoset rubber, free from objectionable odors, blisters, cracks, and other defects affecting appearance or serviceability of rubber, and not containing fabric.

b.
Color pigments used shall be highly fade-resistant, insoluble in water, and resistant to light, alkali, and cleaning agents.

c.
Colors as selected by Architect from Manufacturer’s standard colors.

2.
Size  ‑  1/8 inch by 4 inch.

3.
Use preformed external corners, butt joint interior corners.

4.
Style  -  Coved

5.
Approved Manufacturers  -
Approved Products
a.
Burke Mercer Flooring Products, San Jose, CA  (800) 669-7010 www.burkemercer.com
b.
Marley Flexco Company, Tuscumbia, AL  (800) 633-3151 www.marleyflexco.com
c.
Roppe Rubber Corporation, Fostoria, OH  (800) 537-9527 www.roppe.com
B.
Adhesive  -  Best for work as recommended by Manufacturer.

PART 3 EXECUTION

 3.1
PREPARATION

A.
Surface to receive base shall be sound, clean, free from foreign matter, tightly nailed, and dry.  Remedy cracks and minor irregularities in accordance with Manufacturer's recommendations.  Do not start work until defects are corrected.

 3.2
INSTALLATION
Installation
A.
Install in manner to produce smooth, even finished surfaces tightly jointed and accurately aligned.

1.
Fit base tightly.  Use fillers where necessary.  Fit neatly against projections, piping, electrical service outlets, etc.

2.
Secure base with specified adhesive.  Cement base substantially to vertical surfaces including cabinet work base.

3.
Line up top and bottom lines of base throughout.

4.
Roll base until firm bond has been established.  Leave level, free from buckles, cracks, and projecting edges.

5.
In wall runs longer than 12 inches, install no lengths of base shorter than 12 inches long.

 3.3
ADJUSTING

A.
Inspect and make necessary adjustments within one month after mechanical heat or other heat has been supplied continuously in finished areas.

 3.4
PROTECTION

A.
Keep traffic away until adhesive has set.


END OF SECTION

557-1804 (20020)
2
Section 09651

Orlando Welfare Complex
October 11, 2000
Resilient Base And Accessories

