STRUCTURAL INSPECTION

Date:
October 31, 2003

Type:
Residential

For:       Lori Brignac

Re:
2043 Old River Road

History:

The home is approximately 22 years old. It is 2-story wood frame construction on a concrete foundation with Wood veneer siding.  The purchaser contacted us to perform a structural inspection.
Findings:

1. On the right side of the home there is a hole that was dug under the home to make repairs to the plumbing. Also the wall in the master bedroom closet has been closed up. These repairs needs to be inspected to make sure that it is correct, then fill in the hole.

2. It was noted that the chimney cap is loose.

4. The French doors in the rear of the home are rotten and need to be replaced.

5. The front left porch decking near the A/C drain was noted to be loose and possibly some rotten wood. The drain needs to be relocated to the side of the home to eliminate the wood from rotting.
6. 2nd floor bathroom ceiling and closet ceiling, it was noted that the sheet rock has cracked in the corners where the two meet. This will require a repair.
7. 2nd floor floors squeak when they are walked on. These will need to be repaired when new carpet is installed.
8. The roof is approximately as old as the house and will need to replaced soon. It was noted to have a few shingles that are damaged.
9. The master bathroom shower has manmade ceramic walls and ceilings. It was noted that the ceiling is cracked and mold growing in various places. These need to be fixed. 

Conclusion:

It is my professional opinion that the house is structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


