       


 STRUCTURAL INSPECTION

October 30, 2002

Type: Residential

For: Tina Kaufmann

        4953 Sherwood Drive

        N.O.L.A. 70128

Re: Structural Home Inspection

      531 Markham Drive.

      Slidell, La. 70458

History: 

Mrs. Tina Kaufmann the purchaser of this home found that the tree roots in the rear of the home and front yard seemed to be intruding the foundation of the home from under ground. The purchaser wanted an engineer’s opinion on this.
Findings:

The home is approximately 30 years old. It is a wood frame with brick veneer siding on a concrete foundation. It has three large trees in the rear of the home that the roots are all the way against the foundation. The front of the home also has three large trees that the roots are intruding the foundation. One root has grown completely down the right side of the home spreading all over the place. The trees closet to the home, the branches are destroying the roof.
Analysis:

A tree surgeon needs to remove the tree’s that are encroaching the foundation of the home. Were ever the roots are removed from under the foundation, these areas need to be filled in to assure no settling will occur.

