MEETING MINUTES

New Orleans Public School Project LA# _96248/99030


Fire Alarm, Gym A/C, Misc. Projects


Date: 02/22/01  Location: Woodson Middle School     Time:  10:00AM


Reason for meeting: Weekly  meeting


Attendees:

Name



Organization


Phone & Fax


Ted Harris

       Facility Planning
             942-7444/942-7448


Chuck Dammon
       Dammon Engineering, Inc,
649-5832/641-5950


Chester Cabirac               ARC Mechanical
             279-2159/271-1429


Twyla Rattler

       Compliance             

 365-8777       

1. Description of work completed:
A. Ordes Electric is installing conduit, fittings and boxes throughout the school for the fire alarm and speaker system, also they are running the conduit from the existing panel room to the gym for the new air handler units.

B. Simplex are installing the devices for the fire alarm and checking the system. 


2.
General discussion of what transpired at the meeting:

A. The general contractor and the metal duct contractor are preparing a price to install new supply grilles for the auditorium.

 ___________________________Date______________



Chuck Dammon/Project Manager

