Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

May 18, 2010

Mechanical Inspector

1300 Perdido Street

City Hall-Room 7E06

New Orleans, LA  70112

RE:
1620 Martin Luther King Jr. Blvd.


Permit No. 10COM-00570

Dear Sir or Madam:

An acceptable alternative routing of the natural gas piping is to route the piping across the side of the building paralleling the electrical conduits.  The piping is to run with at least 18 inches separation between the electrical conduits and the natural gas piping.  Please see attached. 

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. Dammon, PE   

