MEMO TO FILE

	PROJECT:
	DATE:

	New Clinic Building
	12 Jan. 2010

	North Oaks Medical Center

	

	RE:
	CIVIL WORK – Questions & Comments

	

	Author:
	

	X
	TCS
	
	Gordon
	
	Delbert
	
	Robert

	


I.  Staging Area:

(1) Recommended in parking lot immediately north of new Clinic Building site.

(2) Parking/aisle immediately west of Diagnostics Building to remain open (to southwest Diagnostics exit).

(3) Portion of “Hospital Drive” directly fronting new Clinic Building is being replaced to accommodate dropoff point at West Clnic Bldg. Entrance.  It is therefore included in “Staging Area” –Do we need to designate a Detour route around this area?
(4) West portion of Diagnostics Building horseshoe drive (on south side of Diagnostics Building) to be included in Staging Area—We are showing a temporary ashalt “Detour Driveway” to allow traffic to exit the dropoff point at the south entrance to the Diagnostics Buiding.
(5) Landscaping needs to add sodding where Diagnostics temporary driveway is removed.
II.  Mechanical Loop:

(1) The north/south segment of the new Mechanical Loop is shown 126’(clear) east of the centerline of “Hospital Drive”. (Discussed with Henry on 21 December).
(2) The new Mechanical Loop will have to cross North Oaks Drive—Should we call for special pavement work to minimize out of service duration of North Oaks Drive?
(3) Mechanical Loop tie-in/details within 40’ of the Diagnostics Building and within 60’ of the New Clinic Building noted on Civil Plans should be included on Mechanical Plans.  (Also discussed with Henry on 21 December.)
III.  Sidewalks

(1) Per discussion with Matt, existing sidewalk along Paul Vega Drive (south side of New Clinic Building) to be replaced with new 8’ wide sidewalk (curb to remain).

IV.  Storm Drainage System

(1) Both canopies on east side of New Clinic Building (extended from Diagnositics Building) and on west side of New Clinic Building (at West Entrance) show roof drainage through the columns—We need to know how to get from the canopy columns to the storm drainage system; we are showing pipes and catch basins, but not sure if they can work without better structural details.

	Distribution:
	

	X
	TCS
	X
	Gordon
	X
	Matt Caillouet
	X
	Mike Hill

	
	

	X
	FILE
	
	Bret Gasaway
	X
	Henry Eyre
	
	Brian Hannah



