[image: image1.png]Armourplast Classic

IKO Approved
Top Coat*

Protectoboard

Fastener

IKOTherm
Insulation

Fastener

Cap €

Select text

g

Armourplast Classic
Base Sheet Flashing

Armourplast Classic
Cap Sheet

Armourplast Classic
Base Sheet

IKO Millennium
Adhersive %





[image: image2.png]



A roof gypsum recovery board (like USG Securock or DensDeck) is a high-density, non-combustible panel made from gypsum fiber, used in low-slope commercial roofing to provide a smooth, durable surface over existing roofs or insulation, enhancing fire resistance, wind uplift, hail protection, and creating a strong base for new membranes (TPO, EPDM, PVC). It's a key component for roof recovery, offering superior performance over softer boards by resisting punctures and supporting various attachment methods. 
Key Functions & Benefits
· Recovery/Cover Board: Creates a stable, smooth substrate over old, uneven roofing or insulation for a new system.
· Fire Barrier: Offers Class A fire ratings, adding critical fire resistance to roof assemblies.
· Wind Uplift: Enhances the roof's resistance to wind damage.
· Impact/Hail Protection: Its high density protects insulation from damage from foot traffic, construction, and hail.
· Moisture & Mold Resistant: Provides excellent resistance to water absorption and mold growth.
· System Compatibility: Works with mechanically attached, adhered, and hot-mopped systems. 
Installation & Use Cases
· Applications: Used over insulation on metal decks, as a fire barrier over wood decks, or as a recovery board over existing systems.
· Installation: Boards are butted together, staggered, and fastened with screws or adhesive, with specific requirements for large runs.
· Cutting: Scored and snapped with a utility knife for clean edges. 
Why Choose Gypsum Over Other Boards?
· Durability: Superior strength and density resist punctures and impacts better than softer boards.
· Performance: Delivers excellent fire ratings and helps achieve stronger membrane bonds.
· Ease of Use: Engineered for easy handling, cutting, and installation.
